641—43.7(136B) Records and reporting requirements.

43.7(1) A certified person must submit to the department within 30 days after any radon or radon progeny testing, or at the request of the department prior to testing, all of the following:

a.  The address or location of the building;

b.  The name and telephone number of the owner(s) of the building where the radon testing will be conducted;

c.  The results of any tests performed.

43.7(2) The results for each test conducted shall include, at a minimum:

a.  The method used for radon or radon decay product testing, media tested, and conditions under which the testing was or will be performed.

b.  The level or floor of building where the test(s) was or will be conducted.

c.  The results of the test(s) in picocuries/liter (pCi/l) of radon gas or WL of radon decay products.

d.  The date on which the test(s) was or will be conducted.

e.  The purpose of the test(s).

43.7(3) Requirements of certification. A certified person shall:

a.  Cooperate with the department when conducting field evaluations.

b.  Notify the department within 14 days of any changes in testing results or procedures.

c.  Not disclose to any other person, other than the department, the results of a test, the address, or the name of the owner of a nonpublic building that the person tested for the presence of radon gas or radon progeny, unless any of the following conditions are met:

(1)  The owner of the building waives, in writing, this right of confidentiality.

(2)  The person certified or credentialed pursuant to Iowa Code section 136B.1 may disclose the results of a test performed by the person for the presence of radon or radon progeny to a potential buyer of a nonpublic building when an offer to purchase has been presented by the buyer and if the potential buyer paid for the testing. Any test results disclosed shall be results of a test performed within the five years prior to the date of the disclosure.

43.7(4) Record retention. Records of radon or radon progeny testing must be maintained for a minimum of five years after the radon test is completed.

[ARC 0289D, IAB 5/13/26, effective 7/1/26]