641—44.8(136B) Records and reporting requirements. A credentialed radon mitigation specialist shall maintain records to include a report of each mitigation activity for a minimum of five years. Each report shall include at a minimum all of the following:

44.8(1) The address or location of the building.

44.8(2) The name and phone number of the owner(s) of the building where the radon mitigation is conducted.

44.8(3) A written description of each mitigation system, the materials installed, the diagnostic test results, and the cost of each system.

44.8(4) The name of the certified radon measurement specialist or technician used to perform radon or radon progeny testing before and after radon mitigation of a building. This requirement does not apply if the building owner has waived the testing requirement set forth in paragraph 44.3(4)“d” and the mitigation specialist maintains a copy of the signed waiver.

44.8(5) The results of any premitigation or postmitigation radon or radon progeny measurements performed and the measurement methods utilized. This requirement does not apply if the building owner has waived the testing requirement set forth in paragraph 44.3(4)“d” and the mitigation specialist maintains a copy of the signed waiver.

44.8(6) The results of the postmitigation radon measurements performed, including measurement methods utilized, and all pertinent dates. This requirement does not apply if the building owner has waived the testing requirement set forth in paragraph 44.3(4)“d” and the mitigation specialist maintains a copy of the signed waiver.

[ARC 0290D, IAB 5/13/26, effective 7/1/26]