641—154.72(124E) Content testing.

154.72(1) Cannabinoids.

a. 	For each unique lot of medical cannabidiol, and if asked to do so by a requester for other medical cannabis goods, a laboratory shall, at minimum, test for and report measurements for the following cannabinoid analytes:

(1)	THC;

(2)	THCA;

(3)	CBD; and

(4)	CBDA.

b. 	A laboratory shall report that the primary sample passed or failed THC potency testing according to guidance in the laboratory testing requirements and acceptance criteria document described in subrule 154.69(1).

c. 	A laboratory shall report that the primary sample passed or failed CBD potency testing according to guidance in the laboratory testing requirements and acceptance criteria document described in subrule 154.69(1).

d. 	For each cannabinoid analyte test, a laboratory shall issue a certificate of analysis that contains the following:

(1)	Concentrations of cannabinoid analytes in mg/ml for liquids and mg/g for solids, or other measures approved by the department.

(2)	Whether the primary sample passed or failed the test in accordance with paragraph 154.72(1)“b.”

e. 	The laboratory may test for and provide test results for additional cannabinoid analytes if asked to do so by a requester.

154.72(2) Contaminants—residual solvents and processing chemicals.

a. 	For each unique lot of medical cannabidiol, and if asked to do so by a requester for other medical cannabis goods, a laboratory shall analyze primary samples for residual solvents and processing chemicals.

b. 	The department shall provide a list of residual solvents and processing chemicals for which primary samples are to be tested with corresponding action levels on the department’s website (www.idph.iowa.gov).

c. 	For each residual solvent or processing chemical for which a primary sample is tested, a laboratory shall report that the primary sample passed the testing if the concentration of residual solvent or processing chemical is at or below the action level approved by the department.

d. 	For each residual solvent or processing chemical for which a laboratory tests, the laboratory shall report that the primary sample failed the testing if the concentration of residual solvent or processing chemical is above the action level approved by the department.

e. 	If a laboratory is using mass spectrometry instrumentation to analyze primary samples for residual solvents and processing chemicals and the laboratory determines that a primary sample contains residual solvent or processing chemical analytes that are not included in the department-approved list of required tests, the laboratory shall attempt to achieve tentative identification and semiquantitative results of the residual solvent or processing chemical analytes.

f. 	The laboratory may test for and provide test results for additional residual solvents or processing chemicals if asked to do so by a requester.

g. 	For each primary sample tested, a laboratory shall issue a certificate of analysis that contains the following:

(1)	The name and concentration of each residual solvent or processing chemical for which the primary sample was tested.

1.	The concentrations shall be listed in parts per million (ppm) or other units as determined by the department.

2.	The laboratory shall report a result of “detected but not quantified” for any target residual solvent or processing chemical that falls below the LOQ, has a signal-to-noise ratio of greater than 3:1, and meets identification criteria.

(2)	Whether the primary sample passed or failed the test in accordance with paragraphs 154.72(2)“c” and 154.72(2)“d.”

(3)	The names and amounts of any additional residual solvents and processing chemicals identified by the laboratory.

h. 	If the primary sample fails testing for residual solvents and processing chemicals, the lot fails laboratory testing.

i. 	When a laboratory identifies additional residual solvents and processing chemicals in a primary sample, the laboratory shall:

(1)	Notify the department of the additional residual solvents and processing chemicals and the amounts detected.

(2)	Refrain from issuing a final certificate of analysis to a manufacturer until given approval to do so by the department.

154.72(3) Contaminants—pesticides.

a. 	For each unique lot of medical cannabidiol, and if asked to do so by a requester for other medical cannabis goods, the laboratory shall analyze primary samples for pesticides.

b. 	The department shall provide a list of pesticides for which primary samples are to be tested with corresponding action levels on the department’s website (www.idph.iowa.gov).

c. 	For each pesticide for which a laboratory tests, the laboratory shall report that the primary sample passed the testing if the concentration of pesticide is at or below the action level approved by the department.

d. 	For each pesticide for which a laboratory tests, the laboratory shall report that the primary sample failed the testing if the concentration of pesticide is above the action level approved by the department.

e. 	If a laboratory is using mass spectrometry instrumentation to analyze primary samples for pesticides and the laboratory determines that a primary sample contains pesticide analytes that are not included in the department-approved list of required tests, the laboratory shall attempt to achieve tentative identification and semiquantitative results of the pesticide analytes.

f. 	The laboratory may test for and provide test results for additional pesticides if asked to do so by a requester.

g. 	For each primary sample tested, a laboratory shall issue a certificate of analysis that contains the following:

(1)	The name and concentration of each pesticide for which the primary sample was tested.

1.	The concentrations shall be listed in parts per million (ppm) or other units as determined by the department.

2.	The laboratory shall report a result of “detected but not quantified” for any pesticide that falls below the LOQ, has a signal-to-noise ratio of greater than 3:1, and meets identification criteria.

(2)	Whether the primary sample passed or failed the test in accordance with paragraphs 154.72(3)“c” and 154.72(3)“d.”

(3)	The names and amounts of any additional pesticides identified by the laboratory.

h. 	If the primary sample fails testing for pesticides, the lot fails laboratory testing.

i. 	When a laboratory identifies additional pesticides in a primary sample, the laboratory shall:

(1)	Notify the department of the additional pesticides and the amounts detected.

(2)	Refrain from issuing a final certificate of analysis to a manufacturer until given approval to do so by the department.

154.72(4) Contaminants—metals.

a. 	For each unique lot of medical cannabidiol, and if asked to do so by a requester for other medical cannabis goods, the laboratory shall analyze primary samples for metals.

b. 	The department shall provide a list of metals for which primary samples are to be tested with corresponding action levels on the department’s website (www.idph.iowa.gov).

c. 	For each metal for which a laboratory tests, the laboratory shall report that the primary sample passed the testing if the concentration of metal is at or below the action level approved by the department.

d. 	For each metal for which a laboratory tests, the laboratory shall report that the primary sample failed the testing if the concentration of metal is above the action level approved by the department.

e. 	If a laboratory is using mass spectrometry instrumentation to analyze primary samples for metals and the laboratory determines that a primary sample contains metal analytes that are not included in the department-approved list of required tests, the laboratory shall attempt to achieve tentative identification and semiquantitative results of the metal analytes.

f. 	The laboratory may test for and provide test results for additional metals if asked to do so by a requester.

g. 	For each primary sample tested, a laboratory shall issue a certificate of analysis that contains the following:

(1)	The name and concentration of each metal for which the primary sample was tested.

1.	The concentrations shall be listed in micrograms per gram or other units as determined by the department.

2.	The laboratory shall report a result of “detected but not quantified” for any metal that falls below the LOQ, has a signal-to-noise ratio of greater than 3:1, and meets identification criteria.

(2)	Whether the primary sample passed or failed the test in accordance with paragraphs 154.72(4)“c” and 154.72(4)“d.”

(3)	The names and amounts of any additional metals identified by the laboratory.

h. 	If the primary sample fails testing for metals, the lot fails laboratory testing.

i. 	When a laboratory identifies additional metals in a primary sample, the laboratory shall:

(1)	Notify the department of the additional metals and the amounts detected.

(2)	Refrain from issuing a final certificate of analysis to a manufacturer until given approval to do so by the department.

154.72(5) Contaminants—microbiological impurities.

a. 	For each unique lot of medical cannabidiol, and if asked to do so by a requester for other medical cannabis goods, the laboratory shall analyze primary samples for microbiological impurities.

b. 	The department shall provide a list of microbiological impurities for which primary samples are to be tested on the department’s website (www.idph.iowa.gov).

c. 	For each microbiological impurity for which a laboratory tests, the laboratory shall report that the primary sample passed the testing if the microbiological impurity is not detected in 1 gram of matrix or as approved by the department. A primary sample may be reported as passed if a screening procedure yields a negative result or if a presumptively positive result is not found to be positive on the confirmatory procedure.

d. 	For each microbiological impurity for which a laboratory tests, the laboratory shall report that the primary sample failed the testing if the microbiological impurity is detected in 1 gram of matrix or as approved by the department. Confirmatory procedures shall be conducted on all presumptively positive results.

e. 	If a laboratory is using methods to test primary samples for microbiological impurities and the laboratory determines that a primary sample contains microbiological impurities that are not included in the department-approved list of required tests, the laboratory shall attempt to achieve tentative identification of the biological impurity.

f. 	The laboratory may test for and provide test results for additional microbiological impurities if asked to do so by a requester.

g. 	For each primary sample tested, a laboratory shall issue a certificate of analysis that contains the following:

(1)	The name of each microbiological impurity for which the primary sample was tested.

(2)	Whether the primary sample passed or failed the test in accordance with paragraphs 154.72(5)“c” and 154.72(5)“d.”

(3)	The names of any additional microbiological impurities identified by the laboratory.

h. 	If the primary sample fails testing for microbiological impurities, the lot fails laboratory testing.

i. 	When a laboratory identifies additional microbiological impurities in a primary sample, the laboratory shall:

(1)	Notify the department of the additional microbiological impurities detected.

(2)	Refrain from issuing a final certificate of analysis to a manufacturer until given approval to do so by the department.

154.72(6) Additional tests. The laboratory may perform additional tests if asked to do so by a requester.

[ARC 3836C, IAB 6/6/18, effective 7/11/18; ARC 4078C, IAB 10/10/18, effective 11/14/18; ARC 4489C, IAB 6/5/19, effective 7/10/19]