371—4.21 (173) Electric light and power. All wiring must be safe and not create a safety, fire, tripping or mobility obstructive hazard. The chief electrician must approve all wiring in accordance with the National Electrical Code. Electrical service charges will be set by the Iowa state fair board and stated in the license agreement.

[ARC 0163C, IAB 6/13/12, effective 7/18/12]