481—31.1 (137F) Inspection standards. The department adopts the 2005 Food Code with Supplement of the Food and Drug Administration as the state’s “food code” with the following exceptions.

31.1(1) Section 3-201.11 is amended to allow honey which is stored; prepared, including by placement in a container; or labeled on or distributed from the premises of a residence to be sold in a food establishment.

31.1(2) Subparagraph 3-201.17(A)(4) is amended to state that field-dressed wild game shall not be permitted in food establishments.

31.1(3) Paragraph 3-502.12(A) is amended by adding the following: “Packaging of raw meat and poultry using an oxygen packaging method, with a 30-day `sell by’ date from the date it was packaged, shall be exempt from having a HACCP Plan.”

31.1(4) Reserved.

31.1(5) Paragraph 4-301.12(C) is amended by adding the following: “Establishments need not have a three-compartment sink when each of the following conditions is met:

“1. Three or fewer utensils are used for food preparation;

“2. Utensils are limited to tongs, spatulas, and scoops; and

“3. The department has approved after verification that the establishment can adequately wash and sanitize these utensils.”

31.1(6) Paragraph 5-203.11(C) is deleted.

31.1(7) Section 5-203.14 is amended by adding the following: “Water outlets with hose attachments, except for water heater drains and clothes washer connections, shall be protected by a non-removable hose bibb backflow preventer or by a listed atmospheric vacuum breaker installed at least six inches above the highest point of usage and located on the discharge side of the last valve.”

31.1(8) Paragraph 5-402.11(D) is amended by adding the following: “A culinary sink or sink used for food preparation shall not have a direct connection between the sewage system and a drain originating from that sink. Culinary sinks or sinks used in food preparation shall be separated by an air break.”

31.1(9) Elder group homes as defined by Iowa Code section 231B.1 shall be inspected by the department, but Chapters 4 and 6 of the Food Code shall not apply. Elder group homes shall pay the lowest license fee in 481—subrule 30.4(2).

31.1(10) Nonprofit organizations that are licensed as temporary food establishments may serve nonpotentially hazardous food from an unapproved source for the duration of the event.

31.1(11) Section 3-301.11(D)(1) is amended by striking the words “regulatory authority” and inserting the word “department.”

31.1(12) Section 3-201.16, paragraph (A), is amended by the adding the following:

“A food establishment or farmers market potentially hazardous food licensee may serve or sell morel mushrooms if procured from an individual who has completed a morel mushroom identification expert course. Every morel mushroom shall be identified and found to be safe by a certified morel mushroom identification expert whose competence has been verified and approved by the department through the expert’s successful completion of a morel mushroom identification expert course provided by either an accredited college or university or a mycological society. The certified morel mushroom identification expert shall personally inspect each mushroom and determine it to be a morel mushroom. A morel mushroom identification expert course shall be at least three hours in length. To maintain status as a morel mushroom identification expert, the individual shall have successfully completed a morel mushroom identification expert course described above within the past three years. A person who wishes to offer a morel mushroom identification expert course must submit the course curriculum to the department for review and approval. Food establishments or farmers market potentially hazardous food licensees offering morel mushrooms shall maintain the following information for a period of 90 days from the date the morel mushrooms were obtained:

“1. The name, address, and telephone number of the morel mushroom identification expert;

“2. A copy of the morel mushroom identification expert’s certificate of successful completion of the course, containing the date of completion; and

“3. The quantity of morel mushrooms purchased and the date(s) purchased.

“Furthermore, a consumer advisory shall inform consumers by brochures, deli case or menu advisories, label statements, table tents, placards, or other effective written means that wild mushrooms should be thoroughly cooked and may cause allergic reactions or other effects.”

[ARC 8696B, IAB 4/21/10, effective 4/1/10; ARC 8856B, IAB 6/16/10, effective 7/21/10]