481—60.9(135C) Definition of public area. The size of the public area shall depend upon the number and types of beds within the supervised unit. A public area shall contain the following rooms or areas: (III)

60.9(1) A vestibule area equipped with coat rack and shelf shall be available. (III)

60.9(2) A public telephone shall be accessible to the residents within the facility to make personal calls. (III)

60.9(3) Drinking fountains shall be available. (III) (Exception 1)

60.9(4) Every facility shall provide a separate toilet for the public, with a lavatory and water closet.

a. 	Each facility of eight beds or less shall designate a toilet, with lavatory and water closet for public use.

b. 	Public toilets shall be accessible to and usable by the physically handicapped, equipped with appropriate equipment installed to meet the American Standards National Document A 117.1-1986. (III) (Exception 3)

c. 	In facilities over 15 beds, there shall be public facilities for both men and women. (III) (Exception 4)

d. 	Public facilities for both men and women must contain a clear floor area free from obstructions of 60 inches in diameter. (Exception 3)