875—73.15 (89A) Guide rails.

73.15(1) All guide rails and brackets whether of wood or steel shall be firmly and securely anchored or bolted in place. Where T rail is used all fish-plate bolts shall be tight. This shall comply with ANSI A17.1, 1981, section 200, or later editions of the ASME A17.1 code.

73.15(2) Where guide rails which are worn to such a point that proper clearance of safety jaws cannot be maintained, the worn sections shall be replaced to achieve clearances as specified in ANSI A17.1, 1971, rule 1001.2, or later editions of the ASME A17.1 code.