657—16.6 (155A) Minimum equipment requirements. Each nuclear pharmacy shall maintain the following equipment for use in the provision of radiopharmaceutical services:

1. 	 Laminar flow hood;

2. 	 Dose calibrator;

3. 	 Refrigerator;

4. 	 Single-channel scintillation counter;

5. 	 Microscope;

6. 	 Autoclave, or access to one;

7. 	 Incubator, or access to one;

8. 	 Radiation survey meter;

9. 	 Other equipment necessary for the radiopharmaceutical services provided as required by the board.

A pharmacy may request waiver or variance from a provision of this rule pursuant to the procedures and requirements of 657—Chapter 34.