641—37.4(136C) Records. Each licensee and registrant shall maintain records showing the receipt, transfer, and disposal of all sources of radiation. Additional record requirements are specified elsewhere in these rules.

37.4(1) Electronic records.

a.  A record or signature cannot be denied legal effect or enforceability solely because it is in electronic form.

b.  A contract cannot be denied legal effect or enforceability solely because an electronic record was used in its formation.

c.  If a rule requires a record to be in writing, an electronic record will satisfy the rule.

d.  If a rule requires a signature, an electronic signature will satisfy the rule.

37.4(2) Inspections.

a.  Each licensee and registrant shall afford the department at all reasonable times opportunity to inspect sources of radiation and the premises and facilities wherein such sources of radiation are used or stored.

b.  Each licensee and registrant shall make available to the department for inspection, upon reasonable notice, records maintained pursuant to these rules.

37.4(3) Tests. Each licensee and registrant shall perform upon instructions from the department, or shall permit the department to perform, such reasonable tests as the department deems appropriate or necessary, including but not limited to tests of:

a.  Sources of radiation;

b.  Facilities wherein sources of radiation are used or stored;

c.  Radiation detection and monitoring instruments;

d.  Other equipment and devices used in connection with utilization or storage of licensed or registered sources of radiation.

[ARC 0387D, IAB 6/24/26, effective 7/29/26]