875—95.12 (89) Galvanized pipes, valves, and fittings. On water heaters without an ASME stamp, galvanized pipes, valves, and fittings may be used on water applications, provided that a dielectric union is also installed in direct contact with dissimilar metals.