875—95.5 (89) Shutoff valves prohibited. Shutoff valves shall not be placed between the temperature and pressure relief valve and the water heater or on discharge pipes between such valves and the atmosphere.