875—95.7 (89) Stop valves. Stop valves shall be used in each supply and return pipe connection of multiple water heater installations to permit draining the heater without emptying the system.