567—102.102(455B) Land application of water supply sludge.

102.102(1) Sludges generated from water supply treatment may be applied to lawns, gardens, flower beds, or similar areas associated with residential use and crops that may be consumed by humans without prior heating or processing that are commonly available to the public in raw form (e.g., sweet corn, lettuce, carrots, asparagus, squash).

102.102(2) Land application of sludges generated from water supply treatment are exempt from the remainder of this division.

[ARC 0483D, IAB 8/19/26, effective 9/23/26]