567—103.5(455F) Operations plans and procedures.

103.5(1) Regional collection centers and satellite facilities must each prepare and maintain on site a current plan of operations.

103.5(2) Operations plan. The operations plan shall include, at a minimum, the following information:

a.  Schedule of operations, including hours of operation for regional collection centers or satellite facilities.

b.  Site selection procedures for mobile unit collections.

c.  Standard receiving procedures for household hazardous materials and very small quantity generators.

d.  Procedures for managing unknown materials.

e.  Procedures for handling open or leaking containers.

f.  Procedures for managing large quantities of wastes.

g.  Recycling and reuse procedures for usable materials.

h.  Disposal of nonhazardous waste.

i.  Personal protection equipment.

j.  Initial training requirements and continuing education of staff.

k.  An emergency response plan, such as the facility’s response to spills, fires or weather-related events.

[ARC 0484D, IAB 8/19/26, effective 9/23/26]