567—105.4(455B) Exemptions to reporting requirements. Spills of hazardous substances are exempt from 567—105.5(455B) if all the following criteria are met.

105.4(1) The spilled hazardous substance is one or more of the following:

a.  Less than 25 gallons of petroleum products.

b.  Less than 100 pounds of anhydrous ammonia.

105.4(2) The spilled hazardous substance will not pose an actual or potential threat to waters of the state, groundwater, water wells, stormwater, tile lines, or ambient air quality if cleaned up within 24 hours.

105.4(3) The spilled hazardous substance is cleaned up within 24 hours of the spill.

105.4(4) The spilled hazardous substance is not an ongoing or repeated spill by the same responsible party, in the same area, within the last 90 days.

[ARC 0486D, IAB 8/19/26, effective 9/23/26]