567—134.17(455B) Duty to report. Any individual or company certified as a compliance inspector, installer, installation inspector, tester, liner, or remover shall timely report suspected and confirmed releases within 24 hours of discovery (6 hours if a hazardous condition exists) as described in 567—135.6(455B) to the owner and operator. The certificate holder shall recommend to the owner and operator any release confirmation actions or other investigatory and response actions that in the certificate holder’s judgment would be consistent with the requirements of 567—135.6(455B). The certificate holder shall report to the department within seven days of discovering a confirmed release. The certificate holder is not responsible for reporting a suspected release as described in 567—135.6(455B) directly to the department.
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