567—136.1(455B) Applicability. 
    136.1(1) This chapter applies to owners and operators of all petroleum underground storage tank (UST) systems, except as otherwise provided in this rule.
    136.1(2) State and federal government entities whose debts and liabilities are the debts and liabilities of a state or the United States are exempt from the requirements of this chapter.
    136.1(3) The requirements of this chapter do not apply to owners and operators of farm or residential tanks of 1,100 gallons or less capacity installed prior to July 1, 1987, or any UST system described in 567—paragraph 135.1(3)“b” or 567—subparagraph 135.1(3)“c”(1), “c”(3) or “c”(4).
[ARC 0492D, IAB 8/19/26, effective 9/23/26]
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