21—85.39 (189,215) Weights and measures. The specifications, tolerances and regulations for commercial weighing and measuring devices, together with amendments thereto, as recommended by the National Institute of Standards and Technology and published in National Institute of Standards and Technology Handbook 44 amended or revised as of July 1, 2013, shall be the specifications, tolerances and regulations for commercial weighing and measuring devices in the state of Iowa, except as modified by state statutes, or by rules adopted and published by the Iowa department of agriculture and land stewardship and not rescinded.

The National Institute of Standards and Technology (NIST) Handbooks 130 and 133: Weights and Measures Law, Packaging and Labeling, Method of Sale, Type Evaluation, Checking the Net Contents of Packaged Goods, and Uniform Engine Fuels and Automotive Lubricants Regulation, and all supplements, as published by the National Institute of Standards and Technology amended or revised as of July 1, 2013, are adopted in their entirety by reference except as modified by state statutes, or by rules adopted and published by the Iowa department of agriculture and land stewardship.

This rule is intended to implement Iowa Code sections 189.9, 189.13, 189.17, 215.14, 215.18 and 215.23.

[ARC 8292B, IAB 11/18/09, effective 12/23/09; ARC 0953C, IAB 8/21/13, effective 9/25/13]