875—95.7 (89) Stop valves. Stop valves shall be used in each supply and return pipe connection of multiple water heater installations to permit draining any heater without emptying the system.

[ARC 0319C, IAB 9/5/12, effective 10/10/12]