657—13.15 (155A) Utilization of single-dose and multiple-dose containers. Pharmacies utilizing single-dose and multiple-dose containers in sterile compounding shall comply with the following:

1. 	 Single-dose containers that are opened or needle-punctured shall be used within one hour if opened in air quality conditions inferior to ISO Class 5. Any remaining contents shall be discarded.

2. 	 Single-dose vials that are continuously exposed to ISO Class 5 or cleaner air shall be used within six hours after initial needle puncture.

3. 	 Opened single-dose ampoules shall not be stored for any period of time under any air quality conditions.

4. 	 Multiple-dose containers with antimicrobial preservatives that are entered or opened shall be used within 28 days of initial entry or opening unless otherwise specified by the manufacturer.

5. 	 Multiple-dose and single-dose sterile products shall not be combined for use as multiple-dose applications.