321—25.37 (231C) Life safety—emergency policies and procedures and structural safety requirements.

25.37(1) The program shall follow written emergency policies and procedures, which include the following elements:

a.   	 Emergency plan (identify where located for easy reference);

b.   	 Fire safety procedures;

c.   	 Other general or personal emergency procedures;

d.   	 Provisions for amending or revising the emergency plan;

e.   	 Provisions for periodic training of all employees;

f.   	 Procedures for fire drills;

g.   	 Regulations about smoking;

h.   	 Monitoring and testing of smoke-control systems;

i.   	 Evacuation of tenants; and

j.   	 Procedures for reporting and documentation.

25.37(2) An operating alarm system shall be connected to each exit door in a dementia-specific program. A program serving a person(s) with cognitive disorder or dementia, whether in a general or dementia-specific setting, shall have:

a.   	 Written procedures regarding alarm systems and appropriate staff response when a tenant’s service plan indicates a risk of wandering or a tenant exhibits wandering behavior.

b.   	 Written procedures regarding appropriate staff response if a tenant with cognitive disorder or dementia is missing.

25.37(3) The program’s structure and procedures and the facility in which a program is located shall meet the requirements adopted for assisted living facilities in administrative rules promulgated by the state fire marshal. Approval of the state fire marshal indicating that the facility is in compliance with these requirements is necessary for certification of a program.

25.37(4) The program shall have the means to control the maximum temperature of water at sources accessible by a tenant to prevent scalding, and shall do so for tenants with cognitive impairment or dementia or at a tenant’s request.