645—22.5(158) Building standards. Barbershops and schools shall provide:

1.	A separate area to be used as a reception area;

2.	A supply of hot and cold running water and toilet facilities;

3.	A supply of safe drinking water;

4.	Hand-washing facilities;

5.	Adequate lighting;

6.	A floor surface in the service area that is nonabsorbent and easily cleanable;

7.	A minimum of one washbasin or lavatory for every two barber chairs in use. The washbasins or lavatories shall be readily accessible to the operator of each barber chair;

8.	Work surfaces that are easily cleaned;

9.	A dispensary; and

10.	A complete first-aid kit in a readily accessible location on the premises. At a minimum, the first-aid kit must include adhesive dressing, gauze and antiseptic, tape, triple antibiotics, eyewash, and gloves.

[ARC 3444C, IAB 11/8/17, effective 12/13/17]