199—27.8(476,478) Service reliability requirements for electric utilities. Each electric cooperative and municipal electric utility is to adopt and have approved by its board of directors or governing authority a reliability plan. The reliability plan is to be updated not less than annually. A copy of the EC-1 (Annual Report) or ME-1, as applicable, is to be filed with the commission for informational purposes.
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