661—301.7 (103A) Existing buildings.
	 301.7(1) Definition. “Existing building” means a building erected prior to January 1, 2010.
	 301.7(2) Adoption. The provisions of the International Existing Building Code, 2009 edition, published by the International Code Council, 5203 Leesburg Pike, Suite 600, Falls Church, VA 22041, are hereby adopted by reference as the requirements for repair, alteration, change of occupancy, addition, and relocation of existing buildings, with the following amendments:
Delete section 101.1.
Delete section 101.4.2 and insert in lieu thereof the following new section:
101.4.2 Buildings Previously Occupied. The legal occupancy of any structure existing on the date of adoption of this code shall be permitted to continue without change, except as specifically covered in this code or the state fire code, or as deemed necessary by the building code commissioner for the general safety and welfare of the occupants and the public.
Delete section 101.5.4.
Delete section 101.5.4.1.
Delete section 101.5.4.2.
Delete section 101.7.
Delete sections 103, 104, and 105 and sections therein.
Delete sections 106.1, 106.3.1, 106.3.3, 106.5, and 106.6.
Delete sections 108, 109, 110, 112, 113, 114, 115, 116 and 117 and sections therein.
Delete section 605.
Delete section 706.
Delete section 806.
Delete section 912.8.
Delete chapters A1 through A5.
Delete appendix B and insert in lieu thereof the following new section:
Any building or facility subject to this rule shall comply with the provisions of 661—Chapter 302.
Delete resource A.
Delete all references to the “International Plumbing Code” and insert in lieu thereof “state plumbing code.”
Delete all references to the “ICC Electrical Code” and insert in lieu thereof “National Electrical Code, 2008 edition, as amended by rule 661—301.5(103A).”
Delete all references to the “International Fuel Gas Code” and insert in lieu thereof “rule 661—301.9(103A).”
[ARC 8305B, IAB 11/18/09, effective 1/1/10]