875—91.20 (89) CSD-1 Report.

91.20(1) The installer shall complete a Manufacturer’s/Installing Contractor’s Report for ASME CSD-1 (CSD-1 Report) for each object except for the following:

a.   	 An object within the scope of 875—Chapter 95;

b.   	 An object within the scope of 875—Chapter 96; or

c.   	 A hot water supply boiler covered by ASME Section IV, Part HLW.

91.20(2) The owner shall make the CSD-1 Report available for inspection.

[ARC 8283B, IAB 11/18/09, effective 1/1/10]