645—63.5 (157) Building standards. Salons and schools shall provide:

1. 	 A service area that is equipped with exhaust fans or air filtration equipment that is of sufficient capacity to be capable of removing chemical fumes from the air;

2. 	 A separate area for storing and dispensing of supplies and sanitizing of all implements;

3. 	 A separate area to be used as a reception area;

4. 	 A supply of hot and cold running water and clean lavatory facilities;

5. 	 A supply of safe drinking water;

6. 	 Hand-washing facilities;

7. 	 Adequate lighting; and

8. 	 Work surfaces that are easily cleaned.