661—301.5 (103A) Electrical requirements. The provisions of the National Electrical Code, 2005 edition, published by the National Fire Protection Association, 1 Batterymarch Park, Quincy, MA 02169-7471, are hereby adopted by reference as the requirements for electrical installations, with the following amendments:
Delete appendices A through G.
Delete all references to the “International Plumbing Code” and insert in lieu thereof “state plumbing code.”