567—63.3 (455B) Minimum self-monitoring requirements in permits.

63.3(1) Monitoring by organic waste dischargers. The minimum self-monitoring requirements to be incorporated in operation permits for facilities discharging organic wastes shall be the appropriate requirements in Tables I, II, and IV. Additional monitoring may be specified in the operation permit based on a case-by-case evaluation of the impact of the discharge on the receiving stream, toxic or deleterious effects of wastewaters, industrial contribution to the system, complexity of the treatment proc-~~~ess, history of noncompliance or any other factor which requires strict operational control to meet the effluent limitations of the permit.

63.3(2) Monitoring by inorganic waste dischargers. The minimum self-monitoring requirements to be incorporated in the operation permit for an inorganic waste discharge shall be the appropriate requirement in Table V. Additional monitoring may be specified in the operation permit based on a case-by-case evaluation of the impact of the discharge on the receiving stream, toxic or deleterious effects of wastewaters, complexity of the treatment process, history of noncompliance or any other factor which requires strict control to meet the effluent limitations of the permit.

63.3(3) Monitoring of industrial contributors to publicly owned treatment works. All major contributing industries as defined in 567—60.2(455B) and industrial contributors that are subject to national pretreatment standards shall be monitored in accordance with the requirements in Tables I, II and V, provided that the monitoring program of a publicly owned treatment works with a pretreatment program approved by the department may be used in lieu of the tables. The results of such monitoring shall be submitted to the department in accordance with the reporting requirements in the operation permit.

63.3(4) Operational monitoring. The minimum operational monitoring to be incorporated in permits shall be the appropriate requirements in Table III. These requirements reflect minimum indicators that any adequately run system must monitor. The department recognizes that most well-run facilities will be monitored more closely by the operator as appropriate to the particular system. However, the results of this monitoring need not be reported to the department. Operational monitoring requirements may be modified or reduced at the discretion of the director when adequate justification is presented by the permittee that the reduced or modified requirements will not adversely impact the operation of the facility. Additional operational monitoring may be specified in the operation permit based on a case-by-case evaluation of the impact of the discharge on the receiving stream, toxic or deleterious effects of wastewaters, complexity of the treatment process, history of noncompliance or any other factor that requires strict control to meet the effluent limitations of the permit.