657—17.9 (155A) Facilities. All facilities at which prescription drugs are stored, warehoused, handled, held, offered, marketed, or displayed shall:

1. 	 Be of suitable size and construction to facilitate cleaning, maintenance, and proper operations;

2. 	 Have storage areas designed to provide adequate lighting, ventilation, temperature, sanitation, humidity, space, equipment, and security conditions;

3. 	 Have a quarantine area for storage of outdated, damaged, unsafe, deteriorated, misbranded, or adulterated prescription drugs; for drugs that are in immediate or sealed outer or sealed secondary containers that have been opened; for drugs that have been identified as being defective or are believed to be defective; and for drugs that do not meet the FDA-approved criteria for the product;

4. 	 Be maintained in a clean and orderly condition;

5. 	 Be free from infestation by insects, rodents, birds, or vermin of any kind.