481—58.32 (135C) Maintenance.
	 58.32(1) Each facility shall establish a maintenance program in writing to ensure the continued maintenance of the facility, to promote good housekeeping procedures, and to ensure sanitary practices throughout the facility. (III)
	 58.32(2) The building, grounds, and other buildings shall be maintained in a clean, orderly condition and in good repair. (III)
	 58.32(3) Draperies and furniture shall be clean and in good repair. (III)
	 58.32(4) Cracks in plaster, peeling wallpaper or paint, and tears or splits in floor coverings shall be promptly repaired or replaced in a professional manner. (III)
	 58.32(5) The electrical systems, including appliances, cords, and switches, shall be maintained to guarantee safe functioning and comply with the national electrical code. (III)
	 58.32(6) All plumbing fixtures shall function properly and comply with the state plumbing code. (III)
	 58.32(7) Yearly inspections of the heating and cooling systems shall be made to guarantee safe operation. Documentation of these inspections shall be available for review. (III)
	 58.32(8) The building, grounds, and other buildings shall be kept free of breeding areas for flies, other insects, and rodents. (III)
	 58.32(9) The facility shall be kept free of flies, other insects, and rodents. (III)
	 58.32(10) Maintenance personnel.
	  a.   	 A written program shall be established for the orientation of maintenance personnel. (III)
	  b.   	 Maintenance personnel shall:
	 (1) 	 Follow established written maintenance programs; (III)
	 (2) 	 Be provided with appropriate, well-constructed, and properly maintained equipment. (III)