21—85.24(215) Recording elements. All weighing or measuring devices shall be provided with appropriate recording or indicating elements, which shall be definite, accurate and easily read under any conditions of normal operation of the device. Graduations and a suitable indicator shall be provided in connection with indications and recorded representations designed to advance continuously. Graduations shall not be required in connection with indications or recorded representations designed to advance intermittently or with indications or recorded representations of the selector type.
This rule is intended to implement Iowa Code section 215.18.
[ARC 7129C, IAB 12/13/23, effective 1/17/24]