21—85.31(214,214A,215) Blender pumps. Motor fuel blender pumps or blender pumps installed or modified after November 1, 2008, that sell both ethanol blended gasoline classified as higher than E-15 and gasoline need to have at least two hoses per pump to separate registered gasoline fuels from flex fuels.
This rule is intended to implement Iowa Code section 214A.2.
[ARC 7129C, IAB 12/13/23, effective 1/17/24]