875—93.2 (89) Codes adopted by reference.
	 93.2(1) Installations from March 31, 1967, to June 30, 1995. Installations from March 31, 1967, to June 30, 1995, shall be designed, manufactured, installed, inspected, and stamped in accordance with the requirements of the ASME Code, Section I, for miniature boilers and inspected and stamped in accordance with the requirements of the National Board and the requirements of ANSI/ASME CSD-1 1992 with 1994 addenda.
	 93.2(2) Installations from July 1, 1996, to December 31, 1997. Installations and reinstallations from July 1, 1996, to December 31, 1997, shall be constructed and installed in accordance with national and international standards such as DIN, BSI, ASME, JIS, or CSA. Only national and international standards acceptable to the division of labor services may be utilized. Miniature boilers installed and reinstalled after January 1, 1996, must be inspected by a National Board commissioned inspector and be registered with the National Board. The boilers must comply with the requirements of ANSI/ASME CSD-1 1995.
	 93.2(3) Installations from January 1, 1998, to December 31, 2000. Installations and reinstallations from January 1, 1998, to December 31, 2000, shall be constructed and installed in accordance with national and international standards such as DIN, BSI, ASME, JIS, or CSA (1995 with 1997 addenda). Only national and international standards acceptable to the division may be utilized. The boilers must comply with the requirements of ANSI/ASME CSD-1 (1995 with 1997 addenda).
	 93.2(4) Installations from January 1, 2001, to September 20, 2006. Installations and reinstallations from January 1, 2001, to September 20, 2006, shall be constructed and installed in accordance with national and international standards such as DIN, BSI, ASME, JIS, or CSA (1998 with 1999 and 2000 addenda). Only national and international standards acceptable to the division may be utilized. The boilers must comply with the requirements of ANSI/ASME CSD-1 (1998 with 1999 addenda).