875—94.1 (89) Scope. This chapter shall apply to:

94.1(1) Steam boilers for operation at pressures not exceeding 15 psig;

94.1(2) Hot water heating boilers for operation at pressures not exceeding 160 psig or temperatures not exceeding 250° F at or near the boiler outlet;

94.1(3) Hot water supply boilers for operation at pressures not exceeding 160 psig or temperatures not exceeding 210° F at or near the boiler outlet.