875—94.2 (89) Codes adopted by reference.

94.2(1) Installations from July 1, 1960, to June 30, 1983. Installations and reinstallations from July 1, 1960, to June 30, 1983, shall be constructed and installed in accordance with the ASME Code for Boilers and Pressure Vessels, Section IV (1960).

94.2(2) Installations from July 1, 1983, to December 31, 1988. Installations and reinstallations from July 1, 1983, to December 31, 1988, shall be constructed and installed in accordance with ASME Code for Boilers and Pressure Vessels, Section IV (1983) and ASME Safety Code, CSD-1, Boiler Installations (1982), excluding the provisions for listing or labeling by a nationally recognized testing agency.

94.2(3) Installations from January 1, 1989, to December 31, 1990. Installations and reinstallations from January 1, 1989, to December 31, 1990, shall be constructed and installed in accordance with ASME Code for Boilers and Pressure Vessels, Section IV (1986 with 1988 addenda) and ASME Safety Code, CSD-1, Boiler Installations (1982), excluding the provisions for listing or labeling by a nationally recognized testing agency.

94.2(4) Installations from January 1, 1991, to June 30, 1996. Installations and reinstallations from January 1, 1991, to June 30, 1996, shall be constructed and installed in accordance with ASME Code for Boilers and Pressure Vessels, Section IV (1989 with 1990 addenda) and ANSI/ASME CSD-1 (1988), excluding the provisions for listing or labeling by a nationally recognized testing agency.

94.2(5) Installations from July 1, 1996, to December 31, 1997. Installations and reinstallations from July 1, 1996, to December 31, 1997, shall be designed, manufactured, installed, inspected and stamped in accordance with the requirements of the ASME Code for Boilers and Pressure Vessels, Section IV (1992 with 1994 addenda) or with the requirements of recognized national or international standards such as DIN, BSI, JIS, or CSA. Only national and international standards acceptable to the division may be utilized. The boilers must comply with the requirements of ANSI/ASME CSD-1 (1995).

94.2(6) Installations from January 1, 1998, to December 31, 2000. Installations and reinstallations from January 1, 1998, to December 31, 2000, shall be designed, manufactured, installed, inspected, and stamped in accordance with the requirements of the ASME Code for Boilers and Pressure Vessels, Section IV (1995 with 1997 addenda) or with the requirements of recognized national or international standards such as DIN, BSI, JIS, or CSA. Only national and international standards acceptable to the division may be utilized. The boilers must comply with the requirements of ANSI/ASME CSD-1 (1995 with 1997 addenda).

94.2(7) Installations from January 1, 2001, to September 19, 2006. Installations and reinstallations from January 1, 2001, to September 19, 2006, shall be designed, manufactured, installed, inspected, and stamped in accordance with the requirements of the ASME Code for Boilers and Pressure Vessels, Section IV (1998 with 1999 and 2000 addenda) or with the requirements of recognized national or international standards such as DIN, BSI, JIS, or CSA. Only national and international standards acceptable to the division may be utilized. The boilers must comply with the requirements of ANSI/ASME CSD-1 (1998 with 1999 addenda).

94.2(8) Installations on or after January 1, 2005—aluminum alloy sand castings. On or after January 1, 2005, new installations of boilers, including reinstalled boilers, may be designed, manufactured, installed, inspected, and stamped in accordance with the requirements of ASME Code Cases 2382-1, 2393, and 2394.

94.2(9) Installations on or after September 20, 2006. Installations and reinstallations on or after September 20, 2006, shall be designed, manufactured, installed, inspected, and stamped in accordance with the requirements of the ASME Code for Boilers and Pressure Vessels, Section IV (2004 with 2005 addenda) or with the requirements of recognized national or international standards such as DIN, BSI, JIS, or CSA. Only national and international standards acceptable to the division may be utilized. The boilers must comply with the requirements of ANSI/ASME CSD-1 (2004).