21—85.20 (215) Stock racks. A livestock scale shall be equipped with a suitable enclosure, fitted with gates as required, within which livestock may be held on a scale platform; this rack shall be securely mounted on the scale platform and adequate clearances shall be maintained around the outside of the rack.

This rule is intended to implement Iowa Code section 215.18.