21—85.40 (215) Inspection tag or mark. If a meter is found to be inaccurate, an appropriate “inaccurate” card and a “repair and placing in service” card shall be left with the meter.
	 85.40(1) The “inaccurate” card is to be retained by the LP-gas dealer after repair.
	 85.40(2) The “repair and placing in service” card is to be forwarded to weights and measures division of the Iowa department of agriculture and land stewardship.
This rule is intended to implement Iowa Code section 215.5.