House File 368 - Enrolled

PAG LIN

| 1 | 1 HOUSE FI |
| --- | --- |
| 1 | 2 |
| 1 | 3 AN ACT |
| 1 | 5 | ENFORCED BY THE DIVISION OF LABOR SERVICES OF THE |
| 1 | 6 | DEPARTMENT OF WORKFORCE DEVELOPMENT. |
| 1 | 7 |  |

LE 368

1	4 RELATING TO THE BOILER AND PRESSURE VESSEL SAFETY PROGRAM

1	8 BE IT ENACTED BY THE GENERAL ASSEMBLY OF THE STATE OF IOWA:

1	9

1 10	Section 1.	Section 89.3, subsections 3 and 4, Code 2007,

1 11 are amended by striking the subsections.

1 12	Sec. 2.	Section 89.3, subsection 8, Code 2007, is amended

1 13 to read as follows:

1 14	8.	Internal inspections of cast aluminum steam, cast

1 15 aluminum hot water heating, sectional cast iron steam, and

1 16 cast iron hot water heating boilers shall be conducted only as

1 17 deemed necessary by the commissioner.	External operating

1 18 inspections shall be conducted annually.

1 19	Sec. 3.	Section 89.3, subsection 9, Code 2007, is amended

1 20 to read as follows:

1 21	9.	Internal inspections of steel hot water boilers shall

1 22 be conducted once every six years.	The initial inspection of

1 23 all affected boilers shall be apportioned by the commissioner

1 24 over the six=year period after July 1, 1978.	External

1 25 operating inspections shall be conducted annually.

1 26	Sec. 4.	Section 89.4, subsection 1, Code 2007, is amended

1 27 by adding the following new paragraph:

1 28	NEW PARAGRAPH.	i.	Water heaters used for potable water if

1 29 the capacity is less than or equal to fifty gallons, the

1 30 burner input is less than or equal to fifty thousand British

1 31 thermal units, and the maximum allowable working pressure is

1 32 less than one hundred sixty pounds per square inch.

1 33	Sec. 5.	Section 89.7, Code 2007, is amended by striking

1 34 the section and inserting in lieu thereof the following:

35	89.7	SPECIAL INSPECTORS.

1	1.	The inspection required by this chapter shall not be

2	2 made by the commissioner if an owner or user of equipment

2	3 specified by this chapter obtains an inspection by a

2	4 representative of a reputable insurance company and obtains a

2	5 policy of insurance upon the equipment from that insurance

2	6 company.

2	7	2.	The representative conducting the inspection shall be

2	8 commissioned by the commissioner as a special inspector for

2	9 the year during which the inspection occurs and shall meet

2 10 such other requirements as the commissioner may by rule

2 11 establish.	The commission shall be valid for one year and the

2 12 special inspector shall pay a fee for the issuance of the

2 13 commission.	The commissioner shall establish the amount of

2 14 the fee by rule.	The commissioner shall establish rules for

2 15 the issuance and revocation of special inspector commissions.

2 16 The rules are subject to the requirements of chapter 17A.

2 17	3.	The insurance company shall file a notice of insurance

2 18 coverage on forms approved by the commissioner stating that

2 19 the equipment is insured and that inspection shall be made in

2 20 accordance with section 89.3.

2 21	4.	The special inspector shall provide the user and the

2 22 commissioner with an inspection report including the nature

2 23 and extent of all defects and violations, in a format approved

2 24 by the labor commissioner.

2 25	5.	The failure of a special inspector to inform the

2 26 commissioner of violations shall not subject the commissioner

2 27 to liability for any damages incurred.

2 28	Sec. 6.	NEW SECTION.	89.7A	CERTIFICATES.

2 29	1.	The commissioner shall issue a certificate of

2 30 inspection valid for the period specified in section 89.3

2 31 after the payment of a fee, the filing of an inspection

2 32 report, and the correction or other appropriate resolution of

2 33 any defects identified in the inspection report.

2 34	2.	The owner or user of any equipment covered in this

35 chapter, or persons in charge of such equipment, shall not

1 allow or permit a greater pressure in any unit than is stated

3	2 in the certificate of inspection issued by the commissioner.

3	3	3.	The commissioner shall indicate to the user whether or

3	4 not the equipment may be used without making repair or

3	5 replacement of defective parts, or whether or how the

3	6 equipment may be used in a limited capacity before repairs or

3	7 replacements are made, and the commissioner may permit the

3	8 user a reasonable time to make such repairs or replacements.

3	9	Sec. 7.	Section 89.11, Code 2007, is amended to read as

3 10 follows:

3 11	89.11	INJUNCTION.

3 12	In addition to any and all other remedies, if any owner,

3 13 user, or person in charge of any equipment covered by this

3 14 chapter, shall continue continues to use any equipment covered

3 15 by this chapter, after receiving a notice of defect an

3 16 inspection report identifying defects and exhausting appeal

3 17 rights as provided by this chapter, without first correcting

3 18 the defects or making replacements, the commissioner may apply

3 19 to the district court or any judge thereof by petition in

3 20 equity, in an action brought in the name of the state, for a

3 21 writ of injunction to restrain the use of the alleged

3 22 defective equipment.	However, if the commissioner believes

3 23 that the continued operation of equipment constitutes an

3 24 imminent danger that could seriously injure or cause death to

3 25 any person, in addition to all other remedies, the

3 26 commissioner may apply to the district court in the county in

3 27 which the imminently dangerous condition exists for a

3 28 temporary order to enjoin the owner, user, or person in charge

3 29 before exhausting administrative appeals.

3 30	Sec. 8.	Section 89.14, subsections 5 and 8, Code 2007, are

3 31 amended to read as follows:

3 32	5.	The board shall adopt rules pursuant to chapter 17A

3 33 necessary to administer the duties of the board.	Rules

3 34 adopted by the board shall be in accordance with accepted

35 engineering standards and practices.	The board shall adopt

1 rules relating to the equipment covered by this chapter that

4	2 are in accordance with the ASME code, which may include

4	3 addenda, interpretations, and code cases, as soon as

4	4 reasonably practical following publication by the American

4	5 society of mechanical engineers.	The board shall adopt rules

4  6 to require that operation of equipment cease in the event of

4  7 imminent danger.

4	8	8.	The board shall establish fees for examinations,

4	9 commissions, inspections, annual statements, shop inspections,

4 10 and other services.	The fees shall reflect the actual costs

4 11 and expenses necessary to operate the board and perform the

4 12 duties of the commissioner.

4 13

4 14

4 15

4 16	PATRICK J. MURPHY

4 17	Speaker of the House

4 18

4 19

4 20

4 21	JOHN P. KIBBIE

4 22	President of the Senate

4 23

4 24	I hereby certify that this bill originated in the House and

4 25 is known as House File 368, Eighty=second General Assembly. 4 26

4 27

4 28

4 29	MARK BRANDSGARD

4 30	Chief Clerk of the House

4 31 Approved	, 2007

4 32

4 33

4 34

35 CHESTER J. CULVER

1 Governor