Senate File 517 - Enrolled

PAG LIN

1	1	SENATE FILE 517

1	2

1	3	AN ACT

1	4 RELATING TO THE DEVELOPMENT, MANAGEMENT, AND EFFICIENT USE OF

1	5	ENERGY RESOURCES, MAKING ENERGY-RELATED MODIFICATIONS TO

1	6	THE STATE BUILDING CODE, SETTING FEES, MAKING APPROPRIA-

1	7	TIONS, AND PROVIDING AN EFFECTIVE DATE.

1	8

1	9 BE IT ENACTED BY THE GENERAL ASSEMBLY OF THE STATE OF IOWA:

1 10

1 11	Section 1.	Section 8.60, subsection 15, Code 2007, is

1 12 amended by striking the subsection.

1 13	Sec. 2.	Section 12.28, subsection 6, Code 2007, is amended

1 14 to read as follows:

1 15	6.	The maximum principal amount of financing agreements

1 16 which the treasurer of state can enter into shall be one

1 17 million dollars per state agency in a fiscal year, subject to

1 18 the requirements of section 8.46.	For the fiscal year, the

1 19 treasurer of state shall not enter into more than one million

1 20 dollars of financing agreements per state agency, not

1 21 considering interest expense.	However, the treasurer of state

1 22 may enter into financing agreements in excess of the one

1 23 million dollar per agency per fiscal year limit if a

1 24 constitutional majority of each house of the general assembly,

1 25 or the legislative council if the general assembly is not in

1 26 session, and the governor, authorize the treasurer of state to

1 27 enter into additional financing agreements above the one

1 28 million dollar authorization contained in this section.	The

1 29 treasurer of state shall not enter into a financing agreement

1 30 for real or personal property which is to be constructed for

1 31 use as a prison or prison=related facility without prior

1 32 authorization by a constitutional majority of each house of

1 33 the general assembly and approval by the governor of the use,

1 34 location, and maximum cost, not including interest expense, of

35 the real or personal property to be financed.	However,

1 financing agreements for an energy conservation measure, as

2	2 defined in section 7D.34, for an energy management

2  3 improvement, as defined in section 473.19, or for costs

2  4 associated with projects under section 473.13A, are exempt

2	5 from the provisions of this subsection, but are subject to the

2	6 requirements of section 7D.34 or 473.20A.	In addition,

2	7 financing agreements funded through the materials and

2	8 equipment revolving fund established in section 307.47 are

2	9 exempt from the provisions of this subsection.

2 10	Sec. 3.	Section 103A.3, Code 2007, is amended by adding

2 11 the following new subsection:

2 12	NEW SUBSECTION.	23.	"Sustainable design" means

2 13 construction design intended to minimize negative

2 14 environmental impacts and to promote the health and comfort of

2 15 building occupants including but not limited to measures to

2 16 reduce consumption of nonrenewable resources, minimize waste,

2 17 and create healthy, productive environments.

2 18	Sec. 4.	Section 103A.7, subsection 6, Code 2007, is

2 19 amended to read as follows:

2 20	6.	The conservation of energy through thermal and lighting

2 21 efficiency standards for buildings intended for human

2 22 occupancy or use and which are heated or cooled and lighting

2 23 efficiency standards for buildings intended for human

2 24 occupancy which are lighted.

2 25	Sec. 5.	Section 103A.7, Code 2007, is amended by adding

2 26 the following new subsection:

2 27	NEW SUBSECTION.	7.	Standards for sustainable design, also

2 28 known and referred to as green building standards.

2 29	Sec. 6.	Section 103A.8, subsections 7 and 8, Code 2007,

2 30 are amended to read as follows:

2 31	7.	Limit the application of thermal efficiency standards

2 32 for energy conservation to new construction of buildings which

2 33 will incorporate a heating or cooling system are heated or

2 34 cooled.	Air exchange fans designed to provide ventilation

35 shall not be considered a cooling system.	The commissioner

1 shall exempt any new construction from any thermal efficiency

3	2 standards standard for energy conservation if the commissioner

3	3 determines that the standards are standard is unreasonable as

3	4 they apply it would apply to a particular building or class of

3	5 buildings including farm buildings for livestock use.	No

3  6 standard adopted by the commissioner for energy conservation

3  7 in construction shall be interpreted to require the

3  8 replacement or modification of any existing equipment or

3  9 feature solely to ensure compliance with requirements for

3 10 energy conservation in construction.	Lighting efficiency

3 11 standards shall recognize variations in lighting intensities

3 12 required for the various tasks performed within the building.

3 13 The commissioner shall consult with the department of natural

3 14 resources regarding standards for energy conservation prior to

3 15 the adoption of the standards.	However, the standards shall

3 16 be consistent with section 103A.8A.

3 17	8.	Facilitate the development and use of solar renewable

3 18 energy.

3 19	Sec. 7.	Section 103A.8A, Code 2007, is amended to read as

3 20 follows:

3 21	103A.8A	ENERGY CONSERVATION REQUIREMENTS.

3 22	The state building code commissioner shall adopt as a part

3 23 of the state building code a requirement that new

3 24 single=family or two=family residential construction shall

3 25 comply with energy conservation requirements.	The

3 26 requirements adopted by the commissioner shall be based upon a

3 27 nationally recognized standard or code for energy

3 28 conservation.	The requirements shall only apply to

3 29 single=family or two=family residential construction commenced

30 after the adoption of the requirements.	This chapter shall

3 31 not be construed to prohibit a governmental subdivision from

3 32 adopting or enacting a minimum energy standard which is

3 33 substantially in accordance and consistent with energy codes

3 34 and standards developed by a nationally recognized

3 35 organization in effect on or after July 1, 2002.  A

4  1 governmental subdivision that adopts or enacts a minimum

4  2 energy standard which is substantially in accordance and

4  3 consistent with energy codes and standards developed by a

4  4 nationally recognized organization shall adopt or enact any

4  5 update or revision to the energy codes and standards.

6 Notwithstanding any other provision of this chapter to the

4  7 contrary, the energy conservation requirements adopted by the

4  8 commissioner and approved by the council shall apply to new

4  9 single=family or two=family residential construction commenced

4 10 on or after July 1, 2008, and shall supersede and replace any

4 11 minimum requirements for energy conservation adopted or

4 12 enacted by the governmental subdivision prior to that date

4 13 applicable to such construction.  The state building code

4 14 commissioner may provide training to builders, contractors,

4 15 and other interested persons on the adopted energy

4 16 conservation requirements.

4 17	Sec. 8.	NEW SECTION.	103A.8B	SUSTAINABLE DESIGN OR GREEN

4 18 BUILDING STANDARDS.

4 19	The commissioner, after consulting with and receiving

4 20 recommendations from the department of natural resources and

4 21 the office of energy independence, shall adopt rules pursuant

4 22 to chapter 17A specifying standards and requirements for

4 23 sustainable design and construction based upon or

4 24 incorporating nationally recognized ratings, certifications,

4 25 or classification systems, and procedures relating to

4 26 documentation of compliance.	The standards and requirements

4 27 shall be incorporated into the state building code established

4 28 in section 103A.7, but in lieu of general applicability shall

4 29 apply to construction projects only if such applicability is

4 30 expressly authorized by statute, or as established by another

4 31 state agency by rule.

4 32	Sec. 9.	Section 103A.10, subsection 4, paragraphs a and b,

4 33 Code Supplement 2007, are amended to read as follows:

4 34	a.	Provisions of the state building code establishing

35 thermal efficiency energy conservation standards shall be

1 applicable to all new construction owned by the state, an

5  2 agency of the state or a political subdivision of the state,

5  3 to all new construction located in a governmental subdivision

5  4 which has adopted either the state building code or a local

5  5 building code or compilation of requirements for building

5  6 construction and to all other new construction in the state

5	7 which will contain more than one hundred thousand cubic feet

5  8 of enclosed space that is heated or cooled.	The commissioner

5  9 shall provide appropriate exceptions for construction where

5 10 the application of an energy conservation requirement adopted

5 11 pursuant to this chapter would be impractical.

5 12	b.	Provisions of the state building code establishing

5 13 lighting efficiency standards shall be applicable to all new

5 14 construction owned by the state, an agency of the state or a

5 15 political subdivision of the state and to all new

5 16 construction, in the state, of buildings which are open to the

5 17 general public during normal business hours and to new and

5 18 replacement lighting in existing buildings.

5 19	Sec. 10.	Section 103A.10, subsection 5, Code Supplement

5 20 2007, is amended by striking the subsection and inserting in

5 21 lieu thereof the following:

5 22	5.	Notwithstanding any other provision of this chapter to

5 23 the contrary, the energy conservation requirements adopted by

5 24 the commissioner and approved by the council shall apply to

5 25 all new construction commenced on or after July 1, 2008, and

5 26 shall supersede and replace any minimum requirements for

5 27 energy conservation adopted or enacted by the governmental

5 28 subdivision prior to that date and applicable to such

5 29 construction.

5 30	Sec. 11.	Section 103A.10A, subsections 1 and 2, Code

5 31 Supplement 2007, are amended to read as follows:

5 32	1.	Beginning on January 1, 2007, all All newly constructed

5 33 buildings or structures subject to the state building code,

5 34 excluding including any addition, but excluding any

35 renovation, or repair of a building or structure, whether

6  1 existing prior to January 1, 2007, or thereafter, that are

2 owned by the state or an agency of the state, except as

6	3 provided in subsection 2, shall be subject to a plan review

6	4 and inspection by the commissioner or an independent building

6	5 inspector appointed by the commissioner.	A fee shall be

6	6 assessed for the cost of plan review and the cost of

6	7 inspection.	The commissioner may inspect an existing building

6  8 that is undergoing renovation or remodeling to enforce the

6  9 energy conservation requirements established under this

6 10 chapter.

6 11	2.	Beginning on July 1, 2007, all All newly constructed

6 12 buildings, excluding including any addition, but excluding any

6 13 renovation, or repair of a building, whether existing prior to

6 14 July 1, 2007, or thereafter, that are owned by the state board

6 15 of regents shall be subject to a plan review and inspection by

6 16 the commissioner or the commissioner's staff or assistant.

6 17 The commissioner and the state board of regents shall develop

6 18 a plan to implement the requirements of this subsection,

6 19 including funding recommendations related to plan review and

6 20 inspection, by March 1, 2007.	The commissioner may inspect an

6 21 existing building that is undergoing renovation or remodeling

6 22 to enforce the energy conservation requirements established

6 23 under this chapter.  The commissioner and the state board of

6 24 regents shall develop a plan to implement this provision.

6 25	Sec. 12.	Section 103A.19, subsection 1, Code Supplement

6 26 2007, is amended to read as follows:

6 27	1.	The examination and approval or disapproval of plans

6 28 and specifications, the issuance and revocation of building

6 29 permits, licenses, certificates, and similar documents, the

6 30 inspection of buildings or structures, and the administration

6 31 and enforcement of building regulations shall be the

6 32 responsibility of the governmental subdivisions of the state

6 33 and shall be administered and enforced in the manner

6 34 prescribed by local law or ordinance.	All provisions of law

35 relating to the administration and enforcement of local

1 building regulations in any governmental subdivision shall be

7	2 applicable to the administration and enforcement of the state

7	3 building code in the governmental subdivision.	An application

7	4 made to a local building department or to a state agency for

7	5 permission to construct a building or structure pursuant to

7	6 the provisions of the state building code shall, in addition

7	7 to any other requirement, be signed by the owner or the

7	8 owner's authorized agent, and shall contain the address of the

7	9 owner, and a statement that the application is made for

7 10 permission to construct in accordance with the provisions of

7 11 the code.	The application shall also specifically include a

7 12 statement that the construction will be in accordance with all

7 13 applicable energy conservation requirements.

7 14	Sec. 13.	Section 103A.22, subsection 1, Code 2007, is

7 15 amended to read as follows:

7 16	1.	Nothing in this chapter shall be construed as

7 17 prohibiting any governmental subdivision from adopting or

7 18 enacting any building regulations relating to any building or

7 19 structure within its limits, but a governmental subdivision in

7 20 which the state building code has been accepted and is

7 21 applicable shall not have the power to supersede, void, or

7 22 repeal or make more restrictive any of the provisions of this

7 23 chapter or of the rules adopted by the commissioner.	This

7 24 subsection shall not apply to energy conservation requirements

7 25 adopted by the commissioner and approved by the council

7 26 pursuant to section 103A.8A or 103A.10.

7 27	Sec. 14.	Section 216A.102, subsection 2, paragraph b, Code

7 28 2007, is amended by striking the paragraph.

7 29	Sec. 15.	Section 266.39C, subsection 3, Code 2007, is

7 30 amended to read as follows:

7 31	3.	Iowa state university of science and technology shall

7 32 employ a director for the center, who shall be appointed by

7 33 the president of Iowa state university of science and

7 34 technology.	The director of the center shall employ necessary

35 research and support staff.	The director and staff shall be

1 employees of Iowa state university of science and technology.

8	2 No more than seven hundred thousand dollars of the funds made

8  3 available by appropriation from state revenues in any one year

8  4 shall be expended by the center for the salaries and benefits

8  5 of the employees of the center, including the salary and

8  6 benefits of the director.  The limit on expenditures for

8  7 salaries and benefits shall be adjusted annually by a

8  8 percentage equal to the average percentage salary adjustment

8  9 approved annually by the state board of regents for

8 10 professional and scientific employees at Iowa state university

8 11 of science and technology.  The remainder of the funds

8 12 appropriated from state funds Funds appropriated to the center

8 13 shall be used to sponsor research grants and projects

8 14 submitted on a competitive basis by Iowa colleges and

8 15 universities and private nonprofit agencies and foundations,

8 16 and for the salaries and benefits of the employees of the

8 17 center.	The center may also solicit additional grants and

8 18 funding from public and private nonprofit agencies and

8 19 foundations.

8 20	Sec. 16.	Section 388.9, subsection 2, Code 2007, is

8 21 amended by adding the following new unnumbered paragraph:

8 22	NEW UNNUMBERED PARAGRAPH.	For purposes of this subsection,

8 23 "proprietary information" includes customer records that if

8 24 disclosed would harm the competitive position of a customer;

8 25 or information required by a noncustomer contracting party to

8 26 be kept confidential pursuant to a nondisclosure agreement

8 27 which relates to electric transmission planning and

8 28 construction, critical energy infrastructure, an ownership

8 29 interest or acquisition of an ownership interest in an

8 30 electric generating facility, or other information made

8 31 confidential by law or rule.

8 32	Sec. 17.	Section 455E.11, subsection 2, paragraph e, Code

8 33 2007, is amended by striking the paragraph.

8 34	Sec. 18.	Section 473.1, Code 2007, is amended by adding

35 the following new subsections:

1	NEW SUBSECTION.	0A.	"Alternative and renewable energy"

9	2 means the same as in section 469.31.

9	3	NEW SUBSECTION.	4A.	"Renewable fuel" means the same as in 9	4 section 469.31.

9	5	Sec. 19.	Section 473.1, subsection 5, Code 2007, is

9	6 amended to read as follows:

9	7	5.	"Supplier" means any person engaged in the business of

8 selling, importing, storing, or generating energy sources,

9  9 alternative and renewable energy, or renewable fuel in Iowa.

9 10	Sec. 20.	Section 473.2, subsection 1, paragraph a, Code

9 11 2007, is amended to read as follows:

9 12	a.	Physical, human, natural, and financial resources are

9 13 allocated efficiently.

9 14	Sec. 21.	Section 473.3, Code 2007, is amended to read as

9 15 follows:

9 16	473.3	ENERGY EFFICIENCY RESOURCE MANAGEMENT GOAL.

9 17	1.	The goal of this state is to more efficiently utilize

9 18 energy resources, especially those that are nonrenewable or

9 19 that have negative environmental impacts, in order to enhance

9 20 the economy of the state and to decrease by decreasing the

9 21 state's dependence on nonrenewable energy resources from

9 22 outside the state and by reducing the amount of energy used.

9 23 This goal is to be implemented through the development of

9 24 policies and programs that promote energy efficiency, and

9 25 energy conservation, and alternative and renewable energy use

9 26 by all Iowans, through the development and enhancement of an

9 27 energy efficiency and alternative and renewable energy

9 28 industry, through the development of indigenous

9 29 commercialization of energy resources and technologies that

9 30 are economically and environmentally viable, and through the

9 31 development and implementation of effective public information

9 32 and education programs.

9 33	2.	State government shall be a model and testing ground

9 34 for the use of energy efficiency, energy conservation, and

9 35 alternative and renewable energy systems.

1	Sec. 22.	Section 473.7, subsections 2 and 3, Code

10	2 Supplement 2007, are amended by striking the subsections.

10	3	Sec. 23.	Section 473.7, subsections 4, 5, 11, 12, and 14,

10	4 Code Supplement 2007, are amended to read as follows:

10	5	4.	a.	Establish a central depository within the state for

10  6 energy data.  The central depository shall be located at or

10  7 accessible through a library which is a member of an

10  8 interlibrary loan program to facilitate access to the data and

10  9 information contained in the central depository.	The

10 10 department shall collect and analyze data

necessary to

10 11 forecast to use in forecasting

future energy demands in demand

10 12 and supply for

the

state.	The department may require a A

10 13 supplier is required to provide information pertaining to the

10 14 supply, storage, distribution, and sale of energy sources in

10 15 this state when requested by the department.	The information

10 16 shall be furnished on a periodic basis, shall be of a nature

10 17 which directly relates to the supply, storage, distribution,

10 18 and sale of energy sources, and shall not include any records,

10 19 documents, books, or other data which relate to the financial

10 20 position of the supplier.	Provided the The department, prior

10 21 to requiring any supplier to furnish it with such information,

10 22 shall make every reasonable effort to determine if the same

10 23 such information is available from any other governmental

10 24 source.	If it finds such information is available, the

10 25 department shall not require submission of the same

10 26 information from a supplier.	Notwithstanding the provisions

10 27 of chapter 22, information and reports obtained under this

10 28 section shall be confidential except when used for statistical

10 29 purposes without identifying a specific supplier and when

10 30 release of the information will not give an advantage to

10 31 competitors and serves a public purpose.	The department shall

10 32 use this data to conduct energy forecasts which shall be

10 33 included in the biennial update required by this section.

10 34	b.	The department may subpoena witnesses, administer

35 oaths, and require the production of records, books, and

1 documents for examination in order to obtain information

11	2 required to be submitted under this section.	In case of

11	3 failure or refusal on the part of any person to comply with a

11	4 subpoena issued by the department, or in case of the refusal

11	5 of any witness to testify as to any matter regarding which the

11	6 witness may be interrogated under this chapter, the district

11	7 court, upon the application of the department, may order the

11	8 person to show cause why the person should not be held in

11	9 contempt for failure to testify or comply with a subpoena, and

11 10 may order the person to produce the records, books, and

11 11 documents for examination, and to give testimony.	The courts

11 12 may punish for contempt as in the case of disobedience to a

11 13 like subpoena issued by the court, or for refusal to testify.

11 14	5.	Develop, recommend, and implement with appropriate

11 15 agencies public and professional education and communication

11 16 programs in energy efficiency, energy conservation, and

11 17 conversion to alternative sources of energy alternative and

11 18 renewable energy.

11 19	11.	Develop, in coordination with the office of energy

11 20 independence, a program to annually give public recognition to

11 21 innovative methods of energy conservation, energy management,

11 22 and alternative and renewable energy production.

11 23	12.	Administer and coordinate, in coordination with the

11 24 office of energy independence, federal funds for energy

11 25 conservation, energy management, and alternative and renewable

11 26 energy

programs

including, but not limited to, the

11 27 institutional conservation program, state energy conservation

11 28 program, and energy extension service program, and related

11 29 programs which provide energy management and conservation

11 30 assistance to schools, hospitals, health care facilities,

11 31 communities, and the general public.

11 32	14.	Perform Provide information from monthly fuel surveys

11 33 which establish a statistical average of motor fuel prices for

11 34 various motor fuels provided throughout the state.

35 Additionally, the department shall perform provide statewide

1 monthly fuel surveys in cities with populations of over fifty

12  2 thousand survey information which establish a statistical

12	3 average of motor fuel prices for various motor fuels provided

12	4 in those individual cities both metropolitan and rural areas

12  5 of the state.	The survey results shall be publicized in a

12	6 monthly press release issued by the department.

12	7	Sec. 24.	Section 473.15, Code 2007, is amended to read as

12	8 follows:

12	9	473.15	ANNUAL REPORT.

12 10	The department shall include in the complete an annual

12 11 report required under section 455A.4 an assessment of to

12 12 assess

the

progress

achieved by public agencies of state

12 13 agencies in implementing energy management improvements,

12 14 alternative and renewable energy systems, and life cycle cost

12 15 analyses under chapter 470, and on the use of renewable fuels.

12 16 The department shall work with state agencies and with any

12 17 entity, agency, or organization with which they are associated

12 18 or involved in such implementation, to use available

12 19 information to minimize the cost of preparing the report.  The

12 20 department shall also provide an assessment of the economic

12 21 and environmental impact of the progress made by state

12 22 agencies related to energy management and alternative and

12 23 renewable energy, along with recommendations on technological

12 24 opportunities and policies necessary for continued improvement

12 25 in these areas.

12 26	Sec. 25.	Section 473.19, Code 2007, is amended to read as

12 27 follows:

12 28	473.19	ENERGY BANK PROGRAM.

12 29	1.	The energy bank program is established by the

12 30 department.	The energy bank program consists of the following

12 31 forms of assistance for the state, state agencies, political

12 32 subdivisions of the state, school districts, area education

12 33 agencies, community colleges, and nonprofit organizations:

12 34	1.	a.  Promoting program availability.

35	b.  Developing or identifying guidelines and model energy

13  1 techniques for the completion of energy analyses for state

13  2 agencies, political subdivisions of the state, school

13  3 districts, area education agencies, community colleges, and

13  4 nonprofit organizations.

5	c.	Providing moneys from the petroleum overcharge fund

13	6 technical assistance for conducting or evaluating energy

13	7 audits analyses for school districts under section 279.44, for

13  8 conducting comprehensive engineering analyses for school

13  9 districts and for conducting energy audits and comprehensive

13 10 engineering analyses for state agencies, and political

13 11 subdivisions of the state agencies, political subdivisions of

13 12 the state, school districts, area education agencies,

13 13 community colleges, and nonprofit organizations.

13 14	2.	d.	Providing or facilitating loans, leases, and other

13 15 methods of alternative financing from under the energy loan

13 16 fund established in section 473.20 and section 473.20A program

13 17 for the state, state agencies, political subdivisions of the

13 18 state, school districts, area education agencies, community

13 19 colleges, and nonprofit organizations to implement energy

13 20 conservation measures management improvements or energy

13 21 analyses.

13 22	3.  Serving as a source of technical support for energy

13 23 conservation management.

13 24	4.	e.	Providing assistance for obtaining insurance on the

13 25 energy savings expected to be realized from the implementation

13 26 of energy conservation measures management improvements.

13 27	5.	f.	Providing Facilitating self=liquidating financing

13 28 for the state, state agencies, political subdivisions of the

13 29 state, school districts, area education agencies, community

13 30 colleges, and nonprofit organizations pursuant to section 13 31 473.20A.

32	g.  Assisting the treasurer of state with financing

13 33 agreements entered into by the treasurer of state on behalf of

13 34 state agencies to finance energy management improvements

13 35 pursuant to section 12.28.

1	2.	For the purpose of this section, section 473.20, and

14	2 section 473.20A, "energy conservation measure" management

14  3 improvement" means construction, rehabilitation, acquisition,

14	4 or modification of an installation in a facility or vehicle

14	5 which is intended to reduce energy consumption, or energy

14	6 costs, or both, or allow the use of an alternative energy

14  7 source, which may contain integral alternative and renewable

14  8 energy.  "Energy management improvement" may include control

14	9 and measurement devices.	"Nonprofit organization" means an

14 10 organization exempt from federal income taxation under section

14 11 501(c)(3) of the Internal Revenue Code.

14 12	3.  The department shall submit a report by January 1

14 13 annually to the governor and the general assembly detailing

14 14 services provided and assistance rendered pursuant to the

14 15 energy bank program and pursuant to sections 473.20 and

14 16 473.20A, and receipts and disbursements in relation to the

14 17 energy bank fund created in section 473.19A.

14 18	4.  Moneys awarded or allocated to the state, its citizens,

14 19 or its political subdivisions as a result of the federal court

14 20 decisions and United States department of energy settlements

14 21 resulting from alleged violations of federal petroleum pricing

14 22 regulations attributable to or contained within the Stripper

14 23 Well fund shall be allocated to and remain under the control

14 24 of the department for utilization for energy program=related

14 25 staff support purposes.

14 26	Sec. 26.	NEW SECTION.	473.19A	ENERGY BANK FUND.

14 27	1.	The energy bank fund is created within the state

14 28 treasury under the control of the department, in collaboration

14 29 with the office of energy independence established in section

14 30 469.2.	The fund shall be used for the operational expenses

14 31 and administrative costs incurred by the department in

14 32 facilitating and administering the energy bank program

14 33 established in section 473.19.

14 34	2.	The energy bank fund shall consist of amounts deposited

35 into the fund or allocated from the following sources:

1	a.	Any moneys awarded or allocated to the state, its

15	2 citizens, or its political subdivisions as a result of the

15	3 federal court decisions and United States department of energy

15	4 settlements resulting from alleged violations of federal

15	5 petroleum pricing regulations attributable to or contained

15	6 within the Exxon fund.	Amounts remaining in the oil

15	7 overcharge account established in section 455E.11, subsection

15	8 2, paragraph "e", and the energy conservation trust

15	9 established in section 473.11, as of June 30, 2008, shall be

15 10 deposited into the energy bank fund pursuant to this

15 11 paragraph, notwithstanding section 8.60, subsection 15.

15 12	b.	(1)	Moneys received in the form of fees imposed upon

15 13 the state, state agencies, political subdivisions of the

15 14 state, school districts, area education agencies, community

15 15 colleges, and nonprofit organizations for services performed

15 16 or assistance rendered pursuant to the energy bank program.

15 17 Fees imposed pursuant to this paragraph shall be established

15 18 by the department in an amount corresponding to the

15 19 operational expenses or administrative costs incurred by the

15 20 department in performing services or providing assistance

15 21 authorized pursuant to the energy bank program, as follows:

15 22	(a)	For a building of up to twenty=five thousand square

15 23 feet, two thousand five hundred dollars.

15 24	(b)	For a building in excess of twenty=five thousand

15 25 square feet, an additional eight cents per square foot.

15 26	(c)	A building that houses more energy intensive functions

15 27 may be subject to a higher fee than the fees specified in

15 28 subparagraphs (a) and (b) as determined by the department.

15 29	(2)	Any fees imposed shall be retained by the department

15 30 and are appropriated to the department for purposes of

15 31 providing the services or assistance under the program.

15 32	c.	Moneys appropriated by the general assembly and any

15 33 other moneys, including grants and gifts from government and

15 34 nonprofit organizations, available to and obtained or accepted

35 by the department for placement in the fund.

1	d.	Moneys contained in the intermodal revolving loan fund

16	2 administered by the department of transportation for the

16	3 fiscal year beginning July 1, 2019, and succeeding fiscal

16	4 years.

16	5	e.	Moneys in the fund are not subject to section 8.33.

16	6 Notwithstanding section 12C.7, interest or earnings on moneys

16	7 in the fund shall be credited to the fund.

16	8	3.	The energy bank fund shall be limited to a maximum of

16	9 one million dollars.	Amounts in excess of this maximum

16 10 limitation shall be transferred to and deposited in the

16 11 rebuild Iowa infrastructure fund created in section 8.57,

16 12 subsection 6.

16 13	Sec. 27.	Section 473.20, unnumbered paragraph 1, Code

16 14 2007, is amended to read as follows:

16 15	An energy loan fund program is established in the office of

16 16 the treasurer of state to and shall be administered by the

16 17 department.

16 18	Sec. 28.	Section 473.20, subsections 1, 5, and 6, Code

16 19 2007, are amended to read as follows:

16 20	1.	The department may make loans to the state, state

16 21 agencies, facilitate the loan process for political

16 22 subdivisions of the state, school districts, area education

16 23 agencies, community colleges, and nonprofit organizations for

16 24 implementation of energy conservation measures management

16 25 improvements

identified

in a comprehensive engineering an

16 26 energy analysis.	Loans shall be made facilitated for all

16 27 cost=effective energy management improvements.	For the state,

16 28 state agencies, political subdivisions of the state, school

16 29 districts, area education agencies, community colleges, and

16 30 nonprofit organizations to receive a loan from the fund

16 31 assistance under the program, the department shall require

16 32 completion of an energy management plan including an energy

16 33 audit and a comprehensive engineering analysis.	The

16 34 department shall approve loans made facilitated under this

35 section.

1	5.	The state, state agencies, political Political

17	2 subdivisions of the state, school districts, area education

17	3 agencies, and community colleges shall design and construct

17	4 the most energy cost=effective facilities feasible and shall

17  5 use the financing made available may use financing facilitated

17	6 by the department to cover the incremental costs above minimum

17	7 building code energy efficiency standards of purchasing energy

17	8 efficient devices and materials unless other lower cost

17	9 financing is available.	As used in this section, "facility"

17 10 means a structure that is heated or cooled by a mechanical or

17 11 electrical system, or any system of physical operation that

17 12 consumes energy to carry out a process.

17 13	6.	The department shall not require the state, state

17 14 agencies, political subdivisions of the state, school

17 15 districts, area education agencies, and community colleges to

17 16 implement a specific energy conservation measure management

17 17 improvement

identified

in a comprehensive engineering an

17 18 energy analysis if the entity which prepared the analysis

17 19 demonstrates to the department that the facility which is the

17 20 subject of the energy conservation measure management

17 21 improvement is unlikely to be used or operated for the full

17 22 period of the expected savings payback of all costs associated

17 23 with implementing the energy conservation measure management

17 24 improvement, including without limitation, any fees or charges

17 25 of the department, engineering firms, financial advisors,

17 26 attorneys, and other third parties, and all financing costs

17 27 including interest, if financed.

17 28	Sec. 29.	Section 473.20, subsection 3, Code 2007, is

17 29 amended by striking the subsection.

17 30	Sec. 30.	Section 473.20A, Code 2007, is amended to read as

17 31 follows:

17 32	473.20A	SELF=LIQUIDATING FINANCING.

17 33	1.	The department of natural resources may enter into

17 34 facilitate financing agreements that may be entered into with

35 the state, state agencies, political subdivisions of the

1 state, school districts, area education agencies, community

18	2 colleges, or nonprofit organizations in order to provide the

18  3 financing to pay finance the costs of furnishing energy

18	4 conservation measures management improvements on a

18  5 self=liquidating basis.	The provisions of section 473.20

18	6 defining eligible energy conservation measures and the method

18  7 of repayment of the loans management improvements apply to

18	8 financings under this section.

18	9	The financing agreement may contain provisions, including

18 10 interest, term, and obligations to make payments on the

18 11 financing agreement beyond the current budget year, as may be

18 12 agreed upon between the department of natural resources and

18 13 the state, state agencies, acceptable to political

18 14 subdivisions of the state, school districts, area education

18 15 agencies, community colleges, or nonprofit organizations.

16	2.  For the purpose of funding its obligation to furnish

18 17 moneys under the financing agreements, or to fund the energy

18 18 loan fund created in section 473.20, the treasurer of state,

18 19 with the assistance of the department of natural resources, or

18 20 the treasurer of state's duly authorized agents or

18 21 representatives, may incur indebtedness or enter into master

18 22 lease agreements or other financing arrangements to borrow to

18 23 accomplish energy conservation measures, or the department of

18 24 natural resources may enter into master lease agreements or

18 25 other financing arrangements to permit the state, state

18 26 agencies, political subdivisions of the state, school

18 27 districts, area education agencies, community colleges, or

18 28 nonprofit organizations to borrow sufficient funds to

18 29 accomplish the energy conservation measure.  The obligations

18 30 may be in such form, for such term, bearing such interest and

18 31 containing such provisions as the department of natural

18 32 resources, with the assistance of the treasurer of state,

18 33 deems necessary or appropriate.  Funds remaining after the

18 34 payment of all obligations have been redeemed shall be paid

18 35 into the energy loan fund.	The department shall assist the

19  1 treasurer of state with financing agreements entered into by

19  2 the treasurer of state on behalf of state agencies pursuant to

19  3 section 12.28 to finance energy management improvements being

19  4 implemented by state agencies.

5	3. 2.	The state, state agencies, political Political

19	6 subdivisions of the state, school districts, area education

19	7 agencies, community colleges, and nonprofit organizations may

19	8 enter into financing agreements and issue obligations

19	9 necessary to carry out the provisions of the chapter.	Chapter

19 10 75 shall not be applicable.

19 11	Sec. 31.	Section 476.46, subsection 2, paragraph d,

19 12 subparagraph (2), Code 2007, is amended to read as follows:

19 13	(2)	A facility shall be eligible for no more than two

19 14 hundred fifty thousand one million dollars in loans

19 15 outstanding at any time under this program.

19 16	Sec. 32.	Sections 473.11, 473.13, 473.16, 473.17, 473.42,

19 17 and 473.44, Code 2007, are repealed.

19 18	Sec. 33.	EFFECTIVE DATE.	This Act, being deemed of

19 19 immediate importance, takes effect upon enactment. 19 20

19 21

19 22

19 23	JOHN P. KIBBIE

19 24	President of the Senate

19 25

19 26

19 27

19 28	PATRICK J. MURPHY

19 29	Speaker of the House

19 30

19 31	I hereby certify that this bill originated in the Senate and

19 32 is known as Senate File 517, Eighty=second General Assembly. 19 33

19 34

35

1	MICHAEL E. MARSHALL

20	2	Secretary of the Senate

20	3 Approved	, 2008

20	4

20	5

20	6

20	7 CHESTER J. CULVER

20	8 Governor