SENATE FILE 269

BY  SENG, JOHNSON, SEYMOUR, HOUSER, KIBBIE, RIELLY, KAPUCIAN, HAHN, HANCOCK, and FRAISE

A BILL FOR

An Act relating to wastewater discharges by on-farm processing operations.

BE IT ENACTED BY THE GENERAL ASSEMBLY OF THE STATE OF IOWA:

Section 1.  NEW SECTION.  455B.198A  Wastewater discharge —— on-farm processing.

1.  As used in this section:

a.  “Farm” means the land and structures used in the production of an agricultural animal or crop as defined in section 717A.1.

b.  “Food commodity” means any commodity that is derived from a live agricultural animal or harvested crop, both as defined in section 717A.1, which is intended for human consumption in its raw or processed state, and which in its raw state includes but is not limited to milk, eggs, vegetables, fruits, nuts, syrup, and honey.

c.  “On-farm processing operation” means any place located on a farm where the form or condition of a food commodity originating from that farm or another farm is changed or packaged for human consumption, including but not limited to a dairy, creamery, winery, distillery, or cannery. The change to the food commodity may include cleaning, cooling, pasteurizing, purifying, or preserving the food commodity.

d.  “Wastewater disposal system” means an on-site wastewater treatment and disposal system, including a septic system and soil absorption field, that discharges wastewater on private property.

2.  A person engaged in an on-farm processing operation who qualifies under this subsection is exempt from the wastewater discharge regulations provided in this chapter, and rules relating to such regulations adopted by the department pursuant to this chapter, for wastewater produced from the on-farm processing operation. In order to qualify, the person must dispose of wastewater as follows:

a.  The person shall not dispose of the wastewater into a stream, lake, pond, river, watercourse, waterway, well, agricultural drainage well, sinkhole, spring, reservoir, or aquifer.

b.  The person shall not discharge the wastewater using land application or a wastewater disposal system if any one-day biochemical oxygen demand contributed by the wastewater exceeds five pounds. In addition, the following applies:

(1)  The wastewater shall not be land applied on the same spot on more than one occasion within a five-day period.

(2)  The wastewater shall not be discharged using a wastewater disposal system allowed for a single-family dwelling if the one-day biochemical oxygen demand contributed by the wastewater exceeds one pound. Otherwise, the wastewater disposal system may be used if approved by a professional engineer certifying that the wastewater disposal system meets state effluent quality requirements for a private sewage system as provided in 567 IAC ch. 69. However, in all cases the wastewater must be compatible with the wastewater disposal system.

c.  For purposes of this subsection, the biochemical oxygen demand shall be determined in the manner and at the temperature used by the department to determine biochemical oxygen demand for pretreated effluent.

3.  The department shall adopt by rule guidelines to assist a person who owns or operates an on-farm processing operation in determining if the exemption provided in this section is applicable. The guidelines shall provide, at a minimum, an estimate of the maximum number of gallons of milk or wine that could be processed by a creamery or winery utilizing land application or alternatively a wastewater disposal system.

4.  A person engaged in an on-farm processing operation who qualifies as a small animal feeding operation as defined in section 459.102 may dispose of wastewater produced by the small animal feeding operation in the same manner as manure, if any one-day demand for the biochemical oxygen demand contributed by the wastewater does not exceed five pounds.

5.  The department may adopt rules providing additional exemptions from the requirements of this chapter that would otherwise apply to the disposal of wastewater generated by an on-farm processing operation.

EXPLANATION

This bill provides that an on-farm processing operation may be exempt from state regulations governing wastewater discharge, if the waste produced by the processing operation meets certain standards measuring “biochemical oxygen demand”, a chemical procedure which determines the amount of dissolved oxygen in a volume of water required to break down the organic compounds. The exemption provided in the bill would apply to an operation that processes a food commodity produced on that farm or another farm and includes a dairy, creamery, winery, distillery, or cannery. The standards apply to both disposal by land application and on-site wastewater treatment systems including a private septic system. The bill requires the department to adopt guidelines by rule that could be used by creameries and wineries to determine if they qualify for the exemption. If a person is a small animal feeding operation, the person may dispose of the wastewater in the same manner as manure.

The bill also authorizes the department of natural resources to adopt rules providing further exemptions applicable to on-farm processing operations.