HF 299 (LSB 2222YH (2) 85)

HOUSE FILE 299

BY  PETTENGILL

A BILL FOR

An Act concerning boiler inspections.

BE IT ENACTED BY THE GENERAL ASSEMBLY OF THE STATE OF IOWA:

Section 1.  Section 89.3, subsection 8, Code 2013, is amended to read as follows:

8.  Internal inspections

Inspections of unfired steam pressure vessels operating in excess of fifteen pounds per square inch

and low pressure steam boilers shall be conducted once every two years. External inspections shall be conducted annually

at least once each calendar year.

The inspections conducted over each two-year period shall include an external inspection conducted while the boiler is operating and an internal inspection, where construction permits. No more than one inspection shall be conducted over a six-month period. An internal inspection of an unfired steam pressure vessel

or low pressure steam boiler may be required at any time by the commissioner upon the observation by an inspector of conditions, enumerated by the commissioner through rules, warranting an internal inspection.

Sec. 2.  Section 89.4, subsection 1, Code 2013, is amended by adding the following new paragraphs:

NEW PARAGRAPH.  j.  An electric boiler with a water capacity of six gallons or less that is used as an integral part of an espresso coffee machine, cappuccino coffee machine, or cleaning machine.

NEW PARAGRAPH.  k.  Continuous coil-type boilers used only for steam vapor cleaning, to which all of the following apply:

(1)  The size of the tubing or pipe, with no drums or headers attached, does not exceed three-fourths of one inch in diameter.

(2)  Nominal water capacity of the boiler does not exceed six gallons.

(3)  Water temperature in the boiler does not exceed three hundred fifty degrees Fahrenheit.

(4)  Steam is not generated within the coil.

EXPLANATION

This bill provides for required inspections of unfired steam pressure vessels operating in excess of 15 pounds per square inch to occur at least once a year. The bill provides that such inspections shall include one internal inspection and one external inspection in each two-year period. The bill provides that such inspections shall occur no more than once every six months. The bill also applies this requirement to low pressure steam boilers.

The bill provides for two additional exemptions from Code chapter 89 governing boilers and unfired steam pressure vessels. The bill exempts an electric boiler with a water capacity of six gallons or less that is used as an integral part of an espresso coffee machine, cappuccino coffee machine, or cleaning machine. The bill also exempts continuous coil-type boilers used only for steam vapor cleaning that meet certain criteria.