HSB 144 (LSB 2228YC (2) 86)

HOUSE FILE _____

BY  (PROPOSED COMMITTEE ON JUDICIARY BILL BY CHAIRPERSON BALTIMORE)

A BILL FOR

An Act relating to the sale, lease, or rental of water treatment systems.

BE IT ENACTED BY THE GENERAL ASSEMBLY OF THE STATE OF IOWA:

Section 1.  Section 714.16, subsection 2, paragraph h, Code 2015, is amended to read as follows:
   h.  It is an unlawful practice for a person to sell, lease, rent, or advertise the sale, lease, or rental of a water treatment system in this state, for which claims or representations of removing health-related contaminants are made, unless the water treatment system:
   (1)  Has been performance tested by a third-party testing agency that has been authorized by the Iowa department of public health. Alternatively, in all claims or representations of removing health-related contaminants certified by a certification body accredited by the American national standards institute. If all water treatment system claims or representations of removing health-related contaminants are certified by a certification body accredited by the American national standards institute, the manufacturer shall not be required to register a water treatment system with the Iowa department of public health. In lieu of third-party performance testing of the manufacturer’s water treatment system certification by a certification body accredited by the American national standards institute, the manufacturer may rely upon the manufacturer’s own test data after approval of the data by an accepted third-party evaluator as provided in this subparagraph. The Iowa department of public health shall review the qualifications of a third-party evaluator proposed by the manufacturer. The department may accept or reject a proposed third-party evaluator based upon the required review. If a third-party evaluator, accepted by the Iowa department of public health, finds that the manufacturer’s test data is reliable, adequate, and fairly presented, the manufacturer may rely upon that data to satisfy the requirements of this subparagraph after filing a copy of the test data and the report of the third-party evaluator with the Iowa department of public health. The testing agency shall use, or the evaluator shall review for the use of, approved methods of performance testing determined to be appropriate by the state hygienic laboratory.
   (2)  Has met the performance testing requirements specified in the testing protocol.
   (3)  Bears a conspicuous and legible label stating, “IMPORTANT NOTICE —— Read the Manufacturer’s Performance Data Sheet” and is accompanied by a manufacturer’s performance data sheet.

The manufacturer’s performance data sheet shall be given to the buyer and shall be signed and dated by the buyer and the seller prior to the consummation of the sale of the water treatment system. The manufacturer’s performance data sheet shall contain information including, but not limited to:

(a)  The name, address, and telephone number of the seller.
   (b)  The name, brand, or trademark under which the unit is sold, and its model number.
   (c)  Performance and test data including, but not limited to, the list of contaminants certified to be reduced by the water treatment system; the test influent concentration level of each contaminant or surrogate for that contaminant; the percentage reduction or effluent concentration of each contaminant or surrogate; where applicable, the maximum contaminant level (MCL) or a treatment technique requirement or an action level established in lieu of a maximum contaminant level (MCL) specified in the national primary drinking water regulations; where applicable, the approximate capacity in gallons; where applicable, the period of time during which the unit is effective in reducing contaminants based upon the contaminant or surrogate influent concentrations used for the performance tests; where applicable, the flow rate, pressure, and operational temperature of the water during the performance tests.
   (d)  Installation instructions.
   (e)  The recommended operational procedures and requirements necessary for the proper operation of the unit including, but not limited to, electrical requirements; maximum and minimum pressure; flow rate; temperature limitations; maintenance requirements; and where applicable, replacement frequencies.
   (f)  The seller’s limited warranty.
   (4)  Is accompanied by the consumer information pamphlet compiled by the Iowa department of public health.

The consumer information pamphlet provided to the buyer of a water treatment system shall be compiled by the Iowa department of public health, reviewed annually, and updated as necessary. The consumer information pamphlet shall be distributed to persons selling water treatment systems and the costs of the consumer information pamphlet shall be borne by persons selling water treatment systems. The Iowa department of public health shall adopt rules pursuant to chapter 17A and charge all fees necessary to administer this section.

EXPLANATION

The inclusion of this explanation does not constitute agreement with

the explanation’s substance by the members of the general assembly.

This bill relates to the sale, lease, or rental of water treatment systems.

Under current law, it is an unlawful practice for a person to sell, lease, rent, or advertise the sale, lease, or rental of a water treatment system for which claims or representations of removing health-related contaminants are made, unless either the water treatment system is performance tested by a third-party testing agency authorized by the department of public health or the manufacturer tested the system and the manufacturer’s data is accepted by a third-party evaluator which was approved by the department of public health.

Under Code section 714.16, the attorney general may investigate a person the attorney general believes is engaged in an unlawful practice and seek and obtain injunctive relief against a person who is engaged in an unlawful practice. Code section 714.16 also permits a court to impose a civil penalty against a person who committed an unlawful practice.

The bill provides that it is not an unlawful practice if the seller, lessor, or renter of a water treatment system have the claims and representations related to removal of health-related contaminants certified by a certification body accredited by the American national standards institute. If a certification body so certifies the water treatment system, the manufacturer is not required to register a water treatment system with the department of public health.

The bill provides that a third-party testing agency is not required to be authorized by the department of public health, and that a third-party evaluator is not required to be approved by the department of public health.

Under current law, it is an unlawful practice for a person to sell, lease, rent, or advertise the sale, lease, or rental of a water treatment system unless the manufacturer’s performance data sheet of the water treatment system and a consumer information pamphlet compiled by the department of public health are provided to the consumer. The bill eliminates these requirements.