HF 639 (LSB 2525YH (6) 88)

HOUSE FILE 639

BY  JONES

A BILL FOR

An Act modifying provisions applicable to individuals licensed by the plumbing and mechanical systems board, providing for state inspections of certain plumbing and mechanical system installations, and making penalties applicable.

BE IT ENACTED BY THE GENERAL ASSEMBLY OF THE STATE OF IOWA:

Section 1.  Section 105.9, subsection 5, Code 2019, is amended by striking the subsection.

Sec. 2.  Section 105.18, subsection 2, paragraph a, subparagraph (1), Code 2019, is amended to read as follows:
   (1)  File an application, which application shall establish that the person meets the minimum requirements adopted by the board, including the receipt of a high school diploma or its equivalent.

Sec. 3.  Section 105.18, subsection 2, paragraph b, subparagraph (1), subparagraph division (c), Code 2019, is amended to read as follows:
   (c)  Provide the board with evidence of having completed at least four years of practical experience as an apprentice. Commencing January 1, 2010, the four years of practical experience required by this subparagraph division must be the completion of an apprenticeship training program registered by the United States department of labor office of apprenticeship, as evidenced by a certificate of completion from the department of labor.

Sec. 4.  NEW SECTION.  105.33  State inspection —— applicability.
   1.  The inspection and enforcement provisions of this chapter shall apply to the following:
   a.  All new installations of plumbing or mechanical systems for commercial or industrial applications.
   b.  All new installations of plumbing or mechanical systems for residential applications not including single-family residential applications.
   c.  All new installations of plumbing or mechanical systems for single-family residential applications requiring new plumbing or mechanical systems service equipment.
   d.  Existing installations of plumbing or mechanical systems observed during inspection which constitute a hazard to the owner. Existing installations shall not be deemed to constitute a hazard if the installation when originally installed was installed in accordance with the applicable state plumbing code or state mechanical code in force at the time of installation and has been maintained in that condition.
   2.  The inspection and enforcement provisions of this chapter shall not apply to routine maintenance.

Sec. 5.  NEW SECTION.  105.34  Plumbing or mechanical inspectors.
   1.  The board shall establish by rule standards for the certification and decertification of plumbing and mechanical inspectors appointed by the state or a political subdivision to enforce this chapter or any applicable resolution or ordinance within the inspector’s jurisdiction, and for certified plumbing or mechanical inspector continuing education requirements.
   2.  On and after January 1, 2020, a person appointed to act as a plumbing or mechanical inspector for a political subdivision shall obtain an inspector’s certificate of qualification based on the standards established pursuant to subsection 1 within one year of such appointment and shall maintain the certificate thereafter for the duration of the inspector’s service as a plumbing or mechanical inspector.

Sec. 6.  NEW SECTION.  105.35  Request for inspection —— fees.
   1.  At or before commencement of any installation required to be inspected by the board, the licensee or property owner making such installation shall submit to the board a request for inspection. The board shall prescribe the methods by which the request may be submitted, which may include electronic submission or through a form prescribed by the board that can be submitted either through the mail or by a fax transmission. The board shall also prescribe methods by which inspection fees established pursuant to section 105.40 can be paid, which may include electronic methods of payment. If the board becomes aware that a person has failed to file a necessary request for inspection, the board shall send a written notification by certified mail that the request must be filed within fourteen days. Any person filing a late request for inspection shall pay a delinquency fee in an amount to be determined by the board. A person who fails to file a late request within fourteen days from receipt of the notification shall be subject to a civil penalty to be determined by the board by rule.
   2.  Notwithstanding subsection 1, the board may by rule provide for the issuance of a single permit to a licensee to request multiple inspections. The permit authorizes the licensee to perform new plumbing or mechanical system installations specified in the permit. The board shall prescribe the methods by which the request for multiple inspections may be submitted, which may include electronic submission or through a form prescribed by the board that can be submitted either through the mail or by a fax transmission. The board shall also prescribe methods by which inspection fees established pursuant to section 105.40 can be paid, which may include electronic methods of payment. The board may perform inspections of each new plumbing or mechanical system installation or any portion of the total number of new plumbing or mechanical system installations made under each permit. The board shall establish fees for such permits as provided in section 105.40, which shall not exceed the total inspection fees that would be required if each new installation performed under the request for multiple inspections had been performed under individual requests for inspections as provided in subsection 1.

Sec. 7.  NEW SECTION.  105.36  Approval of installation upon inspection —— opportunity to correct noncompliance.
   1.  If an inspector determines that an installation subject to inspection under this chapter is in compliance with accepted standards of construction for health safety and property safety, based upon minimum standards established by the board pursuant to section 105.39, subsection 3, the inspector shall approve the installation.
   2.  If an inspector finds that any installation or portion of an installation is not in compliance with accepted standards of construction for health safety and property safety, based upon minimum standards established by the board, the inspector shall issue a correction order. A correction order made pursuant to this section shall be served personally or by United States mail only upon the licensee or property owner making the installation. The correction order shall order the licensee or property owner to make the installation comply with the standards, noting specifically what changes are required. The order shall specify a date, not more than seventeen calendar days from the date of the order, when a new inspection shall be made. When the installation is brought into compliance to the satisfaction of the inspector, the inspector shall approve the installation.

Sec. 8.  NEW SECTION.  105.37  Inspections not required.
   1.  Nothing in this chapter shall be construed to require the work of employees of municipal utilities, railroads, or rural water associations or districts to be inspected while the employees are acting within the scope of their employment.
   2.  The board may by rule exempt specified types of new plumbing or mechanical system installations from state inspection which are not described in section 105.33, subsection 1, provided that a political subdivision conducting inspections pursuant to section 105.38, subsection 1, shall not be prohibited from requiring inspection of any new plumbing or mechanical system installation exempt by rule from state inspection pursuant to this subsection.

Sec. 9.  NEW SECTION.  105.38  Inspection by political subdivisions.
   1.  State inspection shall not apply within the jurisdiction of any political subdivision which provides plumbing or mechanical system inspection services for the inspection of installations described in section 105.33, subsection 1, as established in a resolution or ordinance adopted by the political subdivision. The political subdivision shall provide a copy of the resolution or ordinance establishing such inspection services to the board. Inspection services by political subdivisions shall be provided pursuant to the current state plumbing code or state mechanical code, as applicable. A political subdivision providing inspection services pursuant to this subsection may require the inspection of plumbing or mechanical system installations which are not described in section 105.33, subsection 1, in addition to the installations described in section 105.33, subsection 1.
   2.  A political subdivision may choose to discontinue performing its own inspections and permit the board to have jurisdiction over inspections in the political subdivision. If a political subdivision seeks to discontinue its own inspections, the political subdivision shall notify the board. 
   3.  If a unanimous vote of the board finds that a political subdivision’s inspections are inadequate by reason of misfeasance, malfeasance, or nonfeasance, the board may suspend or revoke the political subdivision’s authority to perform its own inspections, subject to appeal according to section 105.41 and judicial review pursuant to section 17A.19.
   4.  A political subdivision that performs inspections may set appropriate permit fees to pay for such inspections. A political subdivision shall not require any person holding a license from the board to pay any license fee or take any examination if the person holds a current license issued by the board which is of a classification equal to or greater than the classification needed to do the work proposed. Any such political subdivision may provide a requirement that each person doing plumbing or mechanical system work within the jurisdiction of such political subdivision have on file with the political subdivision a copy of the current license issued by the board or such other evidence of such license as may be provided by the board.

Sec. 10.  NEW SECTION.  105.39  State inspection —— procedures.
   1.  An inspection shall be made within three business days of the submission of a request for an inspection as provided in section 105.35. When necessary, plumbing and mechanical systems may be connected by the authorized installer prior to inspection but the installation shall remain subject to any appropriate restrictions or limitations as determined by the board.
   2.  Where plumbing or mechanical systems or parts are to be concealed, the inspector must be notified within a reasonable time to complete rough-in inspections prior to concealment, exclusive of Saturdays, Sundays, and holidays. If plumbing or mechanical systems or parts are concealed before rough-in inspections without adequate notice having been given to the inspector, the person responsible for having enclosed the system or part shall be responsible for all costs resulting from uncovering and replacing the cover material.
   3.  State inspection procedures and policies shall be established by the board in accordance with the provisions of the state plumbing code and state mechanical code adopted by the board.
   4.  Except when an inspection reveals that an installation or portion of an installation is not in compliance with accepted standards of construction for health safety and property safety, based upon minimum standards established by the board, an inspector shall not add to, modify, or amend a construction plan as originally approved by the board in the course of conducting an inspection.
   5.  Management and supervision of inspectors, including hiring decisions, disciplinary action, promotions, and work schedules are the responsibility of the board acting in accordance with applicable law and pursuant to any applicable collective bargaining agreement. The board shall determine work territories, regions, or districts for inspectors and continuing education and ongoing training requirements applicable to inspectors. An inspector subject to disciplinary action pursuant to this subsection shall be entitled to an appeal pursuant to section 105.41 and judicial review pursuant to section 17A.19.
   6.  The board shall establish an internet-based licensure verification database for access by a state or local inspector for verification of licensee status. The database shall include the name of every person licensed under this chapter and a corresponding licensure number. Inspectors shall be authorized to request the name and license number of any person working at a job site subject to inspection for verification of licensee status. Licensees under this chapter shall be required to carry a copy of their current license and photo identification at all times when employed on a job site for compliance with this subsection.

Sec. 11.  NEW SECTION.  105.40  State inspection —— fees.
   1.  All state plumbing and mechanical system inspection fees shall be due and payable to the board at or before commencement of the installation and shall be forwarded with the request for inspection. Inspection fees provided in this section shall not apply within the jurisdiction of any political subdivision if the political subdivision has adopted an ordinance or resolution pursuant to section 105.38, subsection 1.
   2.  The board shall establish the fees for inspections required under this chapter.

Sec. 12.  NEW SECTION.  105.41  State inspection —— complaints —— appeals.
   1.  Any person may file a complaint with the board alleging a violation of this chapter or rules adopted by the board. The name of a person who files a complaint with the board shall remain confidential and shall not be subject to discovery, subpoena, or other means of legal compulsion for its release to a person other than board employees or agents involved in the investigation of the complaint. The board shall establish procedures for the disposition of complaints received in accordance with this subsection.
   2.  a.  Any person aggrieved by an order of an inspector or the board may appeal the order by filing a written notice of appeal with the board within ten days after the date the order was served upon the aggrieved person.
   b.  Upon receipt of a notice of appeal filed pursuant to subsection 1, the board shall notify all interested parties who may join in the hearing and give testimony on their own behalf. The board shall set the hearing date not more than fourteen days after receipt of the notice of appeal unless otherwise agreed by the interested parties and the board. The chairperson or executive secretary of the board may designate a hearing officer from among the board members to hear the appeal or may set the matter for hearing before the full board at its next regular meeting. A majority of the board shall make the decision on appeals.

EXPLANATION

The inclusion of this explanation does not constitute agreement with
the explanation’s substance by the members of the general assembly.

This bill modifies provisions in Code chapter 105, which provides for the licensure and regulation of plumbers, mechanical professionals, and contractors by the plumbing and mechanical systems board.

Current law provides that in order to be licensed by the board as an apprentice, a person shall file an application that establishes that the person meets the minimum requirements adopted by the board. The bill provides that such minimum requirements to be established in an application include the receipt of a high school diploma or its equivalent.

Current law provides that in order to be licensed by the board as a journeyperson, a person shall provide evidence of completing at least four years of practical experience as an apprentice through an apprenticeship training program registered by the United States department of labor. The bill provides that such requirement must be evidenced by a certificate of completion from the department of labor.

The bill adds provisions in Code chapter 105 which provide for state inspection of certain plumbing or mechanical system installations described in new Code section 105.33. The bill provides that state inspection shall not apply to routine maintenance.

New Code section 105.34 requires the board to establish standards for the certification and decertification of plumbing and mechanical inspectors appointed by the state or a political subdivision to enforce the inspection provisions of the bill.

New Code section 105.35 establishes procedural requirements for a licensee or property owner making an installation to request an inspection and allows the board to adopt rules providing for the issuance of permits to licensees for multiple inspections, as described in the bill.

New Code section 105.36 provides that if an inspector determines that an installation is in compliance with the accepted standards of construction for health safety and property safety, based on minimum standards established by the board, the inspector shall approve the installation. If an inspector finds that an inspection or portion thereof is not in compliance with such standards, the inspector shall issue a correction order which orders the licensee or property owner to make the installation comply with the standards and provides a date when a new inspection shall be made. When the installation is brought into compliance, the inspector shall approve the installation.

New Code section 105.37 provides that nothing in the bill shall be construed to require the work of employees of municipal utilities, railroads, or rural water associations or districts to be inspected while acting within the scope of their employment. The board may by rule exempt specified types of new installations from the state inspection requirements, provided that a political subdivision conducting inspections shall not be prohibited from requiring inspection of such installations.

New Code section 105.38 provides that state inspection shall not apply within the jurisdiction of any political subdivision which provides inspection services for installations subject to state inspection, as established in a resolution or ordinance adopted by the political subdivision. The political subdivision shall provide a copy of such resolution or ordinance to the board, and such inspections shall be provided pursuant to the current state plumbing code or state mechanical code, as applicable. A political subdivision may require inspections of installations not subject to state inspection, in addition to installations subject to state inspection. Code section 105.38 also includes provisions regarding the discontinuance of inspections by political subdivisions, the suspension or revocation of inspections by political subdivisions, and permit fees established by political subdivisions to pay for inspections.

New Code section 105.39 establishes certain state inspection procedural requirements, including provisions relating to inspection timing, installation concealment, state inspection procedures and policies, construction plan modification, inspector supervision, and the licensure verification database, as described in the bill.

New Code section 105.40 requires the board to establish inspection fees, paid to the board at or before the commencement of an inspection and included with the request for inspection. Such fees shall not apply to inspections within political subdivisions which provide for inspections.

New Code section 105.41 allows any person to file a confidential complaint with the board alleging a violation of the bill or any rule adopted by the board and allows any person aggrieved by an order of an inspector or the board to appeal the order by filing a written notice of appeal with the board within 10 days after the order was served. Code section 105.41 also provides certain procedural requirements for such an appeal, as described in the bill.

Pursuant to current law, the board may impose a civil penalty up to $5,000 per offense upon a person who violates the bill, following notice and an opportunity for a hearing.