HF 2569 (LSB 5183HZ (3) 89)

HOUSE FILE 2569

BY  COMMITTEE ON WAYS AND MEANS

(SUCCESSOR TO HF 2527)

(SUCCESSOR TO HSB 682)

A BILL FOR

An Act relating to various matters under the purview of the state, including city and county zoning, work-based learning, recruitment of health care professionals, regulations affecting veterans and military spouses, insurance producer temporary licenses, and the state building code, and including applicability provisions.

BE IT ENACTED BY THE GENERAL ASSEMBLY OF THE STATE OF IOWA:

DIVISION I

COUNTY AND CITY ZONING AND INSPECTIONS

Section 1.  Section 335.30, Code 2022, is amended by adding the following new subsection:
   NEW SUBSECTION.  3.  A county shall not require an inspection of a manufactured home that has been inspected according to requirements of the United States department of housing and urban development and constructed in conformance with the federal manufactured home construction and safety standards provided in 24 C.F.R. pt. 3280.

Sec. 2.  Section 414.28, Code 2022, is amended by adding the following new subsection:
   NEW SUBSECTION.  3A.  A city shall not require an inspection of a manufactured home that has been inspected according to requirements of the United States department of housing and urban development and constructed in conformance with the federal manufactured home construction and safety standards provided in 24 C.F.R. pt. 3280.

DIVISION II

WORK-BASED LEARNING

Sec. 3.  Section 256.9, Code 2022, is amended by adding the following new subsection:
   NEW SUBSECTION.  65.  Adopt rules to establish and maintain a process that requires the boards of directors of school districts to report to the department at least annually regarding student participation in work-based learning programs established by the board of directors of the school district, including registered apprenticeships, quality pre-apprenticeships, internships, on-the-job training, and projects through the Iowa clearinghouse for work-based learning.

Sec. 4.  Section 272.1, Code 2022, is amended by adding the following new subsection:
   NEW SUBSECTION.  18.  “Work-based learning program supervisor” means a person who is certified pursuant to section 272.16 to supervise students’ opportunities and experiences related to workplace tours, job shadowing, rotations, mentoring, entrepreneurship, service learning, internships, and apprenticeships.

Sec. 5.  NEW SECTION.  272.16  Work-based learning program supervisor certificates.
   1.  The board of educational examiners shall adopt rules pursuant to chapter 17A relating to a certification system for work-based learning program supervisors. The rules shall specify rights, responsibilities, levels, and qualifications for the certificate. The certificate shall not require more than fifteen contact hours, which shall be available over the internet.
   2.  Applicants shall be disqualified for any reason specified in section 272.2, subsection 14, or in rules adopted by the board of educational examiners.
   3.  A certificate issued pursuant to this section shall not be considered a teacher or administrator license for any purpose specified by law, including the purposes specified under this chapter or chapter 279.
   4.  The work-based learning program supervisor certificate established pursuant to this section shall be considered a professional development program.

Sec. 6.  Section 279.61, subsection 1, paragraph a, subparagraph (2), Code 2022, is amended to read as follows:
   (2)  Identify the coursework and work-based learning needed in grades nine through twelve to support the student’s postsecondary education and career options.

Sec. 7.  Section 279.61, subsection 1, paragraph a, Code 2022, is amended by adding the following new subparagraph:
   NEW SUBPARAGRAPH.  (4)  Prepare the student to successfully complete the free application for federal student aid.

DIVISION III

HEALTH CARE WORKFORCE RECRUITMENT

Sec. 8.  Section 261.113, subsection 2, Code 2022, is amended to read as follows:
   2.  Eligibility.  An individual is eligible to apply to enter into a program agreement with the commission pursuant to subsection 3 if the individual is enrolled full-time in and receives a recommendation from the state university of Iowa college of medicine or Des Moines university —— osteopathic medical center in a curriculum leading to a doctor of medicine degree or a doctor of osteopathic medicine degree.

Sec. 9.  Section 261.113, subsection 3, paragraphs c and d, Code 2022, are amended to read as follows:
   c.  Complete the residency program requirement with an Iowa-based residency program.
   d.  Within nine months of graduating from the residency program and receiving a permanent license in accordance with paragraph “b”, engage in the full-time or part-time practice of medicine and surgery or osteopathic medicine and surgery specializing in family medicine, pediatrics, psychiatry, internal medicine, obstetrics and gynecology, neurology, or general surgery for a period of five consecutive years in the service commitment area specified under subsection 8, unless the loan repayment recipient receives a waiver from the commission to complete the years of practice required under the agreement in another service commitment area pursuant to subsection 8.

Sec. 10.  Section 261.113, subsections 5, 7, 8, 9, 10, and 12, Code 2022, are amended to read as follows:
   5.  Loan repayment amounts.  The amount of loan repayment an eligible student who enters into an agreement pursuant to subsection 3 shall receive if in compliance with obligations under the agreement shall be forty thousand dollars annually for an eligible loan if the total loan amount equals or exceeds two hundred thousand dollars. Payments under this section made pursuant to an agreement entered into under subsection 3 may be made for each year of eligible practice during a period of five consecutive years and shall not exceed a total of two hundred thousand dollars. If the total amount of an eligible student’s eligible loan upon graduation is less than two hundred thousand dollars, the commission shall divide the total amount of the eligible student’s eligible loan by five to determine the annual amount of loan repayment the loan recipient is eligible to receive.
   7.  Program agreement limitation.  The commission shall not enter into more than twenty program agreements annually unless surplus funds are available. The percentage of agreements entered into pursuant to subsection 3 by students attending eligible universities shall be evenly divided. However, if there are fewer applicants at one eligible university, eligible student applicants enrolled in other eligible universities may be awarded the remaining agreements.
   8.  Selection of service commitment area.  A loan repayment recipient shall notify the commission of the recipient’s service commitment area prior to beginning practice in the area in accordance with subsection 3, paragraph “d”. The commission may waive the requirement that the loan repayment recipient practice in the same service commitment area for all five years. 
   9.  Rules for additional loan repayment.  The commission shall adopt rules to provide, in addition to loan repayment provided to eligible students pursuant to this section an agreement entered into under subsection 3, and subject to the availability of surplus funds, loan repayment to a physician who received a doctor of medicine or doctor of osteopathic medicine degree from an eligible university as provided in subsection 2, obtained a license to practice medicine and surgery or osteopathic medicine and surgery in this state, completed the physician’s residency program requirement with an Iowa-based residency program, and is engaged in the full-time or part-time practice of medicine and surgery or osteopathic medicine and surgery as specified specializing in a practice area listed in subsection 3, paragraph “d”, in a service commitment area for a period of five consecutive years. The amount of loan repayment provided to a physician pursuant to this subsection shall be subject to the same limitations applicable to an eligible student under subsection 5. The total amount of a physician’s eligible loans shall be established as of the date the physician applies for loan repayment pursuant to this subsection.
   10.  Part-time practice —— agreement amended.  A person who entered into an agreement pursuant to subsection 3 may apply to the commission to amend the agreement to allow the person to engage in less than the full-time a part-time practice specified in the agreement and under subsection 3, paragraph “d”. The For agreements entered into pursuant to subsection 3 prior to July 1, 2022, the commission and the person may consent to amend the agreement under which the person shall engage in less than full-time the part-time practice of medicine and surgery or osteopathic medicine and surgery specializing in family medicine, pediatrics, psychiatry, internal medicine, obstetrics and gynecology, neurology, or general surgery in a service commitment area, for an extended period of part-time practice determined by the commission to be proportional to the amount of full-time practice remaining under the original agreement. For purposes of this subsection, “less than the full-time practice” means at least seventy percent of a forty-hour workweek.
   12.  Trust fund established.  A rural Iowa primary care trust fund is created in the state treasury as a separate fund under the control of the commission. The commission shall remit all repayments made pursuant to this section to the rural Iowa primary care trust fund. All moneys deposited or paid into the trust fund are appropriated and made available to the commission to be used for meeting the requirements of this section. Moneys in the fund up to the total amount that an eligible student or a physician may receive for an eligible loan in accordance with this section and upon fulfilling the requirements of subsection 3 or subsection 9, as applicable, shall be considered encumbered for the duration of the agreement entered into pursuant to subsection 3 eligible student’s or physician’s obligation under subsection 3 or subsection 9, as applicable. Notwithstanding section 8.33, any balance in the fund on June 30 of each fiscal year shall not revert to the general fund of the state, but shall be available for purposes of this section in subsequent fiscal years.

Sec. 11.  Section 261.113, subsection 11, paragraph a, subparagraph (6), Code 2022, is amended to read as follows:
   (6)  Any period of temporary medical incapacity during which the person obligated is unable, due to a medical condition, to engage in full-time or part-time practice as required under subsection 3, paragraph “d”.

Sec. 12.  Section 261.113, subsection 11, paragraph b, Code 2022, is amended to read as follows:
   b.  Except for a postponement under paragraph “a”, subparagraph (6), an obligation to engage in practice under an agreement entered into pursuant to subsection 3, shall not be postponed for more than two years from the time the full-time or part-time practice was to have commenced under the agreement.

Sec. 13.  Section 261.113, subsection 11, paragraph c, unnumbered paragraph 1, Code 2022, is amended to read as follows:
   An obligation to engage in full-time or part-time practice under an agreement entered into pursuant to subsection 3 shall be considered satisfied when any of the following conditions are met:

Sec. 14.  Section 261.113, subsection 13, Code 2022, is amended by adding the following new paragraph:
   NEW PARAGRAPH.  0c.  “Part-time practice” means at least seventy percent of a forty-hour workweek.

Sec. 15.  Section 261.115, subsection 5, paragraphs a and c, Code 2022, are amended to read as follows:
   a.  “Eligible institution” means an institution of higher learning governed by the state board of regents, a community college established under chapter 260C, or an accredited private institution as defined in section 261.9.
   c.  “Health care professional” means an advanced registered nurse practitioner, athletic trainer, occupational therapist, physician, physician assistant, podiatrist, registered nurse, or physical therapist who is licensed, accredited, registered, or certified to perform specified health care services consistent with state law.

Sec. 16.  Section 261.116, Code 2022, is amended to read as follows:
   261.116  Health care loan repayment award program.
   1.  Definitions.  For purposes of this section, unless the context otherwise requires:
   a.  “Advanced registered nurse practitioner” means a person licensed as a registered nurse under chapter 152 or 152E who is licensed by the board of nursing as an advanced registered nurse practitioner.
   b.  “Nurse educator” means a registered nurse who holds a master’s degree or doctorate degree and is employed by a community college, an accredited private institution, or an institution of higher education governed by the state board of regents as a faculty member to teach nursing at a nursing education program approved by the board of nursing pursuant to section 152.5.
   c.  “Physician assistant” means a person licensed as a physician assistant under chapter 148C.
   d.  “Qualified student loan” means a loan that was made, insured, or guaranteed under Tit. IV of the federal Higher Education Act of 1965, as amended, or under Tit. VII or VIII of the federal Public Health Service Act, as amended, directly to the borrower for attendance at an approved postsecondary educational institution.
   e.  d.  “Service commitment area” means a city in Iowa with a population of less than twenty-six thousand that is located more than twenty miles from a city with a population of fifty thousand or more.
   2.  Program established.  A health care loan repayment award program is established to be administered by the commission for purposes of repaying the qualified student loans of providing financial awards to registered nurses, advanced registered nurse practitioners, physician assistants, and nurse educators who practice full-time in a service commitment area or teach full-time or part-time in this state, as appropriate, and who are selected for the program in accordance with this section. An applicant who is a member of the Iowa national guard is exempt from the service commitment area requirement, but shall submit an affidavit verifying the applicant is practicing full-time in this state.  A part-time nurse educator must also practice as a registered nurse or an advanced registered nurse practitioner to qualify for an award under this section.
   3.  Application requirements.  Each applicant for loan repayment an award shall, in accordance with the rules of the commission, do the following:
   a.  Complete and file an application for loan repayment an award. The individual shall be responsible for the prompt submission of any information required by the commission.
   b.  File a new application and submit information as required by the commission annually on the basis of which the applicant’s eligibility for the renewed loan repayment award will be evaluated and determined.
   c.  Complete and return, on a form approved by the commission, an affidavit of practice verifying that the applicant is a registered nurse, an advanced registered nurse practitioner, or a physician assistant who is practicing full-time in a service commitment area in this state or is a nurse educator who teaches full-time or part-time in this state.  A part-time nurse educator must also practice as a registered nurse or an advanced registered nurse practitioner to qualify for an award under this section. If practice in a service commitment area is required as a condition of receiving loan repayment an award, the affidavit shall specify the service commitment area in which the applicant is practicing full-time.
   4.  Loan repayment Award amounts.  The annual amount of loan repayment an award provided to a recipient under this section shall not exceed is six thousand dollars, or twenty percent of the recipient’s total qualified student loan, whichever amount is less. A recipient is eligible for the loan repayment program an award for not more than five consecutive years.
   5.  Refinanced loans.  A loan repayment recipient who refinances a qualified student loan by obtaining a private educational loan may continue to receive loan repayment under this section if the amount of loan repayment does not exceed the lesser of the amount specified in subsection 4 or the balance of the loan repayment amount the loan repayment recipient qualified to receive with the qualified student loan.
   6.  5.  Selection criteria.  The commission shall establish by rule the evaluation criteria to be used in evaluating applications submitted under this section. Priority shall be given to applicants who are residents of Iowa and, if requested by the adjutant general, to applicants who are members of the Iowa national guard.
   7.  6.  Health care loan repayment award fund.  A health care loan repayment award fund is created for deposit of moneys appropriated to or received by the commission for use under the program. Notwithstanding section 8.33, moneys deposited in the health care loan repayment award fund shall not revert to any fund of the state at the end of any fiscal year but shall remain in the loan repayment award fund and be continuously available for loan repayment  under the program. Notwithstanding section 12C.7, subsection 2, interest or earnings on moneys deposited in the health care loan award fund shall be credited to the fund.
   8.  7.  Report.  The commission shall submit in a report to the general assembly by January 1, annually, the number of individuals who received loan repayment an award pursuant to this section, where the participants practiced or taught, the amount paid to each program participant, and other information identified by the commission as indicators of outcomes of the program.
   9.  8.  Rules.  The commission shall adopt rules pursuant to chapter 17A to administer this section.

DIVISION IV

PROFESSIONAL LICENSING —— MILITARY SPOUSES

Sec. 17.  Section 272C.4, Code 2022, is amended by adding the following new subsection:
   NEW SUBSECTION.  14.  a.  Establish procedures by January 1, 2023, to expedite the licensing of a person who is licensed in a similar profession or occupation in another state and who is married to an active duty member of the military forces of the United States.
   b.  If the board determines that the occupation or profession applied for does not have a substantially similar scope of practice, the procedures shall allow the provisional licensing of the spouse for a period of time deemed necessary by the board to obtain a substantial equivalent to the licensing requirements of this state. The board shall advise the spouse of required education or training necessary to obtain a substantial equivalent to the professional or occupational licensing requirements of this state, and the procedures shall provide for licensing of a spouse who has, pursuant to this paragraph, obtained a substantial equivalent to the professional or occupational licensing requirements of this state.

Sec. 18.  Section 272C.12, subsection 1, unnumbered paragraph 1, Code 2022, is amended to read as follows:
   Notwithstanding any other provision of law, an occupational or professional license, certificate, or registration, including a license, certificate, or registration issued by the board of educational examiners, shall be issued without an examination to a person who establishes residency in this state or to a person who is married to an active duty member of the military forces of the United States and who is accompanying the member on an official permanent change of station to a military installation located in this state if all of the following conditions are met:

Sec. 19.  Section 272C.12, subsection 1, paragraph b, Code 2022, is amended by striking the paragraph and inserting in lieu thereof the following:
   b.  For a license issued pursuant to chapter 103 or 105, the person has established residency in this state or is married to an active duty member of the military forces of the United States and is accompanying the member on an official permanent change of station to a military installation located in this state.

Sec. 20.  Section 272C.14, Code 2022, is amended to read as follows:
   272C.14  Waiver of fees.
   A licensing board, agency, or department shall waive any fee charged to an applicant for a license if the any of the following apply: 
   1.  The applicant’s household income does not exceed two hundred percent of the federal poverty income guidelines and the applicant is applying for the license for the first time in this state.
   2.  The applicant is a veteran as defined in section 35.1, with at least a twenty-five percent service-connected disability.

DIVISION V

EMERGENCY MEDICAL CARE PROVIDER CERTIFICATE —— FEDERAL ACTIVE DUTY OR NATIONAL GUARD DUTY

Sec. 21.  Section 147A.4, subsection 3, Code 2022, is amended to read as follows:
   3.  The department shall establish the fee for the examination of the emergency medical care providers to cover the administrative costs of the examination program.  Rules adopted pursuant to this section shall include the waiver of the examination fee for an individual that is either serving on, or was honorably or generally discharged from, federal active duty or national guard duty as those terms are defined in section 29A.1.

DIVISION VI

FISHING AND HUNTING LICENSES —— MILITARY VETERANS

Sec. 22.  Section 483A.24, subsection 16, Code 2022, is amended to read as follows:
   16.  Upon payment of the fee established by rules adopted pursuant to section 483A.1 for a lifetime fishing license or lifetime hunting and fishing combined license, the department shall issue a lifetime fishing license or lifetime hunting and fishing combined license to a resident of Iowa who has served in the armed forces of the United States on federal active duty and who was disabled or was a prisoner of war during that veteran’s military service. The department shall prepare an application to be used by a person requesting a lifetime fishing license or lifetime hunting and fishing combined license under this subsection. The department of veterans affairs shall assist the department in verifying the status or claims of applicants under this subsection. As used in this subsection, “disabled” means entitled to a service connected rating under  38 U.S.C. ch. 11.

DIVISION VII

DRIVER’S LICENSE AND PARKING FEES —— VETERANS

Sec. 23.  Section 321.191, Code 2022, is amended by adding the following new subsection:
   NEW SUBSECTION.  10.  Fees waived —— veterans.

Notwithstanding the provisions of this section to the contrary, the department shall not charge the following fees for a driver’s license to the following applicants:
   a.  The fees set forth under subsections 2 and 5 to an applicant who is a veteran with a permanent service-connected disability rating of one hundred percent, as certified by the United States department of veterans affairs.
   b.  The fees set forth under subsections 3 and 4 to an applicant who is on federal active duty or state active duty, as those terms are defined in section 29A.1, or who was issued an honorable discharge or general discharge under honorable conditions from such service.

Sec. 24.  Section 364.3, Code 2022, is amended by adding the following new subsection:
   NEW SUBSECTION.  17.  A city that operates and maintains parking meters or non-metered parking lots shall not enforce any ordinance related to fees at such parking meters against, and shall not charge a fee at any non-metered parking lot to, a person whose vehicle is lawfully displaying any of the following registration plates:
   a.  Medal of honor special registration plates issued pursuant to section 321.34, subsection 8.
   b.  Ex-prisoner of war special registration plates issued pursuant to section 321.34, subsection 8A.
   c.  Purple heart special registration plates issued pursuant to section 321.34, subsection 18.
   d.  Registration plates displaying the alphabetical characters “DV” preceding the registration plate number pursuant to section 321.166, subsection 6.

DIVISION VIII

MILITARY SERVICE PROPERTY TAX

Sec. 25.  Section 426A.11, subsection 2, Code 2022, is amended to read as follows:
   2.  The property, not to exceed one thousand eight hundred fifty-two two thousand five hundred dollars in taxable value, of an honorably separated, retired, furloughed to a reserve, placed on inactive status, or discharged veteran, as defined in section 35.1, subsection 2, paragraph “a” or “b”.

Sec. 26.  APPLICABILITY.  This division of this Act applies to property taxes due and payable in fiscal years beginning on or after July 1, 2022.

DIVISION IX

TEMPORARY LICENSES —— INSURANCE PRODUCERS

Sec. 27.  Section 522B.10, Code 2022, is amended to read as follows:
   522B.10  Temporary licensing.
   1.  a.  The commissioner may issue a temporary insurance producer license for a period not to exceed one hundred eighty days without requiring an examination if the commissioner deems that the temporary license is necessary for the servicing of an insurance business in the following cases:
   a.  (1)  To the surviving spouse or court-appointed personal representative of a licensed insurance producer who dies or becomes mentally or physically disabled, to allow adequate time for the sale of the insurance business owned by the insurance producer, for the recovery or return of the insurance producer to the business, or for the training and licensing of new personnel to operate the insurance producer’s business.
   b.  (2)  To a member or employee of a business entity licensed as an insurance producer, upon the death or disability of an individual designated in the business entity application or the license.
   c.  (3)  To the designee of a licensed insurance producer entering active service in the armed forces of the United States.
   d.  (4)  In any other circumstance where the commissioner deems that the public interest will best be served by the issuance of a temporary license.
   2.  b.  The commissioner may by order limit the authority of any temporary licensee under paragraph “a” in any way deemed necessary to protect insureds and the public. The commissioner may require the temporary licensee to have a suitable sponsor who is a licensed insurance producer or insurer and who assumes responsibility for all acts of the temporary licensee and may impose other similar requirements designed to protect insureds and the public. The commissioner may by order revoke a temporary license if the interest of insureds or the public is endangered. A temporary license shall not continue after the owner or the personal representative disposes of the business.
   2.  a.  Notwithstanding section 522B.5, subsection 1, unnumbered paragraph 1, if an applicant for a resident insurance producer license has met all of the requirements of section 522B.5, subsection 1, the commissioner shall issue a temporary resident insurance producer license to the applicant that shall be valid starting on the date that the applicant submits the applicant’s fingerprints and any other required identifying information to the commissioner pursuant to section 522B.5A, subsection 3, through the date that the commissioner either issues the applicant a license or denies the applicant’s application based on the applicant’s criminal history check pursuant to section 522B.5A.
   b.  If an applicant for a nonresident insurance producer license has met all of the requirements of section 522B.7 and the applicant is subject to a criminal background check under section 522B.5A, subsection 2, paragraph “b”, the commissioner shall issue a temporary nonresident insurance producer license to the applicant that shall be valid starting on the date that the applicant submits the applicant’s fingerprints and any other required identifying information to the commissioner pursuant to section 522B.5A, subsection 3, through the date the commissioner either issues the applicant a license or denies the applicant’s application based on the applicant’s criminal history check pursuant to section 522B.5A. 
   c.  A temporary resident insurance producer license or a temporary nonresident insurance producer license issued under this subsection shall authorize the applicant to act as an insurance producer only for the lines of authority specified in the temporary license.
   d.  (1)  The commissioner may require a temporary licensee under this subsection to have a suitable sponsor who is a licensed insurance producer and who assumes responsibility for all acts of the temporary licensee. 
   (2)  The commissioner may by order revoke a temporary license issued under this subsection if the interest of insureds or the public is endangered.

DIVISION X

STATE BUILDING CODE

Sec. 28.  Section 15.291, subsection 5, Code 2022, is amended to read as follows:
   5.  “Green development” means development which meets or exceeds the sustainable design standards established by the state building code commissioner pursuant to section 103A.8B of the Iowa building code.

Sec. 29.  Section 100C.6, subsection 2, Code 2022, is amended to read as follows:
   2.  Limit the power of the state or a political subdivision of the state to regulate the quality and character of work performed by contractors or installers through a system of fees, permits, and inspections designed to ensure compliance with, and aid in the administration of, state and local the Iowa building codes code or to enforce other local laws for the protection of the public health and safety.

Sec. 30.  Section 103.1, Code 2022, is amended by adding the following new subsection:
   NEW SUBSECTION.  10A.  “Iowa electrical code” means the national electrical code, 2020 edition, published by the national fire protection association, as modified by section 103.1B, and excluding section 210.8(F) of the national electrical code.

Sec. 31.  NEW SECTION.  103.1B  Iowa electrical code —— alterations —— dwelling units.
   In lieu of the requirements contained in section 210.8(A) of the national electrical code, 2020 edition, the following relating to dwelling units shall apply:
   1.  All one hundred twenty-five volt, single-phase, fifteen and twenty ampere receptacles installed in the following locations shall have ground-fault circuit-interrupter protection for personnel:
   a.  Bathrooms.
   b.  Garages and also accessory buildings that have a floor located at or below grade level not intended to be habitable rooms and limited to storage areas, work areas or similar use.
   c.  Outdoors. However, receptacles that are not readily accessible and are a supplied branch circuit dedicated to electrical snow-melting, deicing, or pipeline and vessel heating equipment shall be permitted to be installed in accordance with sections 426.28 and 427.22 of the Iowa electrical code, as applicable.
   d.  Crawl spaces at or below grade level.
   e.  Basements.
   (1)  However, a receptacle supplying only a permanently installed fire alarm or burglar alarm system shall not be required to have ground-fault circuit-interrupter protection.
   (2)  A receptacle installed pursuant to subparagraph (1) shall not be considered as meeting the requirements of section 210.52(G) of the Iowa electrical code.
   f.  Kitchens where the receptacles are installed to serve the countertop surfaces.
   g.  Sinks where receptacles are installed within one point eight meters or six feet from the top inside edge of the bowl of the sink.
   h.  Boathouses.
   i.  Bathtubs or shower stalls where receptacles are installed within one point eight meters or six feet of the outside edge of the bathtub or shower stall.
   j.  Laundry areas.
   k.  Indoor damp and wet locations.
   2.  For locations listed in subsection 1, paragraphs “a” through “c”, “e” through “h”, and “j”, listed locking support and mounting receptacles utilized in combination with compatible attachment fittings installed for the purpose of serving a ceiling luminaire or ceiling fan shall not be required to be ground-fault circuit-interrupter protected. If a general-purpose convenience receptacle is integral to the ceiling luminaire or ceiling fan, ground fault circuit interrupter protection shall be provided.

Sec. 32.  NEW SECTION.  103.1C  Iowa electrical code —— compliance.
   A person who complies with the standards contained in an edition of the national electrical code published by the national fire protection association subsequent to the 2020 edition shall be deemed to be in compliance with the Iowa electrical code.

Sec. 33.  Section 103.6, subsection 1, paragraph a, Code 2022, is amended by striking the paragraph.

Sec. 34.  Section 103.6, subsection 2, Code 2022, is amended to read as follows:
   2.  The board may, in its discretion, revoke, suspend, or refuse to renew any license granted pursuant to this chapter when the licensee violates any provision of the national electrical code as adopted pursuant to subsection 1 Iowa electrical code, this chapter, or any rule adopted pursuant to this chapter.

Sec. 35.  Section 103.10, subsection 2, Code 2022, is amended to read as follows:
   2.  In addition, an applicant shall meet examination criteria based upon the most recent national electrical code adopted pursuant to section 103.6 Iowa electrical code and upon electrical theory, as determined by the board.

Sec. 36.  Section 103.12, subsection 2, Code 2022, is amended to read as follows:
   2.  In addition, an applicant shall meet examination criteria based upon the most recent national electrical code adopted pursuant to section 103.6 Iowa electrical code and upon electrical theory, as determined by the board.

Sec. 37.  Section 103.18, Code 2022, is amended to read as follows:
   103.18  License renewal —— continuing education.
   In order to renew a class A master electrician, class B master electrician, class A journeyman electrician, or class B journeyman electrician license issued pursuant to this chapter, the licensee shall be required to complete eighteen contact hours of continuing education courses approved by the board during the three-year period for which a license is granted. The contact hours shall include a minimum of six contact hours studying the national electrical code described in section 103.6 Iowa electrical code, and the remaining contact hours may include study of electrical circuit theory, blueprint reading, transformer and motor theory, electrical circuits and devices, control systems, programmable controllers, and microcomputers or any other study of electrical-related material that is approved by the board. Any additional hours studying the national electrical code shall be acceptable. For purposes of this section, “contact hour” means fifty minutes of classroom attendance at an approved course under a qualified instructor approved by the board.

Sec. 38.  Section 103.26, Code 2022, is amended to read as follows:
   103.26  Condemnation —— disconnection —— opportunity to correct noncompliance.
   If the inspector finds that any installation or portion of an installation is not in compliance with accepted standards of construction for health safety and property safety, based upon minimum standards set forth in the local electrical code or the national electrical code adopted by the board pursuant to section 103.6 Iowa electrical code, the inspector shall by written order condemn the installation or noncomplying portion or order service to such installation disconnected and shall send a copy of such order to the board, the state fire marshal, and the electrical utility supplying power involved. If the installation or the noncomplying portion is such as to seriously and proximately endanger human health or property, the order of the inspector when approved by the inspector’s supervisor shall require immediate condemnation and disconnection by the applicant. In all other cases, the order of the inspector shall establish a reasonable period of time for the installation to be brought into compliance with accepted standards of construction for health safety and property safety prior to the effective date established in such order for condemnation or disconnection.

Sec. 39.  Section 103.29, subsections 5 and 6, Code 2022, are amended to read as follows:
   5.  A political subdivision that performs electrical inspections shall act as the authority having jurisdiction for electrical inspections and for amending the national electrical code adopted by the board pursuant to section 103.6 for work performed within the jurisdictional limits of the political subdivision, provided those inspections and amendments conform to the requirements of this chapter and the Iowa electrical code. Any action by a political subdivision with respect to amendments to the national electrical code shall be filed with the board prior to enforcement by the political subdivision, and shall not be less stringent than the minimum standards established by the board by rule.
   6.  A political subdivision may grant a variance or interpret the national Iowa electrical code in a manner which deviates from a standard interpretation on an exception basis for a one-time installation or planned installation so long as such a variance or interpretation does not present an electrical hazard or danger to life or property.

Sec. 40.  Section 103.31, subsections 3 and 4, Code 2022, are amended to read as follows:
   3.  State inspection procedures and policies shall be established by the board. The state fire marshal, or the state fire marshal’s designee, shall enforce the procedures and policies, and enforce the provisions of the national electrical code adopted by the board Iowa electrical code.
   4.  Except when an inspection reveals that an installation or portion of an installation is not in compliance with accepted standards of construction for health safety and property safety, based upon minimum standards set forth in the local electrical code or the national electrical code adopted by the board pursuant to section 103.6 Iowa electrical code, such that an order of condemnation or disconnection is warranted pursuant to section 103.26, an inspector shall not add to, modify, or amend a construction plan as originally approved by the state fire marshal or the state building code commissioner in the course of conducting an inspection.

Sec. 41.  Section 103A.3, Code 2022, is amended by adding the following new subsections:
   NEW SUBSECTION.  10A.  “Iowa existing building code” means the international existing building code, 2015 edition, published by the international code council, as modified by section 103A.3A and excluding sections 101.1, 101.5 through 101.7, 106.1, 106.3 through 106.6, 705, 906, 1012.8, 1105.1, and 1205.15; and sections 103 through 105, 108 through 110, and 112 through 117, and all sections therein, of the international existing building code.
   NEW SUBSECTION.  10B.  “Iowa fire code” means the international fire code, 2015 edition, published by the international code council, including appendices B, C, and D, as modified by section 103A.3B and excluding sections 103 through 113, and sections contained therein; sections 301.2 and 307.2; chapters 23, 57, and 61 of the international fire code; and chapters two through seven and sections 804 and 805 of the international building code, 2015 edition. For the purposes of electrical installations, the Iowa fire code includes the Iowa electrical code.
   NEW SUBSECTION.  10C.  “Iowa nonresidential energy code” means the international energy conservation code —— commercial provisions, 2012 edition, as modified by section 103A.3E and excluding sections C101.1, C101.2, C103.3.1, and C104.1; and sections C108 and C109 and all sections contained therein of the international energy conservation code —— commercial provisions.
   NEW SUBSECTION.  10D.  “Iowa residential code” means the international residential code, 2015 edition, published by the international code council, as modified by section 103A.3C and excluding sections R101.1, R310.1, R313.1, and R313.2; sections R103 through R114 and sections therein; chapter 11 and chapters 25 through 33, except for section P2904; chapters 24 and 34 through 43 and sections therein; and appendices A through U of the international residential code.
   NEW SUBSECTION.  10E.  “Iowa residential energy code” means the international energy conservation code —— residential provisions, 2012 edition, as modified by section 103A.3D, and excluding sections R101.1, R101.2 R103.3.1, R103.3.2, R103.3.3, R104.1, R402.1.1, except table R402.1.1, R402.4.1.2, R403.2.2, and R403.2.3; and sections R108 and R109 and all sections contained therein of the international energy conservation code.

Sec. 42.  Section 103A.3, subsection 20, Code 2022, is amended to read as follows:
   20.  “State building code” or “Iowa building code” or “code” means the state Iowa building code provided for in section 103A.7.

Sec. 43.  NEW SECTION.  103A.3A  Iowa existing building code —— alterations.
   1.  Buildings previously occupied.  In lieu of section 101.4.2 of the international existing building code, 2015 edition, published by the international code council, the legal occupancy of any structure existing on May 18, 2016, shall be permitted to continue without change, except as specifically covered in the Iowa existing building code or the Iowa fire code, or as deemed necessary by the building code commissioner for the general safety and welfare of the occupants and the public.
   2.  References.
   a.  All references to the international plumbing code shall be deemed to be references to the Iowa plumbing code.
   b.  All references to the international fuel gas code shall be deemed to be references to the Iowa fuel gas code.
   c.  All references to the international mechanical code shall be deemed to be references to the Iowa mechanical code.
   d.  All references to the international building code shall be deemed to be references to the Iowa building code.
   e.  All references to the international residential code shall be deemed to be references to the Iowa residential code.
   f.  All references to the international fire code shall be deemed to be references to the Iowa fire code.

Sec. 44.  NEW SECTION.  103A.3B  Iowa fire code —— alterations.
   1.  Extinguishment authority.  In lieu of the requirements contained in section 307.3 of the international fire code, 2015 edition, the state fire marshal or an employee of the division of state fire marshal authorized to do so by the fire marshal, or a local fire chief or member of a local fire department authorized to do so by the local fire chief, is authorized to order the extinguishment by the permit holder, another person responsible, or the fire department of open burning that creates or adds to a hazardous or objectionable situation.
   2.  Open flame cooking devices.  In lieu of the requirements contained in section 308.1.4 of the international fire code, 2015 edition, charcoal burners and ash-producing or coal-producing devices shall not be operated on combustible balconies or within ten feet of combustible construction. This subsection does not apply to the following:
   a.  One-family and two-family dwellings.
   b.  LP-gas burners connected to one twenty-pound LP-gas container.
   c.  Where buildings, balconies, and decks are protected by an automatic sprinkler system.
   3.  Equipment rooms.  In lieu of section 315.3.3 of the international fire code, 2015 edition, combustible material shall not be stored in boiler rooms, mechanical rooms, or electrical equipment rooms or in fire command centers as specified in section 508.1.5 of the Iowa fire code. This subsection does not apply in sprinklered equipment rooms that have sufficient space to allow a minimum of ten feet between all combustible storage and the heating, mechanical, or electrical equipment in the room.
   4.  Frequency.  In lieu of the requirements contained in section 405.2 of the international fire code, 2015 edition, required emergency evacuation drills shall be held at the intervals specified in table 405.2, or more frequently where necessary to familiarize all occupants with the drill procedure.
   5.  Fire and evacuation drill frequency and participation.  In lieu of table 405.2 of the international fire code, 2015 edition, fire and evacuation drills shall be held at the following frequency with the following participants:

Group or occupancy               Frequency                        Participation

_____________________________________________________________

Group A            Quarterly                        Employees

Group B (see “c”            Annually                        Employees

below)

Group E            See “a” below                        All occupants

Group I            Quarterly on each                         Employees
            shift

Group I-1 (see “b”            Quarterly                        All occupants

below) and

group R-4

Group R-1            Quarterly on each                         Employees

shift

Group R-2 (see “d”             Four annually                        All occupants

below)

High-rise            Annually                        Employees

a.  Fire and severe weather drills shall be conducted in accordance with chapter 100. In severe climates, the fire code official shall have the authority to modify the emergency evacuation drill frequency.
   b.  Fire and evacuation drills in assisted living facilities shall include complete evacuation of the premises in accordance with section 403.10.3.6 of the Iowa fire code. Drills shall be conducted not less than six times per year on a bimonthly basis, with not less than two drills conducted during the night when residents could reasonably be expected to be sleeping. The drills shall be permitted to be announced in advance to the residents. Where occupants receive habilitation or rehabilitation training, fire prevention and fire safety practices shall be included as part of the training program.
   c.  Group B buildings that have an occupant load of five hundred or more persons or more than one hundred persons above or below the level of exit discharge.
   d.  Applicable to group R-2 college and university buildings in accordance with section 408.3 of the Iowa fire code.
   6.  Storage in corridors and lobbies.  In lieu of the requirements contained in section 807.5.2.1 of the international fire code, 2015 edition, clothing and personal effects shall not be stored in corridors and lobbies. This subsection does not apply to corridors protected by an approved automatic sprinkler system installed in accordance with section 903.3.1.1 of the Iowa fire code or storage in metal lockers, provided that the minimum required egress width is maintained.
   7.  Group R.  In lieu of the requirements contained in section 903.2.8 of the international fire code, 2015 edition, an automatic sprinkler system installed in accordance with section 903.3 of the Iowa fire code shall be provided throughout all buildings with a Group R fire area. This subsection does not apply to cabin buildings that are located in remote areas without a sufficient municipal water supply for design of a fire sprinkler system that meets all of the following criteria:
   a.  Not more than one story.
   b.  Not more than seven hundred fifty square feet in floor area.
   c.  Fuel-fired heating equipment and other fuel-fired appliances are separated from sleeping areas by a one-hour fire-rated assembly.
   d.  Provided with fire alarm and smoke alarm systems as required by section 907 of the Iowa fire code for R-1 occupancies.
   e.  Basements are not allowed.
   f.  Maintain a fire separation of twenty feet from any other building or structure.
   g.  Comply with all applicable requirements of the Iowa fire code.
   8.  Group E.
   a.  In lieu of the requirements contained in section 907.2.3 of the international fire code, 2015 edition, in the absence of a complete automatic sprinkler system, a complete automatic detection system utilizing an emergency voice or alarm communication system shall be installed throughout the entire Group E occupancy. A Group E occupancy with a complete automatic sprinkler system shall be provided with a fire alarm system utilizing an emergency voice or alarm communication system in compliance with section 907.5.2.2 and installed in accordance with section 907.6 of the Iowa fire code. At a minimum, smoke detection shall be provided in corridors at a maximum spacing of thirty feet on center, and heat or smoke detection shall be provided in any hazardous or nonoccupied areas in all new or existing Group E occupancies. This paragraph does not apply to Group E occupancies with an occupant load of less than fifty.
   b.  Notwithstanding paragraph “a”, manual fire alarm boxes are not required in Group E occupancies where all of the following apply:
   (1)  Interior corridors are protected by smoke detectors with alarm verification.
   (2)  Auditoriums, cafeterias, gymnasiums, and the like are protected by heat detectors or other approved detection devices.
   (3)  Shops and laboratories involving dusts or vapors are protected by heat detectors or other approved detection devices.
   (4)  Off-premises monitoring is provided.
   (5)  The capability to activate the evacuation signal from a central point is provided.
   (6)  In buildings where normally occupied spaces are provided with a two-way communication system between such spaces and a constantly attended receiving station from which a general evacuation alarm can be sounded, except in locations specifically designated by the fire code official.
   c.  Manual fire alarm boxes shall not be required in Group E occupancies where the building is equipped throughout with an approved automatic sprinkler system, the notification appliances will activate on sprinkler water flow, and manual activation is provided from a normally occupied location.
   d.  Emergency voice or alarm communication systems meeting the requirements of section 907.5.2.2 of the Iowa fire code and installed in accordance with section 907.6 of the Iowa fire code shall not be required in Group E occupancies with occupant loads of one hundred or less, provided that activation of the fire alarm system initiates an approved occupant notification signal in accordance with section 907.5 of the Iowa fire code.
   9.  Frost protection.  With respect to general means of egress, exterior landings at doors shall be provided with frost protection.
   10.  Exit discharge pathways.  With respect to exit discharge, exit discharge pathways shall be paved from all required exits of a building to a public way or parking lot.
   11.  Bleachers.  With respect to assemblies, in lieu of the requirements contained in section 1029.1.1 of the international fire code, 2015 edition, bleachers, folding and telescopic seating, and grandstands that are not building elements shall comply with ICC-300, standard for bleachers, folding and telescopic seating, and grandstands, 2012 edition, with the following amendments to ICC-300:
   a.  Yearly inspections required.  In lieu of the requirements contained in ICC-300, standard for bleachers, folding and telescopic seating, and grandstands, 2012 edition, the owner shall cause all bleachers and folding and telescopic seating installed on or after December 1, 2011, to be inspected at least once per year in order to verify that the structure is maintained in compliance with the provisions of this standard. All folding and telescopic seating shall also be inspected to evaluate compliance with the manufacturer’s installation and operational instructions during the opening and closing of such seating. Any inspection conducted in compliance with this section may be conducted by any knowledgeable persons, including but not limited to a person who has been instructed by the manufacturer or installer as to procedures and standards for inspections of the structure being inspected and including but not limited to the owner of the structure or an employee of the owner of the structure. There are no further restrictions on the identity or employment of the person conducting the inspection unless otherwise provided by law. The owner shall maintain documentation of the required annual inspections, which shall show the date and name of the person conducting the inspection and shall be initialed by the person conducting the inspection.
   b.  Inspections.  In lieu of the requirements contained in ICC-300, standard for bleachers, folding and telescopic seating, and grandstands, 2012 edition, all tiered seating that was installed prior to December 1, 2011, shall be inspected at least once a year. The required inspection may be conducted by any knowledgeable person including but not limited to a person who has been instructed by the manufacturer or installer as to procedures and standards for inspections of the structure being inspected and including but not limited to the owner of the structure or an employee of the owner of the structure. There are no further restrictions on the identity or employment of the person conducting the inspection unless otherwise provided by law. All folding and telescopic seating shall be inspected to evaluate compliance with the manufacturer’s installation and operational instructions and shall be inspected during the opening and closing of such seating. The owner shall maintain documentation of the required annual inspections, which shall show the date and name of the person conducting the inspection and shall be initialed by the person conducting the inspection.
   12.  Fire alarm systems —— Group E.  With respect to fire alarm systems for Group E occupancies, in lieu of the requirements contained in section 1103.7.1 of the international fire code, 2015 edition, existing Group E occupancies shall be provided with a fire alarm system utilizing an emergency voice or alarm communication system in compliance with section 907.5.2.2 of the Iowa fire code and installed in accordance with section 907.6 of the Iowa fire code. At a minimum, smoke detection shall be provided in corridors at a maximum spacing of thirty feet on center, and heat or smoke detection shall be provided in any hazardous or nonoccupied areas. This subsection does not apply to a building with a maximum area of one thousand square feet that contains a single classroom and is located no closer than fifty feet from another building or a Group E occupancy with an occupant load of less than fifty. Emergency voice or alarm communication systems meeting the requirements of section 907.5.2.2 of the Iowa fire code and installed in accordance with section 907.6 of the Iowa fire code shall not be required in Group E occupancies with occupant loads of one hundred or less, provided that the activation of the fire alarm system initiates an approved occupant notification signal in accordance with section 907.5 of the Iowa fire code.
   13.  Single-station and multiple-station smoke alarms.  In lieu of the requirements contained in section 1103.8 of the international fire code, 2015 edition, single-station and multiple-station smoke alarms shall be installed in existing Group I-1 and R occupancies in accordance with sections 1103.8.1 through 1103.8.3 of the Iowa fire code. Single-station battery-operated smoke alarms shall be replaced in accordance with manufacturer’s instructions.
   14.  Motor fuel-dispensing facilities and repair garages.  In lieu of the requirements contained in chapter 23 or any section therein of the international fire code, 2015 edition, motor fuel-dispensing facilities and repair garages shall comply with the applicable provisions of 661 IAC ch. 221.
   15.  Flammable and combustible liquids.  In lieu of the requirements contained in chapter 57 or any section therein of the international fire code, 2015 edition, transportation, storage, handling, and use of flammable and combustible liquids shall comply with the applicable provisions of 661 IAC ch. 221.
   16.  Liquefied petroleum gases.  In lieu of the requirements contained in chapter 61 or any section therein of the international fire code, 2015 edition, transportation, storage, handling, and use of liquefied petroleum gases shall comply with the applicable provisions of 661 IAC ch. 226.
   17.  NFPA 10.  With respect to all references to NFPA 10, such references shall be deemed not to include sections 7.1.2.1, 7.1.2.2, and 7.1.2.3 of NFPA 10.
   a.  In lieu of the requirements contained in section 7.1.2.1 of NFPA 10, a trained person who has undergone the instructions necessary to reliably perform maintenance and has the manufacturer’s service manual shall service the fire extinguishers not more than one year apart, as outlined in section 7.3 of NFPA 10.
   b.  In lieu of the requirements contained in section 7.1.2.2 of NFPA 10, maintenance, servicing, and recharging shall be performed by trained persons who have available the appropriate servicing manual, the proper types of tools, recharge materials, lubricants, and manufacturer’s recommended replacement parts or parts specifically listed for use in the fire extinguisher. 
   c.  Requirements in NFPA 10 for certification of personnel who maintain portable fire extinguishers are removed. These personnel must still be trained and have available service manuals.
   18.  References.
   a.  All references in chapter 80 of the international fire code, 2015 edition, to the international plumbing code shall be deemed to be references to the Iowa plumbing code.
   b.  All references in chapter 80 of the international fire code, 2015 edition, to the international fuel gas code shall be deemed to be references to the Iowa fuel gas code.
   c.  All references in chapter 80 of the international fire code, 2015 edition, to the international mechanical code shall be deemed to be references to the Iowa mechanical code.
   d.  All references in chapter 80 of the international fire code, 2015 edition, to the international building code shall be deemed to be references to the Iowa building code.
   e.  All references in chapter 80 of the international fire code, 2015 edition, to the international residential code shall be deemed to be references to the Iowa residential code.

Sec. 45.  NEW SECTION.  103A.3C  Iowa residential code —— alterations.
   1.  Climactic and geographic design criteria.  The values for table R301.2(1) of the international residential code, 2015 edition, shall be determined by the location of the projected and referenced footnotes from table R301.2(1).
   2.  Energy efficiency.  In lieu of the requirements contained in chapter 11 of the international residential code, 2015 edition, the Iowa residential energy code shall apply.
   3.  References.
   a.  All references in the international residential code, 2015 edition, to the international plumbing code shall be deemed to be references to the Iowa plumbing code.
   b.  All references in the international residential code, 2015 edition, to the international fuel gas code shall be deemed to be references to the Iowa fuel gas code.
   c.  All references in the international residential code, 2015 edition, to the international mechanical code shall be deemed to be references to the Iowa mechanical code.
   d.  All references in the international residential code, 2015 edition, to the international building code shall be deemed to be references to the Iowa building code.
   e.  All references in the international residential code, 2015 edition, to the international fire code shall be deemed to be references to the Iowa fire code.
   4.  Emergency escape and rescue required.  In lieu of the requirements contained in section R310.1 of the international residential code, 2015 edition, basements, habitable attics, and every sleeping room shall have at least one operable emergency and rescue opening. Such opening shall open directly into a public street, public alley, yard, or court. Where basements contain one or more sleeping rooms, emergency egress and rescue openings shall be required in each sleeping room, but shall not be required in adjoining areas of the basement. Where emergency escape and rescue openings are provided, they shall have a sill height of not more than forty-four inches or one thousand one hundred eighteen millimeters above an adjacent permanent interior standing surface. The adjacent permanent interior standing surface shall be no less than thirty-six inches wide and eighteen inches deep and no more than twenty-four inches high. Where a door opening having a threshold below the adjacent ground elevation serves as an emergency escape and rescue opening and is provided with a bulkhead enclosure, the bulkhead enclosure shall comply with section R310.3 of the Iowa residential code. The net clear opening dimensions required by this section shall be obtained by the normal operation of the emergency escape and rescue opening from the inside. Emergency escape and rescue openings with a finished sill height below the adjacent ground elevation shall be provided with a window well in accordance with section R310.2 of the Iowa residential code. Emergency escape and rescue openings shall open directly into a public way, or to a yard or court that opens to a public way. This subsection does not apply to basements used only to house mechanical equipment and not exceeding total floor area of two hundred square feet or eighteen point five eight square meters.
   5.  Protection of water supply and sanitary sewage systems.  References in section R322.1.7 of the international residential code, 2015 edition, to chapter 3 of the international private sewage disposal code shall be deemed to be references to 567 IAC ch. 69.
   6.  Fuel gas.  In lieu of the requirements contained in chapter 23 of the international residential code, 2015 edition, all fuel gas piping installations shall comply with 641 IAC 25.3 and NFPA 54, ANSI Z223.1-2012.
   7.  Plumbing.
   a.  In lieu of the requirements contained in chapters 25 through 33 of the international residential code, 2015 edition, all plumbing installations shall comply with the Iowa plumbing code, except that section P2904 of the international residential code, 2015 edition, shall also apply.
   b.  Notwithstanding paragraph “a”, factory-built structures, as referenced in section 103A.10, subsection 3, that contain plumbing installations are allowed to comply with either the Iowa plumbing code or with the international plumbing code, 2015 edition, published by the international code council. The manufacturer’s data plate must indicate which plumbing code was utilized for compliance with this rule, as required by 661 IAC 16.610(15)(e).
   8.  Electrical.  In lieu of the requirements contained in chapters 34 through 43 of the international residential code, 2015 edition, the provisions of the Iowa electrical code shall be the requirements for electrical installation.
   9.  Exterior structures.  The fire protections floor requirements contained in R302.13 of the international residential code, 2015 edition, do not apply to exterior decks, exterior balconies, or exterior porches.

Sec. 46.  NEW SECTION.  103A.3D  Iowa residential energy code —— alterations.
   1.  Scope.  The Iowa residential energy code applies to residential buildings of three or fewer stories and the building sites and associated systems and equipment. The remodeling or renovation of one-family and two-family dwelling units is not within the scope of the Iowa residential energy code.
   2.  General.  Construction or other work that is required to be inspected by state law or local ordinance shall be in accordance with sections R104.2 through R104.8 of the Iowa residential energy code. The state fire marshal shall have authority to perform audits to ensure compliance with the requirements of the Iowa residential energy code. When local governments conduct compliance audits, the information may be provided to the department of energy or to the state fire marshal in a timely manner. Local governments may contract with the state fire marshal to conduct audits.
   3.  Insulation and fenestration criteria.  In lieu of the requirements contained in section R402.1.1 of the international energy conservation code, 2012 edition, the building thermal envelope shall meet the requirements of table R402.1.1 based on the climate zone specified in chapter 3 of the Iowa residential energy code.
   4.  Insulation and fenestration requirements.  Table R402.1.1 of the international energy conservation code, 2012 edition, is adopted with the exceptions of deleting “except Marine” in the fifth row of the first column, deleting “and Marine 4” in the sixth row of the first column, deleting “>0.32” in the eighth row of the second column and inserting in lieu thereof “0.32”, and deleting “20+5 or 13+10” in the seventh row of the sixth column and inserting in lieu thereof “20+5 or 13+5”.
   5.  Testing.  In lieu of the requirements contained in section R402.4.1.2 of the international energy conservation code, 2012 edition, the building or dwelling unit shall be tested and verified as having an air leakage rate not exceeding five air changes per hour in climate zones 1 and 2, and four air changes per hour in climate zones 3 through 8. Testing shall be conducted with a blower door at a pressure of zero point two inches w.g. or fifty pascals. Where required by the code official, testing shall be conducted by an approved third party. A written report of the results of the test shall be signed by the party conducting the test and provided to the code official. Testing shall be performed at any time after creation of all penetrations of the building thermal envelope. During testing:
   a.  Exterior windows and doors and fireplace and stove doors shall be closed, but not sealed beyond the intended weatherstripping or other infiltration control measures.
   b.  Dampers including exhaust, intake, makeup air, backdraft, and flue dampers shall be closed, but not sealed beyond intended infiltration control measures.
   c.  Interior doors, if installed at the time of the test, shall be open.
   d.  Exterior doors for continuous ventilation systems and heat recovery ventilators shall be closed and sealed.
   e.  Heating and cooling systems, if installed at the time of the test, shall be turned off.
   f.  Supply and return registers, if installed at the time of the test, shall be fully open.
   6.  Sealing —— mandatory.  In lieu of the requirements contained in section R403.2.2 of the international energy conservation code, 2012 edition, ducts, air handlers, and filter boxes shall be sealed. Joints and seams shall comply with either the Iowa mechanical code or Iowa residential code, as applicable.
   a.  Air-impermeable spray foam products shall be permitted to be applied without additional joint seals.
   b.  Where a duct connection is made that is partially inaccessible, three screws or rivets shall be equally spaced on the exposed portion of the joint so as to prevent a hinge effect.
   c.  Continuously welded and locking-type longitudinal joints and seams in ducts operating at static pressures less than two inches of water column or five hundred pascals pressure classification shall not require additional closure systems.
   d.  (1)  Duct tightness shall be verified by any of the following:
   (a)  Postconstruction test.  Leakage to outdoors shall be less than or equal to four cubic feet per minute or one hundred thirteen point three L/min per one hundred square feet or nine point two nine meters squared of conditioned floor area or total leakage shall be less than or equal to six cfm or one hundred seventy L/min per one hundred square feet or nine point two nine meters squared of conditioned floor area when tested at a pressure differential of zero point one inches w.g. or twenty-five pascals across the entire system, including the manufacturer’s air handler enclosure. All register boots shall be taped or otherwise sealed during the test.
   (b)  Rough-in test.  Total leakage shall be less than or equal to six cfm or one hundred seventy L/min per one hundred square feet or nine point two nine meters squared of conditioned floor area when tested at a pressure differential of zero point one inches w.g. or twenty-five pascals across the system, including the manufacturer’s air handler enclosure. All registers shall be taped or otherwise sealed during the test. If the air handler is not installed at the time of the test, total leakage shall be less than or equal to three cfm or eighty-five L/min per one hundred square feet or nine point two nine meters squared of conditioned floor area.
   (2)  Testing shall be conducted by an approved third party. A written report of the results shall be signed by the party conducting the test and provided to the code official.
   (3)  The duct leakage test is not required for ducts and air handlers located entirely within the building thermal envelope unless cavities are used for returns.
   7.  Building cavities —— mandatory.  In lieu of the requirements contained in section R403.2.3 of the international energy conservation code, 2012 edition, building framing cavities shall not be used as supply ducts. Building framing cavities may be used as return ducts if all of the following conditions exist:
   a.  Ducts are tested for duct leakage in accordance with section R403.2.2 of the Iowa residential code.
   b.  Exterior wall cavities are not used for return ducts.

Sec. 47.  NEW SECTION.  103A.3E  Iowa nonresidential energy code —— alterations.
   1.  Scope.  The Iowa nonresidential energy code applies to commercial and residential buildings of four or more stories and the buildings’ sites and associated systems and equipment.
   2.  General.  In lieu of the requirements contained in section C104.1 of the international energy conservation code -- commercial provisions, 2012 edition, construction or other work that is required to be inspected by state law or local ordinance shall comply with sections C104.2 through C104.8 of the Iowa nonresidential energy code.

Sec. 48.  Section 103A.5, subsection 3, Code 2022, is amended to read as follows:
   3.  Study the operation of the state Iowa building code, local building regulations, and other laws relating to the construction of buildings or structures to ascertain their effects upon the cost of building construction and the effectiveness of their provisions for health, safety, and welfare.

Sec. 49.  Section 103A.7, Code 2022, is amended by striking the section and inserting in lieu thereof the following:
   103A.7  Iowa building code.
   1.  The Iowa building code includes the following:
   a.  The international building code, 2015 edition, published by the international code council, as modified in subsection 2, and excluding sections 101.1, 101.2, 101.4.1 through 101.4.6, 102.6, 106.2, 107.1, 907.2.3, and 1029.1.1; sections 103 through 105, 107.3 through 107.5, 109 through 116, and 423, and sections therein; section 903.2.8, except sections 903.2.8.1 through 903.2.8.4; chapter 29; and appendices A, B, and D through M of the international building code.
   b.  The Iowa fire code.
   c.  The Iowa residential code.
   d.  The Iowa residential energy code.
   e.  The Iowa nonresidential energy code.
   f.  The Iowa existing building code.
   g.  The Iowa electrical code as defined in section 103.1.
   h.  The Iowa plumbing code as defined in section 105.2.
   i.  The Iowa mechanical code as defined in section 105.2.
   j.  The accessibility provisions of 661 IAC ch. 302. The commissioner may adopt rules for the accessibility and use by persons with disabilities and elderly persons, of buildings, structures, and facilities which are constructed and intended for use by the general public. The rules shall be consistent with federal standards for building accessibility and shall only apply to those buildings, structures, and facilities subject to chapter 104A.
   k.  Sustainable design standards adopted by the commissioner pursuant to section 103A.8B.
   2.  a.  Application.  The provisions of the Iowa building code shall apply to the construction, alteration, movement, enlargement, replacement, repair, equipment, use and occupancy, location, maintenance, removal, and demolition of every building or structure or any appurtenances connected or attached to such building or structure. However, detached one-family and two-family dwellings and multiple single-family dwellings or townhouses not more than three stories above grade plane in height with a separate means of egress and their accessory structures shall comply with the Iowa residential code.
   b.  Existing structure.  In lieu of the requirements contained in section 102.6 of the international building code, 2015 edition, the legal occupancy of any structure existing on the date of adoption of this code shall be permitted to continue without change, except as specifically covered in this code or the Iowa fire code, or as deemed necessary by the building code commissioner for the general safety and welfare of the occupants and the public.
   c.  General.  In lieu of the requirements contained in section 107.1 of the international building code, 2015 edition, submittal documents consisting of construction documents, statement of special inspections, a geotechnical report, and other data shall be submitted in one or more sets with each plan review application. The construction documents shall be prepared by a responsible design professional where required by the statutes of the jurisdiction in which the project is to be constructed. Where special conditions exist, the commissioner is authorized to require additional construction documents to be prepared by a responsible design professional. However, the commissioner is authorized to waive the submission of construction documents and other data not required to be prepared by a responsible design professional if it is found that the nature of the work applied for is such that review of construction documents is not necessary to obtain compliance with the Iowa building code.
   d.  Cabins.  For the purposes of the Iowa building code, “cabin building” means a residential building or structure the use of which is transient in nature and which is used for sleeping purposes when not classified as an institutional group I or when not regulated by the Iowa residential code.
   e.  Windowed buildings.  With respect to Group I-3 buildings, plans and specifications for windowed buildings or portions of windowed buildings shall include a rational analysis demonstrating a tenable environment for exiting from the smoke compartment in the area of fire origin.
   f.  Storm shelters.  In lieu of the requirements contained in section 423 of the international building code, 2015 edition, any storm shelter or weather-safe room shall be designed and constructed in accordance with ICC 500-2014. A provision of ICC 500-2014 that applies to a hurricane-safe structure but not a tornado-safe structure shall not apply. For a provision for which a distinction is made between a tornado-safe structure and a hurricane-safe structure, the requirement for a tornado-safe structure shall apply. This paragraph applies to storm shelters and weather-safe rooms constructed on or after January 1, 2017. This paragraph does not require the construction of a weather-safe room or rooms for any construction project but does establish standards for design and construction of storm shelters and weather-safe rooms when their construction is required by another statute, by federal statute or regulation, or is incorporated voluntarily in a construction project. For the purposes of this paragraph, “weather-safe room” means a building, structure, or portion of a building or structure built in accordance with the requirements of this chapter and designated for use during a severe windstorm event.
   g.  Group R.  In lieu of the requirements contained in section 903.2.8, except for sections 903.2.8.1 through 903.2.8.4, of the international building code, 2015 edition, an automatic sprinkler system installed in accordance with section 903.3 of the Iowa building code shall be provided throughout all buildings with a Group R fire area. This requirement does not apply to a cabin building located in remote areas without a sufficient municipal water supply for design of a fire sprinkler system when all of the following apply:
   (1)  The cabin is not more than one story.
   (2)  The cabin is not more than seven hundred fifty square feet in floor area.
   (3)  Fuel-fired heating equipment and other fuel-fired appliances are separated from sleeping areas by a one-hour fire-rated assembly.
   (4)  The cabin is provided with fire alarm and smoke alarm systems as required by section 907 of the international building code for R-1 occupancies.
   (5)  The cabin does not include a basement.
   (6)  A fire separation of twenty feet is maintained between the cabin and any other building or structure.
   (7)  The cabin complies with all applicable requirements of the Iowa building code.
   h.  Group E.
   (1)  In lieu of the requirements contained in section 907.2.3 of the international building code, 2015 edition, in the absence of a complete automatic sprinkler system, a complete automatic detection system utilizing an emergency voice or alarm communication system shall be installed throughout the entire Group E occupancy. A Group E occupancy with a complete automatic sprinkler system shall be provided with a fire alarm system utilizing an emergency voice or alarm communication system in compliance with section 907.5.2.2 and installed in accordance with section 907.6 of the Iowa building code. At a minimum, smoke detection shall be provided in corridors at a maximum spacing of thirty feet on center, and heat or smoke detection shall be provided in any hazardous or nonoccupied areas. This subparagraph does not apply to a Group E occupancy with an occupant load of less than fifty.
   (2)  Notwithstanding subparagraph (1), manual fire alarm boxes are not required in Group E occupancies where all of the following apply:
   (a)  Interior corridors are protected by smoke detectors with alarm verification.
   (b)  Auditoriums, cafeterias, gymnasiums, and the like are protected by heat detectors or other approved detection devices.
   (c)  Shops and laboratories involving dusts or vapors are protected by heat detectors or other approved detection devices.
   (d)  Off-premises monitoring is provided.
   (e)  The capability to activate the evacuation signal from a central point is provided.
   (f)  In buildings where normally occupied spaces are provided with a two-way communication system between such spaces and a constantly attended receiving station from which a general evacuation alarm can be sounded, except in locations specifically designated by the fire code official.
   (3)  Notwithstanding subparagraph (1), manual fire alarm boxes shall not be required in Group E occupancies where the building is equipped throughout with an approved automatic sprinkler system, the notification appliances will activate on sprinkler water flow, and manual activation is provided from a normally occupied location.
   (4)  Notwithstanding subparagraph (1), emergency voice or alarm communication systems meeting the requirements of section 907.5.2.2 of the Iowa building code and installed in accordance with section 907.6 of the Iowa building code shall not be required in Group E occupancies with occupant loads of one hundred or less, provided that activation of the fire alarm system initiates an approved occupant notification signal in accordance with section 907.5 of the Iowa building code.
   i.  Frost protection.  With respect to general means of egress, exterior landings at doors shall be provided with frost protection.
   j.  Exit discharge pathways.  With respect to exterior exit stairways and ramps, exit discharge pathways shall be paved from all exits of the building to the public way.
   k.  Bleachers.  With respect to assemblies, in lieu of the requirements contained in section 1029.1.1 of the international building code, 2015 edition, bleachers, folding and telescopic seating, and grandstands that are not building elements shall comply with ICC-300, standard for bleachers, folding and telescopic seating, and grandstands, 2012 edition, with the following amendments to ICC-300:
   (1)  Yearly inspections required.  In lieu of the requirements contained in ICC-300, standard for bleachers, folding and telescopic seating, and grandstands, 2012 edition, the owner shall cause all bleachers and folding and telescopic seating installed on or after December 1, 2011, to be inspected at least once per year in order to verify that the structure is maintained in compliance with the provisions of this standard. All folding and telescopic seating shall also be inspected to evaluate compliance with the manufacturer’s installation and operational instructions during the opening and closing of such seating. Any inspection conducted in compliance with this section may be conducted by any knowledgeable person, including but not limited to a person who has been instructed by the manufacturer or installer as to procedures and standards for inspections of the structure being inspected and including but not limited to the owner of the structure or an employee of the owner of the structure. There are no further restrictions on the identity or employment of the person conducting the inspection unless otherwise provided by law. The owner shall maintain documentation of the required annual inspections, which shall show the date and name of the person conducting the inspection and shall be initialed by the person conducting the inspection.
   (2)  Inspections.  In lieu of the requirements contained in ICC-300, standard for bleachers, folding and telescopic seating, and grandstands, 2012 edition, all tiered seating that was installed prior to December 1, 2011, shall be inspected at least once per year. The required inspection may be conducted by any knowledgeable person, including but not limited to a person who has been instructed by the manufacturer or installer as to procedures and standards for inspections of the structure being inspected and including but not limited to the owner of the structure or an employee of the owner of the structure. There are no further restrictions on the identity or employment of the person conducting the inspection unless otherwise provided by law. All folding and telescopic seating shall be inspected to evaluate compliance with the manufacturer’s installation and operational instructions and shall be inspected during the opening and closing of such seating. The owner shall maintain documentation of the required annual inspections, which shall show the date and name of the person conducting the inspection and shall be initialed by the person conducting the inspection.
   l.  Accessibility.  With respect to accessibility, any building or facility which is in compliance with the applicable requirements of 661 IAC ch. 302 shall be deemed to be in compliance with any applicable requirements contained in the Iowa building code concerning accessibility for persons with disabilities.
   m.  Standards.  Notwithstanding references in chapter 35 of the Iowa building code to editions of national standards adopted in section 3001.2 of the Iowa building code, any editions of these standards adopted by the elevator safety board in 875 IAC ch. 72 are adopted by reference. If a standard is adopted by reference in this section and there is no adoption by reference of the same standard in 875 IAC ch. 72, the adoption by reference in this section is of the edition identified in chapter 35 of the Iowa building code.
   n.  References.
   (1)  All references in the international building code, 2015 edition, to the international plumbing code shall be deemed to be references to the Iowa plumbing code.
   (2)  All references in the international building code, 2015 edition, to the international fuel gas code shall be deemed to be references to the Iowa fuel gas code.
   (3)  All references in the international building code, 2015 edition, to the international mechanical code shall be deemed to be references to the Iowa mechanical code.
   (4)  All references in the international building code, 2015 edition, to the international residential code shall be deemed to be references to the Iowa residential code.
   (5)  All references in the international building code, 2015 edition, to the international energy conservation code shall be deemed to be references to the Iowa energy conservation code.
   o.  Health care facilities.
   (1)  A hospital, as defined in 661 IAC 205.1, that is required to meet the provisions of the Iowa building code shall be deemed to be in compliance with the fire safety requirements of the Iowa building code if the hospital is in compliance with the provisions of 661 IAC 205.5. In any other case in which an applicable requirement of the life safety code, 2000 edition, is inconsistent with an applicable requirement of the Iowa building code, the hospital shall be deemed to be in compliance with the Iowa building code requirement if the life safety code requirement is met.
   (2)  A nursing facility or hospice, as defined in 661 IAC 205.1, that is required to meet the provisions of the Iowa building code shall be deemed to be in compliance with the fire safety requirements of the Iowa building code if the nursing facility or hospice is in compliance with the provisions of 661 IAC 205.10. In any other case in which an applicable requirement of the life safety code, 2000 edition, is inconsistent with an applicable requirement of the Iowa building code, the nursing facility or hospice shall be deemed to be in compliance with the Iowa building code requirement if the life safety code requirement is met.
   (3)  An intermediate care facility for the mentally retarded, as defined in 661 IAC 205.1, or intermediate care facility for persons with mental illness that is required to meet the provisions of the Iowa building code shall be deemed to be in compliance with the fire safety requirements of the Iowa building code if the intermediate care facility is in compliance with the provisions of 661 IAC 205.15. In any other case in which an applicable requirement of the life safety code, 2000 edition, is inconsistent with an applicable requirement of the Iowa building code, the intermediate care facility shall be deemed to be in compliance with the Iowa building code requirement if the life safety code requirement is met.
   (4)  An ambulatory health care facility, as defined in 661 IAC 205.1, that is required to meet the provisions of the Iowa building code shall be deemed to be in compliance with the fire safety requirements of the Iowa building code if the ambulatory health care facility is in compliance with the provisions of 661 IAC 205.20. In any other case in which an applicable requirement of the life safety code, 2000 edition, is inconsistent with an applicable requirement of the Iowa building code, the ambulatory health care facility shall be deemed to be in compliance with the Iowa building code requirement if the life safety code requirement is met.
   (5)  A religious nonmedical health care institution that is required to meet the provisions of the Iowa building code shall be deemed to be in compliance with the provisions of the Iowa building code if the institution is in compliance with the provisions of 661 IAC 205.25. In any other case in which an applicable requirement of the life safety code, 2000 edition, is inconsistent with an applicable requirement of the Iowa building code, the religious nonmedical health care institution shall be deemed to be in compliance with the Iowa building code requirement if the life safety code requirement is met.
   3.  A person who complies with an edition of a national code published subsequent to the edition serving as the basis of the Iowa fire, residential, residential energy, existing building, electrical, plumbing, or mechanical code shall be deemed to be in compliance with the relevant portion of the Iowa building code.
   4.  A political subdivision of this state shall not enact a regulation that is more or less restrictive than the Iowa building code.

Sec. 50.  Section 103A.9, subsection 1, unnumbered paragraph 1, Code 2022, is amended to read as follows:
   The state building code shall contain following provisions relating apply to the manufacture and installation of factory-built structures.

Sec. 51.  Section 103A.9, subsection 1, paragraph d, Code 2022, is amended to read as follows:
   d.  (1)  All factory-built structures, without regard to manufacture date, shall be installed in accordance with the code in the governmental subdivisions which have adopted the state Iowa building code or any other building code. However, a governmental subdivision shall not require that a factory-built structure, that was manufactured in accordance with federally mandated standards, be renovated in accordance with the state Iowa building code or any other building code which the governmental subdivision has adopted when the factory-built structure is being moved from one lawful location to another unless such required renovation is in conformity with those specifications for the factory-built structure which existed when it was manufactured or the factory-built structure is being rented for occupancy.
   (2)  Existing factory-built structures not constructed to be in compliance with federally mandated standards may be moved from one established manufactured home community or mobile home park to another and shall not be required to be renovated to comply with the state Iowa building code or any other building code which the governmental subdivision has adopted unless the factory-built structure is being rented for occupancy or has been declared a public nuisance according to standards generally applied to housing.

Sec. 52.  Section 103A.9, subsections 2 and 3, Code 2022, are amended to read as follows:
   2.  The commissioner shall establish an insignia of approval and provide that factory-built structures required to comply with code provisions on manufacture bear an insignia of approval prior to installation. The insignia may be issued for other factory-built structures which meet code standards and which were manufactured prior to the effective date of the state Iowa building code.
   3.  The commissioner may contract with local government agencies for enforcement of the code relating to manufacture of factory-built structures. Code provisions relating to installation of factory-built structures shall be enforced by the local building departments only in those governmental subdivisions which have adopted the state building code or any other building code.

Sec. 53.  Section 103A.10, subsection 1, Code 2022, is amended to read as follows:
   1.  The state Iowa building code shall, for the buildings and structures to which it is applicable, constitute a lawful local the only enforceable building code in this state.

Sec. 54.  Section 103A.10, subsection 2, unnumbered paragraph 1, Code 2022, is amended to read as follows:
   The state Iowa building code shall be applicable:

Sec. 55.  Section 103A.10, subsection 2, paragraph d, Code 2022, is amended to read as follows:
   d.  In each city with a population of more than fifteen thousand that has not adopted a local building code that is substantially in accord with standards developed by a nationally recognized building code organization. The, the city shall enforce the state Iowa building code, including the provisions in section 103A.19, subsection 2.

Sec. 56.  Section 103A.10, subsection 3, Code 2022, is amended to read as follows:
   3.  Provisions of the state Iowa building code relating to the manufacture and installation of factory-built structures shall apply throughout the state. A factory-built structure approved by the commissioner shall be deemed to comply with all building regulations applicable to its manufacture and installation and shall be exempt from any other state or local building regulations. Except with respect to manufactured homes, as defined in section 103A.51, subsection 4, a provision of this chapter relating to the manufacture or installation of factory-built structures shall not alter or supersede any provision of chapter 542B concerning the practice of professional engineering or chapter 544A concerning the practice of architecture.

Sec. 57.  Section 103A.10, subsection 4, paragraphs a and b, Code 2022, are amended to read as follows:
   a.  Provisions of the state Iowa building code establishing thermal efficiency energy conservation standards shall be applicable to all construction in the state which will contain enclosed space that is heated or cooled. The commissioner shall provide appropriate exceptions for construction where the application of an energy conservation requirement adopted pursuant to this chapter would be impractical.
   b.  Provisions of the state Iowa building code establishing lighting efficiency standards shall be applicable to all construction in the state and to new and replacement lighting in existing buildings.

Sec. 58.  Section 103A.10A, subsections 1 and 3, Code 2022, are amended to read as follows:
   1.  All newly constructed buildings or structures subject to the state Iowa building code, including any addition, but excluding any renovation or repair of such a building or structure, owned by the state or an agency of the state, except as provided in subsection 2, shall be subject to a plan review and inspection by the commissioner or an independent building inspector appointed by the commissioner. Any renovation or repair of such a building or structure shall be subject to a plan review, except as provided in subsection 2. A fee shall be assessed for the cost of plan review, and, if applicable, the cost of inspection. The commissioner may inspect an existing building that is undergoing renovation or remodeling to enforce the energy conservation requirements established under this chapter.
   3.  All newly constructed buildings and structures the construction of which is paid for in whole or in part with moneys appropriated by the state but which are not wholly owned by the state are subject to the plan review and inspection requirements as provided in this subsection. If a governmental subdivision has adopted a building code, electrical code, mechanical code, and plumbing code and performs inspections pursuant to such codes, such buildings or structures shall be built to comply with such codes. However, if a governmental subdivision has not adopted a building code, electrical code, mechanical code, and plumbing code, or does not perform inspections pursuant to such codes, such buildings or structures shall be built to comply with the state Iowa building code and shall be subject to a plan review and inspection by the commissioner or an independent building inspector appointed by the commissioner. A fee shall be assessed for the cost of plan review and the cost of inspection.

Sec. 59.  Section 103A.11, subsections 2 and 3, Code 2022, are amended to read as follows:
   2.  The text of any proposed rule shall be made available for inspection at the office of the commissioner and shall be distributed to the governmental subdivisions which have adopted the state Iowa building code, and to any other person who requests a copy.
   3.  Copies of every rule shall be sent by the commissioner to all governmental subdivisions which have adopted the state Iowa building code.

Sec. 60.  Section 103A.12, Code 2022, is amended to read as follows:
   103A.12  Adoption and withdrawal —— procedure.
   1.  The state In addition to each city with a population of more than fifteen thousand, the Iowa building code is applicable in each governmental subdivision of the state in which the governing body has enacted an ordinance accepting the applicability of the code and has filed a certified copy of the ordinance in the office of the commissioner. The state Iowa building code becomes effective in the governmental subdivision upon the date fixed by the governmental subdivision ordinance, which must not be more than six months after the date of adoption of the ordinance.
   2.  A governmental subdivision in which the state Iowa building code is applicable may by ordinance, at any time after one year has elapsed since the code became applicable, withdraw from the application of the code. The local governing body shall hold a public hearing, after giving not less than four but not more than twenty days’ public notice, together with written notice to the commissioner of the time, place, and purpose of the hearing, before the ordinance to withdraw is voted upon. A certified copy of the vote of the local governing body shall be transmitted within ten days after the vote is taken to the commissioner. The ordinance becomes effective at a time to be specified in the ordinance, which must be not less than one hundred eighty days after the date of adoption. Upon the effective date of the ordinance, the state Iowa building code ceases to apply to the governmental subdivision except that construction of a building or structure pursuant to a permit previously issued is not affected by the withdrawal.
   3.  A governmental subdivision which has withdrawn from the application of the state Iowa building code may, at any time thereafter, restore the application of the code in the same manner as specified in this section.

Sec. 61.  Section 103A.13, subsections 1 and 2, Code 2022, are amended to read as follows:
   1.  The provisions of the state Iowa building code shall not prevent the use of any material or method of construction not specifically prescribed therein, provided any such alternate has been approved by the building code commissioner.
   2.  The commissioner may approve any alternate if the commissioner finds that the proper design is satisfactory and that the material, method, or work offered is, for the purpose intended, at least the equivalent of that prescribed in the state Iowa building code in quality, strength, effectiveness, fire resistance, durability, and safety.

Sec. 62.  Section 103A.14, subsections 1 and 3, Code 2022, are amended to read as follows:
   1.  The council shall advise and confer with the commissioner in matters relating to the state Iowa building code.
   3.  The council shall approve or disapprove the rules and regulations referred to in section 103A.7 and shall approve or disapprove any alternate materials or methods of construction approved by the commissioner as provided in section 103A.13. A majority vote of the council membership shall be required for these functions.

Sec. 63.  Section 103A.16, subsection 1, Code 2022, is amended to read as follows:
   1.  A reversal, modification, or annulment of any ruling, direction, determination, or order of any state agency or local building department affecting or relating to the construction of any building or structure, the construction of which is pursuant or purports to be pursuant to the provisions of the state Iowa building code.

Sec. 64.  Section 103A.18, subsection 2, unnumbered paragraph 1, Code 2022, is amended to read as follows:
   No court shall entertain an action based on the state Iowa building code unless all administrative remedies have been exhausted, except:

Sec. 65.  Section 103A.19, subsection 1, Code 2022, is amended to read as follows:
   1.  The examination and approval or disapproval of plans and specifications, the issuance and revocation of building permits, licenses, certificates, and similar documents, the inspection of buildings or structures, and the administration and enforcement of building regulations shall be the responsibility of the governmental subdivisions of the state and shall be administered and enforced in the manner prescribed by local law or ordinance. All provisions of law relating to the administration and enforcement of local building regulations in any governmental subdivision shall be applicable to the administration and enforcement of the state Iowa building code in the governmental subdivision. An application made to a local building department or to a state agency for permission to construct a building or structure pursuant to the provisions of the state Iowa building code shall, in addition to any other requirement, be signed by the owner or the owner’s authorized agent, and shall contain the address of the owner, and a statement that the application is made for permission to construct in accordance with the provisions of the code. The application shall also specifically include a statement that the construction will be in accordance with all applicable energy conservation requirements.

Sec. 66.  Section 103A.19, subsection 2, unnumbered paragraph 1, Code 2022, is amended to read as follows:
   In aid of administration and enforcement of the state Iowa building code, and in addition to and not in limitation of powers vested in them by law, each governmental subdivision of the state may, and each city designated in section 103A.10, subsection 2, paragraph “d”, shall:

Sec. 67.  Section 103A.19, subsection 2, paragraphs a, b, c, and f, Code 2022, are amended to read as follows:
   a.  Examine and approve or disapprove plans and specifications for the construction of any building or structure, the construction of which is pursuant or purports to be pursuant to the provisions of the state Iowa building code, and to direct the inspection of buildings or structures during the course of construction.
   b.  Require that the construction of any building or structure shall be in accordance with the applicable provisions of the state Iowa building code, subject, however, to the powers granted to the board of review in section 103A.16.
   c.  Order in writing any person to remedy any condition found to exist in, or about any building or structure in violation of the state Iowa building code. Orders may be served upon the owner or the owner’s authorized agent personally or by certified mail at the address set forth in the application for permission to construct a building or structure. Any local building department may grant in writing such time as may be reasonably necessary for achieving compliance with an order.
   f.  Prohibit the commencement of construction until a permit has been issued by the local building department after a showing of compliance with the requirements of the applicable provisions of the state Iowa building code.

Sec. 68.  Section 103A.19, subsection 2, paragraph d, subparagraph (1), Code 2022, is amended to read as follows:
   (1)  A certificate of occupancy or use for a building or structure constructed in accordance with the provisions of the state Iowa building code shall certify that the building or structure conforms to the requirements of the code. The certificate shall be in the form the governing body of the governmental subdivision prescribes.

Sec. 69.  Section 103A.20, subsection 1, paragraph a, Code 2022, is amended to read as follows:
   a.  If the plans and specifications accompanying an application for permission to construct a building or structure fail to comply with the provisions of building regulations applicable to the governmental subdivision where the construction is planned, the state or governmental subdivision official charged with the duty shall nevertheless issue a permit, certificate, authorization, or other required document, as the case may be, for the construction, if the plans and specifications comply with the applicable provisions set forth in the state Iowa building code, whenever such code is operative in such governmental subdivision.

Sec. 70.  Section 103A.20, subsection 2, Code 2022, is amended to read as follows:
   2.  Any building or structure constructed in conformance with the provisions of the state Iowa building code, shall be deemed to comply with all state, county, and municipal building regulations, and the owner, builder, architect, lessee, tenant, or their agents, or other interested person shall be entitled, upon a showing of compliance with the code, to demand and obtain, upon proper payment being made in appropriate cases, any permit, certificate, authorization, or other required document, the issuance of which is authorized pursuant to any state or local buildings or structure regulation, and it shall be the duty of the appropriate state or local officer having jurisdiction over the issuance to issue the permit, certificate, authorization, or other required document, as provided herein, whenever the code is operative in the governmental subdivision.

Sec. 71.  Section 103A.21, subsection 1, Code 2022, is amended to read as follows:
   1.  Any person served with an order pursuant to the provisions of section 103A.19, subsection 2, paragraph “c”, who fails to comply with the order within thirty days after service or within the time fixed by the local building department for compliance, whichever is longer, and any owner, builder, architect, tenant, contractor, subcontractor, construction superintendent or their agents, or any other person taking part or assisting in the construction or use of any building or structure who shall knowingly violate any of the applicable provisions of the state Iowa building code or any lawful order of a local building department made thereunder, shall be guilty of a simple misdemeanor.

Sec. 72.  Section 103A.22, subsections 1 and 2, Code 2022, are amended to read as follows:
   1.  Nothing in this chapter shall be construed as prohibiting any governmental subdivision from adopting or enacting any building regulations relating to any building or structure within its limits, but a governmental subdivision in which the state Iowa building code has been accepted and is applicable shall not have the power to supersede, void, or repeal or make more restrictive any of the provisions of this chapter or of the rules adopted by the commissioner. This subsection shall not apply to energy conservation requirements adopted by the commissioner and approved by the council pursuant to section 103A.8A or 103A.10.
   2.  Nothing in this chapter shall be construed as abrogating or impairing the power of any governmental subdivision or local building department to enforce the provisions of any building regulations, or the applicable provisions of the state Iowa building code, or to prevent violations or punish violators except as otherwise expressly provided in this chapter.

Sec. 73.  Section 103A.23, subsection 1, Code 2022, is amended to read as follows:
   1.  For the purpose of obtaining revenue to defray the costs of administering the provisions of this chapter, the commissioner shall establish by rule a schedule of fees based upon the costs of administration which fees shall be collected from persons whose manufacture, installation, or construction is subject to the provisions of the state Iowa building code. For the performance of building plan reviews by the department of public safety, the commissioner shall establish by rule a fee, chargeable to the owner of the building, which shall be equal to a percentage of the estimated total valuation of the building and which shall be in an amount reasonably related to the cost of conducting the review.

Sec. 74.  Section 103A.43, subsection 2, Code 2022, is amended to read as follows:
   2.  A state agency may apply the provisions of the state Iowa building code or of the state historic building code, or any combination of the two, in providing reasonable safety from fire and other hazards for the occupants and other users while permitting repairs, alterations and additions necessary for the preservation, restoration, rehabilitation, relocation or continued use of qualified historic buildings or structures.

Sec. 75.  Section 103A.51, subsection 9, Code 2022, is amended to read as follows:
   9.  “Modular home” means a factory-built structure which is manufactured to be used as a place of human habitation, is constructed to comply with the Iowa state building code for modular factory-built structures, as adopted pursuant to section 103A.7, and displays a seal issued by the commissioner.

Sec. 76.  Section 105.2, Code 2022, is amended by adding the following new subsections:
   NEW SUBSECTION.  8A.  “Iowa mechanical code” means sections 101 and 102 and chapters 2 through 15 of the international mechanical code, 2021 edition, published by the international code council, as modified in section 105.2A, and excluding the exception to section 101.2 and the exception to section 306.5 of the international mechanical code; and sections 306.2, 401.1, 504.8.2, 506.3.13.3, 508.1.1, and 604.3 of the international mechanical code.
   NEW SUBSECTION.  8B.  “Iowa plumbing code” means sections 101 and 102 and chapters 2 through 17 of the uniform plumbing code, 2021 edition, published by the international association of plumbing and mechanical officials, as modified in section 105.2B, and excluding sections 314.4.1, 422.1, 609.1, 612.0 through 612.7.2, 807.3, 814.5, 1007.1, 1205.0 through 1205.2, 1207.0 through 1207.1, 1208.6.4.5, and 1211.3; and section 609.12 and sections therein of the uniform plumbing code.

Sec. 77.  NEW SECTION.  105.2A  Iowa mechanical code —— alterations.
   1.  Administration.  A local jurisdiction may administer the permit, inspection, testing, and enforcement provisions contained in the Iowa mechanical code. Permit, inspection, testing, and enforcement provisions contained in the Iowa mechanical code shall not be administered by the plumbing and mechanical systems board or the state unless otherwise provided by law.
   2.  Guards.  In lieu of the exception to section 304.11 of the international mechanical code, 2021 edition, guards are not required where permanent fall arrest and restraint anchorage connector devices that comply with ANSI/ASSE Z 359.1 are affixed for use during the entire lifetime of the roof covering. The devices shall be evaluated for possible replacement when the entire roof covering is replaced. The devices shall be placed not more than ten feet or three thousand forty-eight millimeters on center along hip and ridge lines and placed not less than ten feet or three thousand forty-eight millimeters from roof edges and the open sides of walking surfaces.
   3.  Access.  With respect to the requirements of section 306.1 of the international mechanical code, 2021 edition, an unobstructed level working space at least thirty inches deep and thirty inches wide shall be provided on any side of equipment where service access is required. The authority having jurisdiction may approve service reductions prior to equipment installation, provided that the manufacturer’s instructions are met.
   4.  Appliances in rooms and closets.  Appliances in rooms and closets. In lieu of the requirements of section 306.2 of the international mechanical code, 2021 edition, rooms and closets containing appliances shall be provided with a door and an unobstructed passageway measuring not less than thirty-six inches wide and eighty inches high. A level service space not less than thirty inches deep and thirty inches wide shall be present at the front service side of the appliance with the door open.
   5.  Equipment and appliances on roofs or elevated structures.  With respect to the requirements of section 306.5 of the international mechanical code, 2021 edition, if the tenants of a multiple-tenant building have, or are allowed to have, mechanical facilities on the roof or which penetrate the roof, then roof access ladders must be provided for use by all such tenants and their agents and contractors in a manner that does not require accessing space under the control of another tenant.
   6.  Visual screening of rooftop equipment.  In addition to the requirements of section 306.5 of the international mechanical code, 2021 edition, equipment screening shall not be installed to the rooftop unit or the curb of the rooftop unit unless specified in the mechanical equipment manufacturer’s installation instructions.
   7.  Scope.  In lieu of the requirements of section 401.1 of the international mechanical code, 2021 edition, chapter 4 of the international mechanical code, 2021 edition, shall govern the ventilation of spaces within a building intended to be occupied. These buildings shall meet either the requirements of ASHRAE standard 62.1, ventilation for acceptable indoor air quality, 2019 edition, published by the American society of heating, refrigeration, and air conditioning engineers, or the requirements contained in chapter 4 of the Iowa mechanical code. Mechanical exhaust systems, including exhaust systems serving clothes dryers and cooking appliances; hazardous exhaust systems; dust, stock, and refuse conveyor systems; subslab soil exhaust systems; smoke control systems; energy recovery ventilation systems; and other systems specified in section 502 shall comply with chapter 5 of the Iowa mechanical code.
   8.  Minimum ventilation rates —— gyms.  With respect to the gym, stadium, arena or play area category of table 403.3.1.1 of the international mechanical code, 2021 edition, when combustion equipment is intended to be used on the playing surface, additional dilution ventilation and/or source control shall be provided.
   9.  Minimum ventilation rates —— smoking lounges.  With respect to smoking lounges in table 403.3.1.1 of the international mechanical code, 2021 edition, for ventilation purposes, “smoking” includes both combustible tobacco products and accessories and electronic smoking devices and accessories.
   10.  Duct installation.  In lieu of the requirements of section 504.8.2 of the international mechanical code, 2021 edition, exhaust ducts shall be supported at four-foot or one thousand two hundred nineteen millimeter intervals and secured in place. The insert end of the duct shall extend into the adjoining duct or fitting in the direction of airflow. Ducts shall not be joined by screws or similar fasteners that protrude into the inside of the duct.
   11.  Termination location.  In lieu of the requirements of section 506.3.13.3 of the international mechanical code, 2021 edition, exhaust outlets shall be located not less than ten feet or three thousand forty-eight millimeters horizontally from parts of the same or contiguous buildings, adjacent buildings, and adjacent property lines and shall be located not less than ten feet or three thousand forty-eight millimeters above the adjoining grade level. Exhaust outlets shall be located not less than twenty feet horizontally or vertically from or not less than five feet above air intake openings and operable doors and windows into any building.
   12.  Type II hoods.  In lieu of the requirements of the first sentence of section 507.3 of the international mechanical code, 2021 edition, type II hoods shall be installed above dishwashers capable of heating water beyond 140 degrees Fahrenheit and appliances that produce heat or moisture and do not produce grease or smoke as a result of the cooking process, except where the heat and moisture loads from such appliances are incorporated into the HVAC system design or into the design of a separate removal system.
   13.  Makeup air temperature.  In lieu of the requirements of section 508.1.1 of the international mechanical code, 2021 edition, all kitchen makeup air systems shall be verified by a certified testing and balance contractor to heat makeup air to within 10 degrees Fahrenheit of room temperature set point. The testing and balance contractor shall be certified by NEBB, TABB, or other certifying organization as approved by the authority having jurisdiction.
   14.  Return air openings.  With respect to the requirements of section 601.5 of the international mechanical code, 2021 edition, return air openings shall be located at least eighteen inches from supply air openings. Airflow shall be directed away from return air openings to reduce short cycling of air. However, this requirement does not apply to factory-made concentric dust terminations. In addition, one return air opening per floor is required on a central duct return system per ACCA manual D, appendix 8. Return air transfer openings are required on all bedrooms when dedicated return air openings are not used.
   15.  Duct location.  Air plenums and ducts located in floor and wall cavities shall be separated from unconditioned space by construction with insulation to meet applicable energy code requirements. These areas include but are not limited to exterior walls, cantilevered floors, and floors above garages.
   16.  Coverings and linings.  In lieu of the requirements of section 604.3 of the international mechanical code, 2021 edition, duct coverings and linings, including adhesives where used, shall have a flame spread index of not more than twenty-five and a smoke-development index of not more than fifty, when tested in accordance with ASTM E84 or UL 723, using the specimen preparation and mounting procedures of ASTM E2231. Duct coverings and linings shall not flame, glow, smolder, or smoke when tested in accordance with ASTM C411 at the temperature to which they are exposed in service. The testing temperature shall not fall below 250 degrees Fahrenheit or 121 degrees Celsius. Coverings and linings shall be listed and labeled. The use of an air gap to meet R-value requirements for duct insulation shall be prohibited.
   17.  Radiation dampers —— access.  In addition to the requirements of section 607.6.2.1 of the international mechanical code, 2021 edition, access ceiling radiation dampers shall be provided with an approved means of access that is large enough to permit inspection and maintenance of the damper and its operating parts. Dampers equipped with fusible links, internal operators, or both shall be provided with either an access door that is not less than twelve inches or three hundred five millimeters square, or a removable duct section.
   18.  Radiation dampers —— marking.  In addition to the requirements of section 607.6.2.1 of the international mechanical code, 2021 edition, identification ceiling radiation damper locations and access points shall be permanently identified on the exterior by a label or marking acceptable to the authority having jurisdiction.
   19.  References.  All references to the international plumbing code shall be deemed to be references to the Iowa plumbing code.

Sec. 78.  NEW SECTION.  105.2B  Iowa plumbing code —— alterations.
   1.  Administration.  Local jurisdictions may administer the permit, inspection, testing, and enforcement provisions contained in the Iowa plumbing code. Permit, inspection, testing, and enforcement provisions contained in the Iowa plumbing code shall not be administered by the plumbing and mechanical systems board or the state.
   2.  Alternative engineered design.  In addition to the requirements of section 301.5 of the uniform plumbing code, 2021 edition, no engineered single-stack drainage system shall be installed.
   3.  Dead legs.  With respect to the requirements of section 309.6 of the uniform plumbing code, 2021 edition, the authority having jurisdiction may determine the method of flushing.
   4.  Installation of thermoplastic pipe and fittings.  In lieu of the requirements of section 314.4.1 of the uniform plumbing code, 2021 edition, trench width for thermoplastic pipe shall be limited to six times the outside diameter of the piping at the base. Thermoplastic piping shall be bedded in not less than four inches or one hundred two millimeters of aggregate bedding material supporting the pipe. Initial backfill shall encompass the pipe. Aggregate material shall be three-eighths inch p-gravel or one inch clean class one bedding.
   5.  Setting.  With respect to the requirements of section 402.5 of the uniform plumbing code, 2021 edition, sanitary napkin receptors are not dispensers and shall not be within the clear space of the water closet.
   6.  Limitation of hot water temperature for public lavatories.  With respect to the requirements of section 407.3 of the uniform plumbing code, 2021 edition, these devices shall be installed at or as close as possible to the point of use.
   7.  Temperature limiting —— limiting devices.  With respect to the requirements of section 408.3.2(3) of the uniform plumbing code, 2021 edition, maximum water temperature may be limited by a limiting device conforming to either ASSE 1070/ASME A112.1070/CSA B125.70 or CSA B125.3 and installed at or as close as possible to the point of use.
   8.  Temperature limiting —— flow reduction devices.  With respect to the requirements of section 408.3.2(5) of the uniform plumbing code, 2021 edition, maximum water temperature may be limited by a temperature actuated flow reduction device conforming to ASSE 1062 downstream of another allowed device. Temperature actuated flow reduction valves are not intended to be installed in place of devices complying with ASSE 1016, ASSE 1017, ASSE 1066, ASSE 1069, or ASSE 1070.
   9.  Limitation of hot water temperature of hair shampoo bowls and pet grooming stations.  With respect to showers, the maximum hot water temperature discharging from hair shampoo bowls and pet grooming stations shall be limited to 120 degrees Fahrenheit or 49 degrees Celsius. The maximum temperature shall be regulated by one of the following means, which shall be installed at or as close as possible to the point of use:
   a.  A limiting device conforming to ASSE 1070, ASME A112.1070, CSA B125.70, or CSA B125.3.
   b.  A water heater conforming to ASSE 1084.
   10.  Limitation of hot water temperature in bathtubs and whirlpool bathtubs.  With respect to the requirements of section 409.4 of the uniform plumbing code, 2021 edition, the devices listed therein shall be installed at or as close as possible to the point of use.
   11.  Limitation of water temperature in bidets.  With respect to the requirements of section 410.3 of the uniform plumbing code, 2021 edition, the devices listed therein shall be installed at or as close as possible to the point of use.
   12.  Drain.  With respect to the requirements of section 416.5 of the uniform plumbing code, 2021 edition, when a drain is provided, the discharge need not be in accordance with section 811.0 of the Iowa plumbing code.
   13.  Location of floor drains.  With respect to the requirements of section 418.3 of the uniform plumbing code, 2021 edition, floor drains shall be installed in rooms equipped with a water heater.
   14.  Fixture count.  In lieu of the requirements contained in section 422.1 of the uniform plumbing code, 2021 edition:
   a.  Plumbing fixtures shall be provided in each building for the type of building occupancy and in the minimum number shown in table 403.1 of the international plumbing code, 2018 edition. The design occupant load and occupancy classification shall be determined in accordance with the Iowa building code or the authority having jurisdiction. Required public facilities shall be designated by a legible sign for each sex. Signs shall be readily visible and located near the entrance to each toilet facility.
   b.  The minimum number of fixtures shall be calculated at fifty percent male and fifty percent female based on the total occupant load. Where information submitted indicates a difference in the distribution of the sexes, such information shall be used to determine the number of fixtures for each sex. Once the occupancy load and occupancy are determined, table 403.1 of the international plumbing code, 2018 edition, shall be applied to determine the minimum number of plumbing fixtures required. When gender-neutral restrooms are provided, the total number of fixtures provided must be the sum of men’s and women’s fixtures as figured, and urinals in gender-neutral restrooms shall not be substituted for more than sixty-seven percent of men’s water closets in assembly and educational occupancies or fifty percent of men’s water closets in all other occupancies. Where gender-neutral fixtures are provided in addition to separate men’s and women’s facilities, those gender-neutral fixtures shall be included in determining the number of fixtures provided in an occupancy. Where applying the fixture ratios in table 403.1 of the international plumbing code, 2018 edition, results in fractional numbers, such numbers shall be rounded to the next whole number. For multiple occupancies, fractional numbers shall be first summed and then rounded to the next whole number.
   15.  Family or assisted use toilet and bathing facilities.  With respect to the requirements of subsection 422.1.1 of the uniform plumbing code, 2021 edition, required family or assisted-use fixtures are permitted to be included in the number of required fixtures for either the male or female occupants in assembly and mercantile occupancies.
   16.  Separate facilities.  With respect to the requirements of subsection 422.2 of the uniform plumbing code, 2021 edition, separate facilities shall not be required where rooms having both water closets and lavatory fixtures are designed for use by any gender and sufficient privacy for water closets is installed. Partitions or compartment walls shall extend from no more than one inch from the floor to no less than eighty-four inches from the floor. Urinals shall be located in an area visually separated from the remainder of the facility or each urinal that is provided shall be located in a stall.
   17.  Family or assisted use toilet facilities.  With respect to the requirements of subsection 422.2.2 of the uniform plumbing code, 2021 edition, required family or assisted-use fixtures are permitted to be included in the number of required fixtures for either the male or female occupants in assembly and mercantile occupancies.
   18.  Substitution for water closets.  In each bathroom or toilet room, urinals shall not be substituted for more than sixty-seven percent of the required water closets in assembly and educational occupancies. Urinals shall not be substituted for more than fifty percent of the required water closets in all other occupancies.
   19.  Drain lines.  With respect to the requirements of subsection 603.4.8 of the uniform plumbing code, 2021 edition, drain lines serving backflow devices or assemblies may be sized in accordance with the manufacturer’s drain-sizing chart for installation.
   20.  Installation.  In lieu of the requirements of section 609.1 of the uniform plumbing code, 2021 edition, water piping shall be adequately supported in accordance with table 313.3. Burred ends shall be reamed to the full bore of the pipe or tube. Changes in direction shall be made by the appropriate use of fittings, except that changes in direction in copper or copper alloy tubing shall be permitted to be made with bends, provided that such bends are made with bending equipment that does not deform or create a loss in the cross-sectional area of the tubing. Changes in direction are allowed with flexible pipe and tubing without fittings in accordance with the manufacturer’s instructions. Provisions shall be made for expansion in hot water piping. Piping, equipment, appurtenances, and devices shall be installed in a workmanlike manner in accordance with the provisions and intent of the code. Building supply yard piping shall be not less than sixty inches below earth cover.
   21.  Pipe insulation.  In lieu of the requirements of section 609.12 of the uniform plumbing code, 2021 edition, insulation of domestic hot water piping shall be in accordance with the applicable energy conservation code.
   22.  Sizing of residential softeners.  With respect to the requirements of section 611.4 of the uniform plumbing code, 2021 edition, residential-use water softeners may be sized as specified in the manufacturer’s installation instructions.
   23.  Drainage fixture unit values.  In lieu of the requirements of note 9 of table 702.1 of the uniform plumbing code, 2021 edition, for a bathtub to shower retrofit, a one point five inch or forty millimeter trap and trap arm shall be permitted with showers having only one shower head rated at a maximum of 2.5 gpm. See sections 408.5 and 408.6 of the Iowa plumbing code.
   24.  Backflow protection.  With respect to the requirements of section 710.1 of the uniform plumbing code, 2021 edition, the requirement for the installation of a backwater valve shall apply only when determined necessary by the authority having jurisdiction based on local conditions. When a valve is required by the authority having jurisdiction, it shall be a manually operated gate valve or fullway ball valve. An automatic backwater valve may also be installed but is not required.
   25.  Domestic dishwashing machine.  In lieu of the requirements contained in section 807.3 of the uniform plumbing code, 2021 edition, no domestic dishwashing machine shall be directly connected to a drainage system or food waste disposer without the use of an approved dishwasher air gap fitting on the discharge side of the dishwashing machine, or by looping the discharge line of the dishwasher as high as possible near the flood level of the kitchen sink where the waste disposer is connected. Listed air gap fittings shall be installed with the flood level marking at or above the flood level of the sink or drainboard, whichever is higher.
   26.  Point of discharge.  In lieu of the requirements contained in section 814.5 of the uniform plumbing code, 2021 edition, air conditioning condensate waste pipes shall connect indirectly to a properly trapped fixture, floor drain, or open sight drain, or where permitted in section 814.6 of the Iowa plumbing code, to the drainage system through an air gap or air break to trapped and vented receptors, dry wells, leach pits, sump pump, the tailpiece of plumbing fixtures, or indirectly to the building storm sewer through a roof drain. A condensate drain shall be trapped in accordance with the appliance manufacturer’s instructions or as approved.
   27.  Vents.  With respect to chapter 9 of the uniform plumbing code, 2021 edition, no engineered single-stack drainage systems shall be installed.
   28.  Roof termination.  With respect to the requirements of section 906.1 of the uniform plumbing code, 2021 edition, acylonitrile butadiene styrene and polyvinyl chloride piping exposed to sunlight need not be protected by water-based synthetic latex paints.
   29.  Frost or snow closure.  With respect to the requirements of section 906.7 of the uniform plumbing code, 2021 edition, where frost or snow closure is likely to occur in locations having minimum design temperature below 0 degrees Fahrenheit or negative 17.8 degrees Celsius, vent terminals shall be not less than three inches or seventy-six point two millimeters in diameter.
   30.  Size.  With respect to the requirements of section 908.2.2 of the uniform plumbing code, 2021 edition, the wet vent shall be not less than two inches or fifty millimeters in diameter for six drainage fixture units (dfu) or less, and not less than three inches or eighty millimeters in diameter for seven dfu or more.
   31.  Horizontal lengths of trap arms.  With respect to the requirements of table 1002.2 of the uniform plumbing code, 2021 edition, the maximum horizontal length of a trap arm shall be five feet for a trap arm with a diameter of one point two five inches, six feet for a trap arm with a diameter of one point five inches, eight feet for a trap arm with a diameter of two inches, and twelve feet for a trap arm with a diameter of three inches or greater.
   32.  General.  In lieu of the requirements of section 1007.1 of the uniform plumbing code, 2021 edition, floor drain or similar traps directly connected to the drainage system and subject to infrequent use shall be protected with a trap seal primer, except where floor drains or similar traps receive a liquid discharge year-round. Trap seal primers shall be accessible for maintenance.
   33.  Food waste disposers and dishwashers.  With respect to the requirements of section 1014.1.3 of the uniform plumbing code, 2021 edition, commercial food waste disposers shall discharge into the building’s drainage system in accordance with the requirements of the authority having jurisdiction.
   34.  Corrugated stainless steel tubing.  In lieu of the requirements of section 1208.6.4.5 of the uniform plumbing code, 2021 edition, only corrugated stainless steel tubing with an arc-resistant jacket or covering system listed in accordance with ANSI LC-1 (optional section 5.16)/CSA 6.26-2016 shall be installed, in accordance with the terms of its approval, the conditions of listing, the manufacturer’s instructions, and the Iowa plumbing code, including electrical bonding requirements in section 1211.2 of the Iowa plumbing code. CSST shall not be used for through-wall penetrations from the point of delivery of the gas supply to the inside of the structure. CSST shall not be installed in locations where subject to physical damage unless protected in an approved manner.
   35.  Reported items.  With respect to the requirements of section 1306.3 of the uniform plumbing code, 2021 edition, reports shall be delivered to the responsible facility authority in lieu of the authority having jurisdiction.

Sec. 79.  Section 105.4, subsection 1, Code 2022, is amended to read as follows:
   1.  a.  The board shall establish by rule a plumbing installation code governing the installation of plumbing in this state. Consistent with fire safety rules and standards promulgated by the state fire marshal, the board shall adopt the most current version of the uniform plumbing code and the international mechanical code, as the state plumbing code and the state mechanical code, to govern the installation of plumbing and mechanical systems in this state. The board shall adopt the current version of each code within six months of its being released. The board may adopt amendments to each code by rule. The board shall work in consultation with the state fire marshal to ensure that proposed amendments do not conflict with the fire safety rules and standards promulgated by the state fire marshal. The state Iowa plumbing code and the state Iowa mechanical code shall be applicable to all buildings and structures owned by the state or an agency of the state and in each local jurisdiction.
   b.  Except as provided in paragraph “c”, a A local jurisdiction is not required to adopt by ordinance the state Iowa plumbing code or the state Iowa mechanical code. However, a local jurisdiction that adopts by ordinance the state Iowa plumbing code or the state Iowa mechanical code may shall not adopt standards that are more or less restrictive. A local jurisdiction that adopts standards that are more restrictive than the state plumbing code or the state mechanical code shall promptly provide copies of those standards to the board. The board shall maintain on its internet site the text of all local jurisdiction standards that differ from the applicable statewide code. Local jurisdictions shall not be required to conduct inspections or take any other enforcement action under the state Iowa plumbing code and state Iowa mechanical code regardless of whether the local jurisdiction has adopted by ordinance the state Iowa plumbing code or the state Iowa mechanical code.
   c.  A local jurisdiction with a population of more than fifteen thousand that has not adopted by ordinance the state plumbing code and state mechanical code shall have until December 31, 2016, to do so. Cities that have adopted a plumbing code or mechanical code as of April 26, 2013, shall have until December 31, 2016, to shall adopt the state Iowa plumbing code or and the state Iowa mechanical code in lieu thereof.

Sec. 80.  Section 231B.4, Code 2022, is amended to read as follows:
   231B.4  Zoning —— fire and safety standards.
   An elder group home shall be located in an area zoned for single-family or multiple-family housing or in an unincorporated area and shall be constructed in compliance with applicable local housing codes and the rules adopted for the special classification by the state fire marshal. In the absence of local building codes, the The facility shall comply with the state Iowa plumbing code established pursuant to section 135.11 105.4 and the state Iowa building code established pursuant to section 103A.7 and the rules adopted for the special classification by the state fire marshal. The rules adopted for the special classification by the state fire marshal regarding second floor occupancy shall be adopted in consultation with the department and shall take into consideration the mobility of the tenants.

Sec. 81.  Section 423.3, subsection 95, paragraph b, subparagraph (4), Code 2022, is amended to read as follows:
   (4)  The data center business shall comply with the sustainable design and construction standards established by the state building code commissioner pursuant to section 103A.8B of the Iowa building code.

Sec. 82.  Section 423.4, subsection 7, paragraph b, subparagraph (4), Code 2022, is amended to read as follows:
   (4)  The data center business shall comply with the sustainable design and construction standards established by the state building code commissioner pursuant to section 103A.8B of the Iowa building code.

Sec. 83.  Section 423.4, subsection 8, paragraph b, subparagraph (4), Code 2022, is amended to read as follows:
   (4)  The data center business shall comply with the sustainable design and construction standards established by the state building code commissioner pursuant to section 103A.8B of the Iowa building code.

Sec. 84.  Section 423F.3, subsection 6, paragraph c, Code 2022, is amended to read as follows:
   c.  A school district that uses secure an advanced vision for education fund moneys for school infrastructure shall comply with the state Iowa building code in the absence of a local building code.

Sec. 85.  Section 470.3, subsection 1, paragraph a, Code 2022, is amended to read as follows:
   a.  Specification of energy management objectives and health, safety, and functional constraints. The facility design shall comply with applicable state or local Iowa building code requirements.

Sec. 86.  REPEAL.  Sections 103A.8, 103A.8A, and 103A.8C, Code 2022, are repealed.

EXPLANATION

The inclusion of this explanation does not constitute agreement with
the explanation’s substance by the members of the general assembly.

This bill relates to various matters under the purview of the state. The bill is organized into 10 divisions.

DIVISION I —— COUNTY AND CITY ZONING AND INSPECTIONS. The bill prohibits a county or city from requiring an inspection of a manufactured home that has been inspected according to requirements of the U.S. department of housing and urban development and constructed in conformance with specified federal manufactured home construction and safety standards.

DIVISION II —— WORK-BASED LEARNING. This division of the bill relates to work-based learning, which provides opportunities and experiences to students related to workplace tours, job shadowing, rotations, mentoring, entrepreneurship, service learning, internships, and apprenticeships. The bill requires the department of education to establish and maintain a process that requires the boards of directors of school districts to report to the department at least annually regarding student participation in work-based learning programs established by the board.

Under current law, a supervisor of a work-based learning program that awards career and technical education credit must be a licensed practitioner who completes both educational requirements and work experience requirements. The bill requires the board of educational examiners to adopt rules relating to a certification system for supervisors of work-based learning programs. The bill provides that a work-based learning program supervisor certificate shall not require more than 15 contact hours, which shall be available over the internet. Additionally, the bill provides for when applicants for the certificate shall be disqualified. The bill provides that a certificate shall not be considered a teacher or administrator license for any purpose. The bill requires that the certificate program be considered a professional development program.

The bill requires that a student’s individualized career and academic plan (ICAP) be developed to identify both the coursework and work-based learning needed in grades 9 through 12 to support the student’s postsecondary education and career options. An ICAP is developed with each student enrolled in grade eight to prepare the student for completion of the core curriculum, identify the coursework needed to support the student’s postsecondary education and career options, and prepare the student to complete the essential components of a career information and decision-making system. The bill also requires that the plan prepare the student to successfully complete the free application for federal student aid (FAFSA).  The FAFSA is the application that is used to apply for federal student aid, including federal grants, work-study, and loans.

DIVISION III —— HEALTH CARE WORKFORCE RECRUITMENT. This division of the bill relates to the rural Iowa primary care loan repayment program, the health care professional recruitment program, and the health care loan repayment program.

The rural Iowa primary care loan repayment program provides student loan repayments for medical students who agree to practice as physicians in certain specified areas of the state for five years. Under current law, medical students who are eligible for student loan repayments under the program are required to complete the residency program requirement with an Iowa-based residency program. The bill strikes from this provision the requirement that the residency program be based in Iowa. The bill also authorizes student loan repayment for medical students who will practice neurology and medical students who will practice part-time. The bill defines “part-time practice” as at least 70 percent of a 40-hour workweek.

Current law prohibits the college student aid commission from entering into more than 20 program agreements annually under the program. The bill authorizes the commission to enter into more than 20 program agreements annually if surplus funds are available.

In addition to the medical students who are eligible for student loan repayments under the program, and subject to the availability of surplus funds, current law requires the college student aid commission to adopt rules to provide for student loan repayment to a physician who received a doctor of medicine or doctor of osteopathic medicine degree from an eligible university, obtained a license to practice medicine and surgery or osteopathic medicine and surgery in this state, completed the physician’s residency program requirement with an Iowa-based residency program, and is engaged in the full-time practice of medicine and surgery or osteopathic medicine and surgery. The bill strikes from this provision the requirement that the residency program be based in Iowa. The bill provides that the physician may engage in either the full-time or part-time practice of medicine and surgery or osteopathic medicine and surgery in a service commitment area. The bill also provides that the amount of loan repayment provided to a physician shall be subject to the same limitations applicable to an eligible student. Additionally, the bill provides that the total amount of a physician’s eligible loans shall be established as of the date the physician applies for loan repayment.

The bill provides that for agreements entered into prior to July 1, 2022, the commission and the person may consent to amend the agreement under which the person shall engage in the part-time practice of medicine and surgery or osteopathic medicine and surgery specializing in family medicine, pediatrics, psychiatry, internal medicine, obstetrics and gynecology, neurology, or general surgery in a service commitment area, for an extended period of part-time practice determined by the commission to be proportional to the amount of full-time practice remaining under the original agreement.

The bill provides that moneys in the rural Iowa primary care trust fund up to the total amount that an eligible student or a physician may receive for an eligible loan shall be considered encumbered for the duration of the eligible student’s or physician’s obligation under the program.

Current law provides that the obligation to engage in practice under the program shall be postponed during any period of temporary medical incapacity during which the person obligated is unable, due to a medical condition, to engage in full-time practice. The bill includes within this provision any period of temporary medical incapacity during which the person obligated is unable, due to a medical condition, to engage in part-time practice. The bill provides that, subject to limited exceptions, an obligation to engage in practice under an agreement shall not be postponed for more than two years from the time the full-time or part-time practice was to have commenced under the agreement. Additionally, the bill provides for when an obligation to engage in full-time or part-time practice shall be considered satisfied.

The health care professional recruitment program provides student loan repayments for certain health care professionals who graduate from an eligible institution and who agree to practice in an eligible rural community in the state. The bill includes community college within the definition of “eligible institution”. The bill includes advanced registered nurse practitioner and registered nurse within the definition of “health care professional”.

The health care loan repayment program provides student loan repayments for registered nurses, advanced registered nurse practitioners, physician assistants, and certain nurse educators. The bill modifies the health care loan repayment program to an award program that provides an annual award amount of $6,000 for not more than five consecutive years to registered nurses, advanced registered nurse practitioners, physician assistants, and certain nurse educators. A part-time nurse educator must practice as a registered nurse or an advanced registered nurse practitioner to qualify for an award under the program. The bill changes the name of the program to the health care award program and makes conforming changes.

DIVISION IV —— PROFESSIONAL LICENSING —— MILITARY SPOUSES.  This division of the bill relates to professional licensing. The bill requires each board that issues a professional license to establish procedures by January 1, 2023, to expedite the licensing of a person married to an active duty member of the military forces of the United States. If the board determines that the occupation or profession applied for does not have a substantially similar scope of practice, the board shall issue a temporary license to the person for a period of time necessary to meet the licensing requirements of this state. The board shall advise the person of the necessary education or training and shall license a person who completes such requirements.

The bill removes the requirement that a person establish residency in this state prior to being issued a license, certificate, or registration without an examination if the person is currently licensed, certified, or registered in another jurisdiction in an occupation or profession with a substantially similar scope of practice, except for licenses issued pursuant to Code chapter 103 (electricians and electrical contractors) or Code chapter 105 (plumbers, mechanical professionals, and contractors). The bill also removes the requirement that the person has held the license, certificate, or registration in the other jurisdiction for at least one year.

The bill requires a licensing board, an agency, or the department of education to waive any fee charged to an applicant for a license issued pursuant to Code chapter 272C (regulation of licensed professions and occupations) if the applicant is a veteran with at least a 25 percent service-connected disability.

DIVISION V —— EMERGENCY MEDICAL CARE PROVIDER CERTIFICATE —— FEDERAL ACTIVE DUTY OR NATIONAL GUARD DUTY. This division of the bill requires that rules adopted by the department of public health pertaining to fees for the examination of emergency medical care providers to include the waiver of all fees for an individual if the individual is either on federal active duty or national guard duty, or was honorably or generally discharged from federal active duty or on national guard duty.

DIVISION VI —— FISHING AND HUNTING LICENSES —— MILITARY VETERANS. Under current law, a resident who has served in the armed forces of the United States on federal active duty and who was disabled or was a prisoner of war during that veteran’s military service may pay a fee to obtain a lifetime hunting license or a lifetime hunting and fishing combined license. The term “disabled” means entitled to a service connected rating under 38 U.S.C. ch. 11. This division of the bill removes the requirement that the veteran was disabled or was a prisoner of war during the veteran’s military service and removes the definition of “disabled”.

DIVISION VII —— DRIVER’S LICENSE AND PARKING FEES —— VETERANS. Under current law, the fee for a noncommercial driver’s license, other than a class D chauffeur’s license or any type of instruction permit, is $4 per year of license validity. The fee for a class D chauffeur’s license is $8 per year of license validity. The fee for a commercial driver’s license (CDL), other than a commercial learner’s permit, is $8 per year of license validity. An additional fee of $2 per year of license validity is required for a class M motorcycle license.

This division of the bill prohibits the department of transportation (DOT) from charging fees for a noncommercial driver’s license or motorcycle license to a veteran with a permanent service-connected disability rating of 100 percent, as certified by the U.S. department of veterans affairs. The bill also prohibits the DOT from charging fees for a chauffeur’s license or CDL to a veteran who is on federal or state active duty, or who was issued an honorable discharge or general discharge under honorable conditions from such service.

The bill prohibits a city that operates and maintains parking meters or non-metered parking lots from enforcing any ordinance related to parking meter fees against, or charging a parking fee at any non-metered parking lot to, a person whose vehicle is lawfully displaying medal of honor, ex-prisoner of war, or purple heart special registration plates, or a registration plate displaying the alphabetical characters “DV” preceding the registration plate number (plates issued to seriously disabled veterans).

DIVISION VIII —— MILITARY SERVICE PROPERTY TAX. This division of the bill relates to the military service property tax exemption and credit.

Under current law, veterans of World War I are entitled to a property tax exemption of $2,778 in taxable value and honorably discharged veterans who served during other specific time periods are entitled to a property tax exemption of $1,852 in taxable value. The bill increases the exemption amount for eligible veterans who are not World War I veterans to $2,500.

Under current law, the state provides funding to local governments for the military service property tax exemption and credit up to $6.92 per $1,000 of assessed value of the exempt property. Code section 25B.7 provides that if a state appropriation made to fund a credit or exemption is not sufficient to fully fund the credit or exemption, the political subdivision shall be required to extend to the taxpayer only that portion of the credit or exemption estimated by the department of revenue to be funded by the state appropriation. The requirement for fully funding and the consequences of not fully funding under Code section 25B.7 apply to the military service property tax credit and exemption to the extent of $6.92 per $1,000 of assessed value of the exempt property.

The division applies to property taxes due and payable in fiscal years beginning on or after July 1, 2022.

DIVISION IX —— TEMPORARY LICENSES —— INSURANCE PRODUCERS. This division of the bill provides that if an applicant for a resident insurance producer license (resident license) has met all of the requirements of Code section 522B.5, the commissioner of insurance (commissioner) shall issue a temporary resident license to the applicant that is valid starting on the date that the applicant submits the applicant’s fingerprints and any other required information to the commissioner pursuant to Code section 522B.5A(3), through the date the commissioner either issues the applicant a license or denies the applicant’s application based on the applicant’s criminal history check pursuant to Code section 522B.5A.

If an applicant for a nonresident insurance producer license (nonresident license) has met all of the requirements of Code section 522B.7 and is subject to a criminal background check under Code section 522B.5A(2)(b), the commissioner shall issue a temporary nonresident license to the applicant that is valid starting on the date that the applicant submits the applicant’s fingerprints and any other required information to the commissioner through the date the commissioner either issues the applicant a license or denies the applicant’s application based on the applicant’s criminal history check. A temporary resident license or a temporary nonresident license authorizes the applicant to act as an insurance producer only for the lines of authority specified in the temporary license.

The commissioner may require a temporary licensee to have a suitable sponsor who is a licensed insurance producer and who assumes responsibility for all acts of the temporary licensee. The commissioner may by order revoke a temporary license if the interest of insureds or the public is endangered.

DIVISION X —— STATE BUILDING CODE. This division of the bill relates to the state building code. The bill adopts certain provisions of the national electrical code, international fire code, international residential code, international energy conservation code, international existing building code, uniform plumbing code, and international mechanical code with amendments, including certain amendments currently found in the Iowa administrative code. The bill also prohibits local jurisdictions from adopting local building codes. The bill allows a person to comply with a subsequent version of a national code that serves as the basis of a state code in lieu of a state code. The bill makes conforming changes.