89.6   Notice to commissioner.

1.  Before any equipment included under the provisions of this chapter is installed by any owner, user, or lessee thereof, a ten days’ written notice of intention to install the equipment shall be given to the commissioner. The notice shall designate the proposed place of installation, the type and capacity of the equipment, the use to be made thereof, the name of the company which manufactured the equipment, and whether the equipment is new or used.

2.  Before any power boiler is converted to a low pressure boiler, the owner or user shall give to the commissioner ten days’ written notice of intent to convert the boiler. The notice shall designate the boiler location, the uses of the building, and other information specified by rule by the board.

[C46, 50, 54, 58, 62, 66, 71, 73, 75, 77, §89.5; C79, 81, §89.6]

2010 Acts, ch 1015, §5; 2011 Acts, ch 25, §11