213.3  Testing weights and measures.

Upon written request of any citizen, firm, or corporation, city or county, or educational institution of the state made to the department, a test or calibration of any weights, measures, weighing or measuring devices, and instruments or apparatus to be used as standards shall be made.

[S13, §3009-b; C24, 27, 31, 35, 39, §3253; C46, 50, 54, 58, 62, 66, 71, 73, 75, 77, 79, 81, §213.3]