215.16  Weighing beyond capacity.

It shall be unlawful for any person, firm, or corporation to use such a scale for weighing commodities the gross weight of which is greater than the factory rated scale capacity. The capacity of the scale shall be stamped by the manufacturer on each weigh beam or dial. The capacity of the scale shall be posted so as to be visible to the public.

[C50, 54, 58, 62, 66, 71, 73, 75, 77, 79, 81, §215.16]