455G.33  B-20 diesel fuel compatible infrastructure — compliance requirement.

1.  A retail dealer shall not install, replace, or convert diesel fuel storage and dispensing infrastructure unless the installed, replaced, or converted diesel fuel infrastructure is capable of storing and dispensing biodiesel blended fuel classified as B-20 or higher.

2.  The infrastructure must be all of the following:

a.  Listed as compatible for use with biodiesel blended fuel classified as B-20 or higher by an independent testing laboratory or as approved by the manufacturer.

b.  Approved by the department or state fire marshal subject to conditions determined necessary by the department or state fire marshal. The department or state fire marshal may waive the requirement in paragraph “a” upon satisfaction that a substitute requirement serves the same purpose.

2022 Acts, ch 1067, §30, 31

Section effective January 1, 2023; 2022 Acts, ch 1067, §31

NEW section